BLY1 Site Information Form (site log)

Oregon Department of Transportation

See Instructions at:

ftp://igscb.jpl.nasa.gov/pub/station/general/sitelog_instr.txt

See this blank document at:

ftp://igscb.jpl.nasa.gov/pub/station/general/blank.log

x. Battery Replacement on 1/31/2019 by Geoff Paull

0.   Form

Prepared by (full name)  : Randy Oberg

Date Prepared            : 2010-9-16

Report Type              : NEW

If Update:

Previous Site Log       :

Modified/Added Sections :

1.   Site Identification of the GNSS Monument

Site Name                : Bly

Four Character ID        : BLY1

Monument Inscription     :

IERS DOMES Number        :

CDP Number               :

Monument Description     : BLDING MOUNT 2” STEEL PIPE W/SCIGN MOUNT

Height of the Monument : (m)

Monument Foundation    : Bly Rural Fire Protection District Steel Building

Foundation Depth       : (m)

Marker Description       :

Date Installed           : 2009-09-22

Geologic Characteristic  :

Bedrock Type           :

Bedrock Condition      :

Fracture Spacing       :

Fault zones nearby     :

Distance/activity    :

Additional Information   :

2.   Site Location Information

City or Town             : Bly

State or Province        : Oregon

Country                  : USA

Tectonic Plate           : North America

Approximate Position (ITRF)

X coordinate (m)       :  -2433211.264

Y coordinate (m)       :  -4041699.676

Z coordinate (m)       :   4279965.536

Latitude (N is +)      :   42 24 24.62563

Longitude (E is +)     : - 121 02 56.57588

Elevation (m,ellips.)  :  1313.893

Additional Information   : (multiple lines)

3.   GNSS Receiver Information

3.1  Receiver Type            : Leica GRX1200GG Pro

Satellite System         : GPS+GLO

Serial Number            : 356679

Firmware Version         : 6.02

Elevation Cutoff Setting : 0°

Date Installed           : 2010-7-28

Date Removed             :

Temperature Stabiliz.    :

Additional Information   : At Bly Rural Fire Station

3.2  Receiver Type            : Leica GRX1200GG Pro

Satellite System         : GPS+GLO

Serial Number            : 356679

Firmware Version         : 8.10

Elevation Cutoff Setting : 0°

Date Installed           : 2011-03-03

Date Removed             :

Temperature Stabiliz.    :

Additional Information   : At Bly Rural Fire Station

3.3  Receiver Type            : Leica GRX1200GG Pro

Satellite System         : GPS+GLO

Serial Number            : 356679

Firmware Version         : 8.51

Elevation Cutoff Setting : 0°

Date Installed           : 2012-09-05

Date Removed             :

Temperature Stabiliz.    :

Additional Information   : At Bly Rural Fire Station

3.4  Receiver Type            : Leica GRX1200GG Pro

Satellite System         : GPS+GLO

Serial Number            : 356679

Firmware Version         : 9.20

Elevation Cutoff Setting : 0°

Date Installed           : 2015-07-01

Date Removed             : 2022-10-12

Temperature Stabiliz.    :

Additional Information   : At Bly Rural Fire Station

3.5  Receiver Type            : Septentrio PolaRx5

Satellite System         : GPS+GLONASS+Galileo

Serial Number            : 4505503

Firmware Version         : 5.4.0

Elevation Cutoff Setting : 0 deg

Date Installed           : 2022-10-12

Date Removed             : (CCYY-MM-DDThh:mmZ)

3.6  Receiver Type            : Septentrio PolaRx5

Satellite System         : GPS+GLONASS+Galileo

Serial Number            : 4505503

Firmware Version         : 5.5.0

Elevation Cutoff Setting : 0 deg

Date Installed           : 2022-11-07

Date Removed             : 2023-11-06 12:00

3.7  Receiver Type            : Septentrio PolaRx5

Satellite System         : GPS+GLONASS+Galileo

Serial Number            : 4506219

Firmware Version         : 5.5.0

Elevation Cutoff Setting : 0 deg

Date Installed           : 2023-11-06 12:00

Date Removed             : (CCYY-MM-DDThh:mmZ)

Additional Information   : At Bly Rural Fire Station

3.x  Receiver Type            :

Satellite System         :

Serial Number            :

Firmware Version         :

Elevation Cutoff Setting :

Date Installed           :

Date Removed             :

Temperature Stabiliz.    :

Additional Information   :

4.   GNSS Antenna Information

4.1  Antenna Type             : Leica AT504GG (LEIAT504GG  LEIS)

Serial Number            :

Antenna Reference Point  :

Marker->ARP Up Ecc. (m)  :

Marker->ARP North Ecc(m) :

Marker->ARP East Ecc(m)  :

Alignment from True N    : Yes

Antenna Radome Type      : LEICA

Radome Serial Number     :

Antenna Cable Type       : TIMES MICROWAVE LMR400

Antenna Cable Length     : 15M

Date Installed           : 2010-7-28

Date Removed             : 2022-10-12

Additional Information   :

4.2  Antenna Type             : Septentrio Choke ring B3E6

Serial Number            : 5837

Antenna Reference Point  :

Marker->ARP Up Ecc. (m)  :

Marker->ARP North Ecc(m) :

Marker->ARP East Ecc(m)  :

Alignment from True N    : 0

Antenna Radome Type      : Septentrio Spike

Antenna Cable Type       : TIMES MICROWAVE LMR400

Antenna Cable Length     : 15m

Date Installed           : 2022-10-12

Date Removed             : (CCYY-MM-DDThh:mmZ)

Additional Information   : OPUS CODE SEPCHOKE_B3E6 SPKE

4.x  Antenna Type             :

Serial Number            :

Antenna Reference Point  :

Marker->ARP Up Ecc. (m)  :

Marker->ARP North Ecc(m) :

Marker->ARP East Ecc(m)  :

Alignment from True N    :

Antenna Radome Type      :

Radome Serial Number     :

Antenna Cable Type       :

Antenna Cable Length     :

Date Installed           :

Date Removed             :

Additional Information   :

5.   Surveyed Local Ties

5.x  Tied Marker Name         :

Tied Marker Usage        : (SLR/VLBI/LOCAL CONTROL/FOOTPRINT/etc)

Tied Marker CDP Number   : (A4)

Tied Marker DOMES Number : (A9)

Differential Components from GNSS Marker to the tied monument (ITRS)

dx (m)                 : (m)

dy (m)                 : (m)

dz (m)                 : (m)

Accuracy (mm)            : (mm)

Survey method            : (GPS CAMPAIGN/TRILATERATION/TRIANGULATION/etc)

Date Measured            : (CCYY-MM-DDThh:mmZ)

Additional Information   : (multiple lines)

6.   Frequency Standard

6.1  Standard Type            : (INTERNAL or EXTERNAL H-MASER/CESIUM/etc)

Input Frequency        : (if external)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

6.x  Standard Type            : (INTERNAL or EXTERNAL H-MASER/CESIUM/etc)

Input Frequency        : (if external)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

7.   Collocation Information

7.1  Instrumentation Type     : (GPS/GLONASS/DORIS/PRARE/SLR/VLBI/TIME/etc)

Status                 : (PERMANENT/MOBILE)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

7.x  Instrumentation Type     : (GPS/GLONASS/DORIS/PRARE/SLR/VLBI/TIME/etc)

Status                 : (PERMANENT/MOBILE)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.   Meteorological Instrumentation

8.1.1 Humidity Sensor Model   :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy (% rel h)     : (% rel h)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.1.x Humidity Sensor Model   :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy (% rel h)     : (% rel h)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.2.1 Pressure Sensor Model   :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (hPa)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.2.x Pressure Sensor Model   :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (hPa)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.3.1 Temp. Sensor Model      :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (deg C)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.3.x Temp. Sensor Model      :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (deg C)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.4.1 Water Vapor Radiometer  :

Manufacturer           :

Serial Number          :

Distance to Antenna    : (m)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.4.x Water Vapor Radiometer  :

Manufacturer           :

Serial Number          :

Distance to Antenna    : (m)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.5.1 Other Instrumentation   : (multiple lines)

8.5.x Other Instrumentation   : (multiple lines)

9.  Local Ongoing Conditions Possibly Affecting Computed Position

9.1.1 Radio Interferences     : (TV/CELL PHONE ANTENNA/RADAR/etc)

Observed Degradations  : (SN RATIO/DATA GAPS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.1.x Radio Interferences     : (TV/CELL PHONE ANTENNA/RADAR/etc)

Observed Degradations  : (SN RATIO/DATA GAPS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.2.1 Multipath Sources       : (METAL ROOF/DOME/VLBI ANTENNA/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.2.x Multipath Sources       : (METAL ROOF/DOME/VLBI ANTENNA/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.3.1 Signal Obstructions     : (TREES/BUILDLINGS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.3.x Signal Obstructions     : (TREES/BUILDLINGS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

10.  Local Episodic Effects Possibly Affecting Data Quality

10.1 Date                     : (CCYY-MM-DD/CCYY-MM-DD)

Event                    : (TREE CLEARING/CONSTRUCTION/etc)

10.x Date                     : (CCYY-MM-DD/CCYY-MM-DD)

Event                    : (TREE CLEARING/CONSTRUCTION/etc)

11.   On-Site, Point of Contact Agency Information

Agency                   : Oregon Department of Transportation

Preferred Abbreviation   : ODOT

Mailing Address          : 800 Airport Rd, SE, Salem, OR 97301-4798

Primary Contact

Contact Name		: RANDY OBERG, LEAD GEODETIC SURVEYOR

Telephone (primary)    : (503)986-3041

Telephone (primary)  	: (503)881-2889

Fax                    : (503)986-3548

E-mail                 : randy.d.oberg@odot.oregon.gov

Secondary Contact

Contact Name           : Eric Zimmerman, GEODETIC Associate

Telephone (primary)    : (503)986-3041

Telephone (primary)  	: (503)779-5069

Fax                    : (503)986-3548

E-mail                 : eric.p.zimmerman@odot.oregon.gov

Additional Information   :

12.  Responsible Agency (if different from 11.)

Agency                   : (multiple lines)

Preferred Abbreviation   : (A10)

Mailing Address          : (multiple lines)

Primary Contact

Contact Name           :

Telephone (primary)    :

Telephone (secondary)  :

Fax                    :

E-mail                 :

Secondary Contact

Contact Name           :

Telephone (primary)    :

Telephone (secondary)  :

Fax                    :

E-mail                 :

Additional Information   : (multiple lines)

13.  More Information

Primary Data Center      :

Secondary Data Center    :

URL for More Information :

Hardcopy on File

Site Map               : (Y or URL)

Site Diagram           : (Y or URL)

Horizon Mask           : (Y or URL)

Monument Description   : (Y or URL)

Site Pictures          : (Y or URL)

Additional Information   : (multiple lines)

Antenna Graphics with Dimensions

(insert text graphic from file antenna.gra)