HRPR Site Information Form (site log)

International GPS Service

See Instructions at:

ftp://igscb.jpl.nasa.gov/pub/station/general/sitelog_instr.txt

See this blank document at:

ftp://igscb.jpl.nasa.gov/pub/station/general/blank.log

0.   Form

Prepared by (full name)  : Eric P. Zimmerman

Date Prepared            : 2016-11-30

Report Type              : NEW

If Update:

Previous Site Log       : (ssss_ccyymmdd.log)

Modified/Added Sections : (n.n,n.n,...)

1.   Site Identification of the GNSS Monument

Site Name                : Harper School

Four Character ID        : HRPR

Monument Inscription     :

IERS DOMES Number        :

CDP Number               :

Monument Description     : BLDING MOUNT 2” STEEL PIPE W/SCIGN MOUNT

Height of the Monument :

Monument Foundation    : Hollow Concrete Block, Harper School gym bldg.

Foundation Depth       :

Marker Description       :

Date Installed           : 2016-11-17

Geologic Characteristic  :

Bedrock Type           :

Bedrock Condition      :

Fracture Spacing       :

Fault zones nearby     :

Distance/activity    :

Additional Information   :

2.   Site Location Information

City or Town             : Harper

State or Province        : Oregon

Country                  : USA

Tectonic Plate           : NORTH AMERICAN

Approximate Position (ITRF)

X coordinate (m)       : -2134675.934

Y coordinate (m)       : -4081882.355

Z coordinate (m)       :  4397886.371

Latitude (N is +)      : +43 51 57.12138

Longitude (E is +)     : -117 36 28.54800

Elevation (m,ellips.)  : 761.425

Additional Information   : NAD_83(2011)(EPOCH:2010.0000)computed by NGS

Using OPUS PRODJECTS On-line Processing

3.   GNSS Receiver Information

3.1  Receiver Type            : Leica GRX1200 +GNSS

Satellite System         : GPS

Serial Number            : 451012

Firmware Version         : 9.20

Elevation Cutoff Setting : 0

Date Installed           : 2016-11-17

Date Removed             : 2017-04-25

Temperature Stabiliz.    : (none or tolerance in degrees C)

Additional Information   :

3.2  Receiver Type            : Leica GRX1200 +GNSS

Satellite System         : GPS

Serial Number            : 496720

Firmware Version         : 9.20

Elevation Cutoff Setting : 0

Date Installed           : 2017-04-25

Date Removed             :

Temperature Stabiliz.    : (none or tolerance in degrees C)

Additional Information   :

3.x  Receiver Type            : (A20, from rcvr_ant.tab; see instructions)

Satellite System         : (GPS/GLONASS/GPS+GLONASS)

Serial Number            : (A20, but note the first A5 is used in SINEX)

Firmware Version         : (A11)

Elevation Cutoff Setting : (deg)

Date Installed           : (CCYY-MM-DDThh:mmZ)

Date Removed             : (CCYY-MM-DDThh:mmZ)

Temperature Stabiliz.    : (none or tolerance in degrees C)

Additional Information   : NAD_83(2011)(EPOCH:2010.0000)computed by NGS

using OPUS Projects the On-line Processing 5 24HR FILES

4.   GNSS Antenna Information

4.1  Antenna Type             : Leica AR25, Rev. 4 (LEIAR25.R4 LEIT)

Serial Number            : 726330

Antenna Reference Point  :

Marker->ARP Up Ecc. (m)  :

Marker->ARP North Ecc(m) :

Marker->ARP East Ecc(m)  :

Alignment from True N    :

Antenna Radome Type      : LEICA

Radome Serial Number     :

Antenna Cable Type       : TIMES MICROWAVE LMR400

Antenna Cable Length     : 20m

Date Installed           : 2016-10-21

4.x  Antenna Type             : (A20, from rcvr_ant.tab; see instructions)

Serial Number            : (A*, but note the first A5 is used in SINEX)

Antenna Reference Point  : (BPA/BCR/XXX from "antenna.gra"; see instr.)

Marker->ARP Up Ecc. (m)  : (F8.4)

Marker->ARP North Ecc(m) : (F8.4)

Marker->ARP East Ecc(m)  : (F8.4)

Alignment from True N    : (deg; + is clockwise/east)

Antenna Radome Type      : (A4 from rcvr_ant.tab; see instructions)

Radome Serial Number     :

Antenna Cable Type       : (vendor & type number)

Antenna Cable Length     : (m)

Date Installed           : (CCYY-MM-DDThh:mmZ)

Date Removed             : (CCYY-MM-DDThh:mmZ)

Additional Information   : (multiple lines)

5.   Surveyed Local Ties

5.x  Tied Marker Name         :

Tied Marker Usage        : (SLR/VLBI/LOCAL CONTROL/FOOTPRINT/etc)

Tied Marker CDP Number   : (A4)

Tied Marker DOMES Number : (A9)

Differential Components from GNSS Marker to the tied monument (ITRS)

dx (m)                 : (m)

dy (m)                 : (m)

dz (m)                 : (m)

Accuracy (mm)            : (mm)

Survey method            : (GPS CAMPAIGN/TRILATERATION/TRIANGULATION/etc)

Date Measured            : (CCYY-MM-DDThh:mmZ)

Additional Information   : (multiple lines)

6.   Frequency Standard

6.1  Standard Type            : (INTERNAL or EXTERNAL H-MASER/CESIUM/etc)

Input Frequency        : (if external)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

6.x  Standard Type            : (INTERNAL or EXTERNAL H-MASER/CESIUM/etc)

Input Frequency        : (if external)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

7.   Collocation Information

7.1  Instrumentation Type     : (GPS/GLONASS/DORIS/PRARE/SLR/VLBI/TIME/etc)

Status                 : (PERMANENT/MOBILE)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

7.x  Instrumentation Type     : (GPS/GLONASS/DORIS/PRARE/SLR/VLBI/TIME/etc)

Status                 : (PERMANENT/MOBILE)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.   Meteorological Instrumentation

8.1.1 Humidity Sensor Model   :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy (% rel h)     : (% rel h)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.1.x Humidity Sensor Model   :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy (% rel h)     : (% rel h)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.2.1 Pressure Sensor Model   :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (hPa)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.2.x Pressure Sensor Model   :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (hPa)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.3.1 Temp. Sensor Model      :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (deg C)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.3.x Temp. Sensor Model      :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (deg C)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.4.1 Water Vapor Radiometer  :

Manufacturer           :

Serial Number          :

Distance to Antenna    : (m)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.4.x Water Vapor Radiometer  :

Manufacturer           :

Serial Number          :

Distance to Antenna    : (m)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.5.1 Other Instrumentation   : (multiple lines)

8.5.x Other Instrumentation   : (multiple lines)

9.  Local Ongoing Conditions Possibly Affecting Computed Position

9.1.1 Radio Interferences     : (TV/CELL PHONE ANTENNA/RADAR/etc)

Observed Degradations  : (SN RATIO/DATA GAPS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.1.x Radio Interferences     : (TV/CELL PHONE ANTENNA/RADAR/etc)

Observed Degradations  : (SN RATIO/DATA GAPS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.2.1 Multipath Sources       : (METAL ROOF/DOME/VLBI ANTENNA/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.2.x Multipath Sources       : (METAL ROOF/DOME/VLBI ANTENNA/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.3.1 Signal Obstructions     : (TREES/BUILDLINGS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.3.x Signal Obstructions     : (TREES/BUILDLINGS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

10.  Local Episodic Effects Possibly Affecting Data Quality

10.1 Date                     : (CCYY-MM-DD/CCYY-MM-DD)

Event                    : (TREE CLEARING/CONSTRUCTION/etc)

10.x Date                     : (CCYY-MM-DD/CCYY-MM-DD)

Event                    : (TREE CLEARING/CONSTRUCTION/etc)

11.   On-Site, Point of Contact Agency Information

Agency                   : Oregon Department of Transportation

Preferred Abbreviation   : ODOT

Mailing Address          : 800 Airport Rd, SE, Salem, OR 97301-4798

Primary Contact

Contact Name		: RANDY OBERG, LEAD GEODETIC SURVEYOR

Telephone (primary)    : (503)986-3041

Telephone (primary)  	: (503)881-2889

Fax                    : (503)986-3548

E-mail                 : randy.d.oberg@odot.oregon.gov

Secondary Contact

Contact Name           : Eric Zimmerman, GEODETIC Associate

Telephone (primary)    : (503)986-3041

Telephone (primary)  	: (503)779-5069

Fax                    : (503)986-3548

E-mail                 : eric.p.zimmerman@odot.oregon.gov

Additional Information   :

12.  Responsible Agency (if different from 11.)

Agency                   : (multiple lines)

Preferred Abbreviation   : (A10)

Mailing Address          : (multiple lines)

Primary Contact

Contact Name           :

Telephone (primary)    :

Telephone (secondary)  :

Fax                    :

E-mail                 :

Secondary Contact

Contact Name           :

Telephone (primary)    :

Telephone (secondary)  :

Fax                    :

E-mail                 :

Additional Information   : (multiple lines)

13.  More Information

Primary Data Center      :

Secondary Data Center    :

URL for More Information :

Hardcopy on File

Site Map               : (Y or URL)

Site Diagram           : (Y or URL)

Horizon Mask           : (Y or URL)

Monument Description   : (Y or URL)

Site Pictures          : (Y or URL)

Additional Information   : (multiple lines)

Antenna Graphics with Dimensions

(insert text graphic from file antenna.gra)