     LPSB Site Information Form

     Lane County Surveyors Office

     See Instructions at:

       ftp://igscb.jpl.nasa.gov/pub/station/general/sitelog_instr.txt

0.   Form

     Prepared by (full name)  : MURRAY BENNETT FRAZEE III, PLS

     Date Prepared            : 2009-10-02

     Report Type              : UPDATE

     If Update:

      Previous Site Log       : lpsb_20081216[1].log

      Modified/Added Sections : 0,3.6,11

0.1   Form

     Prepared by (full name)  : RANDY D. OBERG



     Date Prepared            : 2018-04-03

     Report Type              : Updated, Assumed Control by Oregon DOT

     Updated


 : 2021-02-24


Reason for Update

 : Replace Antenna/ Sensor
      Previous Site Log       : (lpsb_20091002.log)

      Modified/Added Sections : (0.n,n.n,...)

1.  Site Identification of the GNSS Monument

     Site Name                : LANE COUNTY PSB

     Four Character ID        : LPSB

     Monument Inscription     : 

     IERS DOMES Number        : (A9)

     CDP Number               : (A4)

     Monument Description     : .064m STEEL PIPE MOUNTED TO CONCRETE BUILDING

       Height of the Monument : 10.0m

       Monument Foundation    : ROOF

       Foundation Depth       : (m)

     Marker Description       : (CHISELLED CROSS/DIVOT/BRASS NAIL/etc)

     Date Installed           : 2001-03-16

     Geologic Characteristic  : CLAY

       Bedrock Type           : SEDIMENTARY

       Bedrock Condition      : (FRESH/JOINTED/WEATHERED)

       Fracture Spacing       : (1-10 cm/10-50 cm/50-200 cm/over 200 cm)

       Fault zones nearby     : (YES/NO/Name of the zone)

         Distance/activity    : (multiple lines)

     Additional Information   : 

                              : 

2.   Site Location Information

     City or Town             : EUGENE

     State or Province        : OREGON

     Country                  : USA

     Tectonic Plate           : North American

     Approximate Position (ITRF)

       X coordinate (m)       : -2506818.143

       Y coordinate (m)       : -3846908.534

       Z coordinate (m)       : 4412266.196

       Latitude (N is +)      : +440304.40693

       Longitude (E is +)     : -1230524.25020

       Elevation (m,ellips.)  : 118.102

     Additional Information   : 

                              : 

3.  GNSS Receiver Information

3.1  Receiver Type            : LEICA RS500

     Satellite System         : GPS

     Serial Number            : 80000

     Firmware Version         : 3.00

     Elevation Cutoff Setting : 10 deg

     Date Installed           : 2001-03-16

     Date Removed             : 2002-05-28

     Temperature Stabiliz.    : none

     Additional Information   : 

3.2  Receiver Type            : LEICA RS500

     Satellite System         : GPS

     Serial Number            : 80118

     Firmware Version         : 4.00

     Elevation Cutoff Setting : 10 deg

     Date Installed           : 2002-05-28

     Date Removed             : 2006-04-27

     Temperature Stabiliz.    : none

     Additional Information   : Sensor malfunctioned, sent for repair

3.3  Receiver Type            : LEICA RS500

     Satellite System         : GPS

     Serial Number            : 80118

     Firmware Version         : 5.00

     Elevation Cutoff Setting : 10 deg

     Date Installed           : 2006-06-01

     Date Removed             : 2008-08-15

     Temperature Stabiliz.    : none

     Additional Information   : 

3.4  Receiver Type            : LEICA RS500

     Satellite System         : GPS

     Serial Number            : 80118

     Firmware Version         : 5.00

     Elevation Cutoff Setting : 5 deg

     Date Installed           : 2008-08-15

     Date Removed             : 2008-09-16

     Temperature Stabiliz.    : none

     Additional Information   : 

3.5  Receiver Type            : LEICA RS500

     Satellite System         : GPS

     Serial Number            : 80118

     Firmware Version         : 5.00

     Elevation Cutoff Setting : 0 deg

     Date Installed           : 2008-09-16

     Date Removed             : 2009-09-10

     Temperature Stabiliz.    : none

     Additional Information   : 

3.6  Receiver Type            : LEICA RS500

     Satellite System         : GPS

     Serial Number            : 80118

     Firmware Version         : 5.10

     Elevation Cutoff Setting : 0 deg

     Date Installed           : 2009-09-10

     Date Removed             : (CCYY-MM-DDThh:mmZ)

     Temperature Stabiliz.    : none

     Additional Information   : 

3.7  Receiver Type            : LEICA GRX1200PRO

     Satellite System         : GPS

     Serial Number            : 458312

     Firmware Version         : 

 V 8.10

     Elevation Cutoff Setting : 0 deg

     Date Installed           : 2011-04 (updated 2018_06 – epz)

     Date Removed             : 2021-02-24

     Temperature Stabiliz.    : none

     Additional Information   : 

3.8  Receiver Type            : Trimble NetR9

     Satellite System         : GPS+GLONASS etc

     Serial Number            : 5922R51384

     Firmware Version         : 5.37

     Elevation Cutoff Setting : 0 Deg

     Date Installed           : 2021-02-24

     Date Removed             : 

     Temperature Stabiliz.    : 

     Additional Information   :

3.x  Receiver Type            : (A20, from rcvr_ant.tab; see instructions)

     Satellite System         : (GPS/GLONASS/GPS+GLONASS)

     Serial Number            : (A5)

     Firmware Version         : (A11)

     Elevation Cutoff Setting : (deg)

     Date Installed           : (CCYY-MM-DDThh:mmZ)

     Date Removed             : (CCYY-MM-DDThh:mmZ)

     Temperature Stabiliz.    : (none or tolerance in degrees C)

     Additional Information   : (multiple lines)

4.  GNSS Antenna Information

4.1  Antenna Type             : LEIAT504

     Serial Number            : 727

     Antenna Reference Point  : BPA

     Marker->ARP Up Ecc. (m)  : 0.0000

     Marker->ARP North Ecc(m) : 0.0000

     Marker->ARP East Ecc(m)  : 0.0000

     Alignment from True N    : 

     Antenna Radome Type      : LEIS

     Radome Serial Number     : 

     Antenna Cable Type       : Times Microwave Systems LMR400

     Antenna Cable Length     : 50 m

     Date Installed           : 2001-03-16

     Date Removed             : 2021-02-24 11:00

     Additional Information   :
4.2  Antenna Type             : Trimble Zephyr 3 Geodetic 

     Serial Number            : 1441052879

     Antenna Reference Point  : 

     Marker->ARP Up Ecc. (m)  : 

     Marker->ARP North Ecc(m) : 

     Marker->ARP East Ecc(m)  : 

     Alignment from True N    : yes

     Antenna Radome Type      : NONE

     Radome Serial Number     : None

     Antenna Cable Type       : TIMES MICROWAVE LMR400

     Antenna Cable Length     : 50 m

     Date (Changed)Installed  : 2021-02-24 11:00

     Date Removed             : 

     Additional Information   : TRM115000.00 NONE

4.x  Antenna Type             : (A20, from rcvr_ant.tab; see instructions)

     Serial Number            : (A*, but note the first A5 is used in SINEX)

     Antenna Reference Point  : (BPA/BCR/XXX from "antenna.gra"; see instr.)

     Marker->ARP Up Ecc. (m)  : (F8.4)

     Marker->ARP North Ecc(m) : (F8.4)

     Marker->ARP East Ecc(m)  : (F8.4)

     Alignment from True N    : (deg; + is clockwise/east)

     Antenna Radome Type      : (A4 from rcvr_ant.tab; see instructions)

     Radome Serial Number     : 

     Antenna Cable Type       : (vendor & type number)

     Antenna Cable Length     : (m)

     Date Installed           : (CCYY-MM-DDThh:mmZ)

     Date Removed             : (CCYY-MM-DDThh:mmZ)

     Additional Information   : (multiple lines)

5.  Surveyed Local Ties

5.x  Tied Marker Name         : 

     Tied Marker Usage        : (SLR/VLBI/LOCAL CONTROL/FOOTPRINT/etc)

     Tied Marker CDP Number   : (A4)

     Tied Marker DOMES Number : (A9)

     Differential Components from GNSS Marker to the tied monument (ITRS)

       dx (m)                 : 

       dy (m)                 : 

       dz (m)                 : 

     Accuracy (mm)            : (mm)

     Survey method            : (GPS CAMPAIGN/TRILATERATION/TRIANGULATION/etc)

     Date Measured            : (CCYY-MM-DDThh:mmZ)

     Additional Information   : (multiple lines)

6.   Frequency Standard

6.1  Standard Type            : INTERNAL

       Input Frequency        : 

       Effective Dates        : 1993-03-12/CCYY-MM-DD

       Notes                  : (multiple lines)

6.x  Standard Type            : (INTERNAL or EXTERNAL H-MASER/CESIUM/etc)

       Input Frequency        : (if external)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

7.   Collocation Information

7.x  Instrumentation Type     : (GPS/GLONASS/DORIS/PRARE/SLR/VLBI/TIME/etc)

       Status                 : (PERMANENT/MOBILE)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.   Meteorological Instrumentation

8.1.x  Humidity Sensor Model  : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy (% rel h)     : (% rel h)

       Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.2.x  Pressure Sensor Model  : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy               : (hPa)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.3.x  Temp. Sensor Model     : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy               : (hPa)

       Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.4.x  Water Vapor Radiometer : 

       Manufacturer           : 

       Serial Number          : 

       Distance to Antenna    : (m)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.5.1  Other Instrumentation  : (multiple lines)

8.5.x  Other Instrumentation  : 

9.  Local Ongoing Conditions Possibly Affecting Computed Position

9.1.x  Radio Interferences    : (TV/CELL PHONE ANTENNA/RADAR/etc)

       Observed Degredations  : (SN RATIO/DATA GAPS/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

9.2.x  Multipath Sources      : (METAL ROOF/DOME/VLBI ANTENNA/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

9.3.x  Signal Obstructions    : (TREES/BUILDINGS/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

10.   Local Episodic Effects Possibly Affecting Data Quality

10.x Date                     : (CCYY-MM-DD/CCYY-MM-DD)

     Event                    : (TREE CLEARING/CONSTRUCTION/etc)

11.   On-Site, Point of Contact Agency Information

     Agency                   : Oregon Department of Transportation

     Preferred Abbreviation   : ODOT


     Mailing Address          : 800 Airport Rd, SE, Salem, OR 97301-4798

           Primary Contact           

       Contact Name

: RANDY OBERG, LEAD GEODETIC SURVEYOR

       Telephone (primary)    
: (503)986-3041
       Telephone (primary)  
: (503)881-2889

       Fax                    
: (503)986-3548

       E-mail                 
: randy.d.oberg@odot.oregon.gov

     Secondary Contact

       Contact Name           
: Eric Zimmerman, GEODETIC Associate

       Telephone (primary)    
: (503)986-3041
       Telephone (primary)  
: (503)779-5069

       Fax                    
: (503)986-3548

       E-mail                 
: eric.p.zimmerman@odot.oregon.gov

     Additional Information   
: 

12.  Responsible Agency (if different from 11.)

     Agency                   : 

     Preferred Abbreviation   : 

     Mailing Address          : 

                              : 

                              : 

     Primary Contact

       Contact Name           : 

       Telephone (primary)    : 

       Telephone (secondary)  : 

       Fax                    : 

       E-mail                 : 

     Secondary Contact

       Contact Name           : 

       Telephone (primary)    : 

       Telephone (secondary)  : 

       Fax                    : 

       E-mail                 : 

     Additional Information   : 

13.  More Information

     Primary Data Center      : 

     Secondary Data Center    : 

     URL for More Information : 

       Hardcopy on File

       Site Map               : 

       Site Diagram           : 

       Horizon Mask           : 

       Monument Description   : 

       Site Pictures          : 

     Additional Information   : 

     Antenna Graphics with Dimensions

       http://www.ngs.noaa.gov/ANTCAL/
