LPSB Site Information Form

Lane County Surveyors Office

See Instructions at:

ftp://igscb.jpl.nasa.gov/pub/station/general/sitelog_instr.txt

0.   Form

Prepared by (full name)  : MURRAY BENNETT FRAZEE III, PLS

Date Prepared            : 2009-10-02

Report Type              : UPDATE

If Update:

Previous Site Log       : lpsb_20081216[1].log

Modified/Added Sections : 0,3.6,11

0.1   Form

Prepared by (full name)  : RANDY D. OBERG

Date Prepared            : 2018-04-03

Report Type              : Updated, Assumed Control by Oregon DOT

Updated			 : 2021-02-24

Reason for Update		 : Replace Antenna/ Sensor

Previous Site Log       : (lpsb_20091002.log)

Modified/Added Sections : (0.n,n.n,...)

1.  Site Identification of the GNSS Monument

Site Name                : LANE COUNTY PSB

Four Character ID        : LPSB

Monument Inscription     :

IERS DOMES Number        : (A9)

CDP Number               : (A4)

Monument Description     : .064m STEEL PIPE MOUNTED TO CONCRETE BUILDING

Height of the Monument : 10.0m

Monument Foundation    : ROOF

Foundation Depth       : (m)

Marker Description       : (CHISELLED CROSS/DIVOT/BRASS NAIL/etc)

Date Installed           : 2001-03-16

Geologic Characteristic  : CLAY

Bedrock Type           : SEDIMENTARY

Bedrock Condition      : (FRESH/JOINTED/WEATHERED)

Fracture Spacing       : (1-10 cm/10-50 cm/50-200 cm/over 200 cm)

Fault zones nearby     : (YES/NO/Name of the zone)

Distance/activity    : (multiple lines)

Additional Information   :

:

2.   Site Location Information

City or Town             : EUGENE

State or Province        : OREGON

Country                  : USA

Tectonic Plate           : North American

Approximate Position (ITRF)

X coordinate (m)       : -2506818.143

Y coordinate (m)       : -3846908.534

Z coordinate (m)       : 4412266.196

Latitude (N is +)      : +440304.40693

Longitude (E is +)     : -1230524.25020

Elevation (m,ellips.)  : 118.102

Additional Information   :

:

3.  GNSS Receiver Information

3.1  Receiver Type            : LEICA RS500

Satellite System         : GPS

Serial Number            : 80000

Firmware Version         : 3.00

Elevation Cutoff Setting : 10 deg

Date Installed           : 2001-03-16

Date Removed             : 2002-05-28

Temperature Stabiliz.    : none

Additional Information   :

3.2  Receiver Type            : LEICA RS500

Satellite System         : GPS

Serial Number            : 80118

Firmware Version         : 4.00

Elevation Cutoff Setting : 10 deg

Date Installed           : 2002-05-28

Date Removed             : 2006-04-27

Temperature Stabiliz.    : none

Additional Information   : Sensor malfunctioned, sent for repair

3.3  Receiver Type            : LEICA RS500

Satellite System         : GPS

Serial Number            : 80118

Firmware Version         : 5.00

Elevation Cutoff Setting : 10 deg

Date Installed           : 2006-06-01

Date Removed             : 2008-08-15

Temperature Stabiliz.    : none

Additional Information   :

3.4  Receiver Type            : LEICA RS500

Satellite System         : GPS

Serial Number            : 80118

Firmware Version         : 5.00

Elevation Cutoff Setting : 5 deg

Date Installed           : 2008-08-15

Date Removed             : 2008-09-16

Temperature Stabiliz.    : none

Additional Information   :

3.5  Receiver Type            : LEICA RS500

Satellite System         : GPS

Serial Number            : 80118

Firmware Version         : 5.00

Elevation Cutoff Setting : 0 deg

Date Installed           : 2008-09-16

Date Removed             : 2009-09-10

Temperature Stabiliz.    : none

Additional Information   :

3.6  Receiver Type            : LEICA RS500

Satellite System         : GPS

Serial Number            : 80118

Firmware Version         : 5.10

Elevation Cutoff Setting : 0 deg

Date Installed           : 2009-09-10

Date Removed             : (CCYY-MM-DDThh:mmZ)

Temperature Stabiliz.    : none

Additional Information   :

3.7  Receiver Type            : LEICA GRX1200PRO

Satellite System         : GPS

Serial Number            : 458312

Firmware Version         :

V 8.10

Elevation Cutoff Setting : 0 deg

Date Installed           : 2011-04 (updated 2018_06 – epz)

Date Removed             : 2021-02-24

Temperature Stabiliz.    : none

Additional Information   :

3.8  Receiver Type            : Trimble NetR9

Satellite System         : GPS+GLONASS etc

Serial Number            : 5922R51384

Firmware Version         : 5.37

Elevation Cutoff Setting : 0 Deg

Date Installed           : 2021-02-24

Date Removed             :

Temperature Stabiliz.    :

Additional Information   :

3.x  Receiver Type            : (A20, from rcvr_ant.tab; see instructions)

Satellite System         : (GPS/GLONASS/GPS+GLONASS)

Serial Number            : (A5)

Firmware Version         : (A11)

Elevation Cutoff Setting : (deg)

Date Installed           : (CCYY-MM-DDThh:mmZ)

Date Removed             : (CCYY-MM-DDThh:mmZ)

Temperature Stabiliz.    : (none or tolerance in degrees C)

Additional Information   : (multiple lines)

4.  GNSS Antenna Information

4.1  Antenna Type             : LEIAT504

Serial Number            : 727

Antenna Reference Point  : BPA

Marker->ARP Up Ecc. (m)  : 0.0000

Marker->ARP North Ecc(m) : 0.0000

Marker->ARP East Ecc(m)  : 0.0000

Alignment from True N    :

Antenna Radome Type      : LEIS

Radome Serial Number     :

Antenna Cable Type       : Times Microwave Systems LMR400

Antenna Cable Length     : 50 m

Date Installed           : 2001-03-16

Date Removed             : 2021-02-24 11:00

Additional Information   :

4.2  Antenna Type             : Trimble Zephyr 3 Geodetic

Serial Number            : 1441052879

Antenna Reference Point  :

Marker->ARP Up Ecc. (m)  :

Marker->ARP North Ecc(m) :

Marker->ARP East Ecc(m)  :

Alignment from True N    : yes

Antenna Radome Type      : NONE

Radome Serial Number     : None

Antenna Cable Type       : TIMES MICROWAVE LMR400

Antenna Cable Length     : 50 m

Date (Changed)Installed  : 2021-02-24 11:00

Date Removed             :

Additional Information   : TRM115000.00 NONE

4.x  Antenna Type             : (A20, from rcvr_ant.tab; see instructions)

Serial Number            : (A*, but note the first A5 is used in SINEX)

Antenna Reference Point  : (BPA/BCR/XXX from "antenna.gra"; see instr.)

Marker->ARP Up Ecc. (m)  : (F8.4)

Marker->ARP North Ecc(m) : (F8.4)

Marker->ARP East Ecc(m)  : (F8.4)

Alignment from True N    : (deg; + is clockwise/east)

Antenna Radome Type      : (A4 from rcvr_ant.tab; see instructions)

Radome Serial Number     :

Antenna Cable Type       : (vendor & type number)

Antenna Cable Length     : (m)

Date Installed           : (CCYY-MM-DDThh:mmZ)

Date Removed             : (CCYY-MM-DDThh:mmZ)

Additional Information   : (multiple lines)

5.  Surveyed Local Ties

5.x  Tied Marker Name         :

Tied Marker Usage        : (SLR/VLBI/LOCAL CONTROL/FOOTPRINT/etc)

Tied Marker CDP Number   : (A4)

Tied Marker DOMES Number : (A9)

Differential Components from GNSS Marker to the tied monument (ITRS)

dx (m)                 :

dy (m)                 :

dz (m)                 :

Accuracy (mm)            : (mm)

Survey method            : (GPS CAMPAIGN/TRILATERATION/TRIANGULATION/etc)

Date Measured            : (CCYY-MM-DDThh:mmZ)

Additional Information   : (multiple lines)

6.   Frequency Standard

6.1  Standard Type            : INTERNAL

Input Frequency        :

Effective Dates        : 1993-03-12/CCYY-MM-DD

Notes                  : (multiple lines)

6.x  Standard Type            : (INTERNAL or EXTERNAL H-MASER/CESIUM/etc)

Input Frequency        : (if external)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

7.   Collocation Information

7.x  Instrumentation Type     : (GPS/GLONASS/DORIS/PRARE/SLR/VLBI/TIME/etc)

Status                 : (PERMANENT/MOBILE)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.   Meteorological Instrumentation

8.1.x  Humidity Sensor Model  :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy (% rel h)     : (% rel h)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.2.x  Pressure Sensor Model  :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (hPa)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.3.x  Temp. Sensor Model     :

Manufacturer           :

Serial Number          :

Data Sampling Interval : (sec)

Accuracy               : (hPa)

Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.4.x  Water Vapor Radiometer :

Manufacturer           :

Serial Number          :

Distance to Antenna    : (m)

Height Diff to Ant     : (m)

Calibration date       : (CCYY-MM-DD)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Notes                  : (multiple lines)

8.5.1  Other Instrumentation  : (multiple lines)

8.5.x  Other Instrumentation  :

9.  Local Ongoing Conditions Possibly Affecting Computed Position

9.1.x  Radio Interferences    : (TV/CELL PHONE ANTENNA/RADAR/etc)

Observed Degredations  : (SN RATIO/DATA GAPS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.2.x  Multipath Sources      : (METAL ROOF/DOME/VLBI ANTENNA/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

9.3.x  Signal Obstructions    : (TREES/BUILDINGS/etc)

Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

Additional Information : (multiple lines)

10.   Local Episodic Effects Possibly Affecting Data Quality

10.x Date                     : (CCYY-MM-DD/CCYY-MM-DD)

Event                    : (TREE CLEARING/CONSTRUCTION/etc)

11.   On-Site, Point of Contact Agency Information

Agency                   : Oregon Department of Transportation

Preferred Abbreviation   : ODOT

Mailing Address          : 800 Airport Rd, SE, Salem, OR 97301-4798

Primary Contact

Contact Name		: RANDY OBERG, LEAD GEODETIC SURVEYOR

Telephone (primary)    	: (503)986-3041

Telephone (primary)  	: (503)881-2889

Fax                    	: (503)986-3548

E-mail                 	: randy.d.oberg@odot.oregon.gov

Secondary Contact

Contact Name           	: Eric Zimmerman, GEODETIC Associate

Telephone (primary)    	: (503)986-3041

Telephone (primary)  	: (503)779-5069

Fax                    	: (503)986-3548

E-mail                 	: eric.p.zimmerman@odot.oregon.gov

Additional Information   	:

12.  Responsible Agency (if different from 11.)

Agency                   :

Preferred Abbreviation   :

Mailing Address          :

:

:

Primary Contact

Contact Name           :

Telephone (primary)    :

Telephone (secondary)  :

Fax                    :

E-mail                 :

Secondary Contact

Contact Name           :

Telephone (primary)    :

Telephone (secondary)  :

Fax                    :

E-mail                 :

Additional Information   :

13.  More Information

Primary Data Center      :

Secondary Data Center    :

URL for More Information :

Hardcopy on File

Site Map               :

Site Diagram           :

Horizon Mask           :

Monument Description   :

Site Pictures          :

Additional Information   :

Antenna Graphics with Dimensions

http://www.ngs.noaa.gov/ANTCAL/