     PNVL Site Information Form (site log)

     Oregon Department of Transportation
     See Instructions at:

       ftp://igscb.jpl.nasa.gov/pub/station/general/sitelog_instr.txt

See this blank document at: 


  ftp://igscb.jpl.nasa.gov/pub/station/general/blank.log

0.   Form

     Prepared by (full name)  : Randy Oberg
     Date Prepared            : 2009-9-28


     Report Type              : NEW

     If Update:

      Previous Site Log       :
      Modified/Added Sections :

1.   Site Identification of the GNSS Monument

     Site Name                : Prineville

     Four Character ID        : PNVL
     Monument Inscription     : 

     IERS DOMES Number        : 

     CDP Number               : 

     Monument Description     : BLDING MOUNT 2” STEEL PIPE W/SCIGN MOUNT
       Height of the Monument : (m)

 Monument Foundation    : Crook County Rd Dept. Conc. Block BUILDING,
       Foundation Depth       : (m)

     Marker Description       : 
     Date Installed           : 2009-09-22


     Geologic Characteristic  : 
       Bedrock Type           : 

       Bedrock Condition      : 

       Fracture Spacing       : 

       Fault zones nearby     : 

         Distance/activity    : 

     Additional Information   : 

2.   Site Location Information

     City or Town             : Prineville

     State or Province        : Oregon
     Country                  : USA
     Tectonic Plate           : North America
     Approximate Position (ITRF)

       X coordinate (m)       :  -2344185.907
       Y coordinate (m)       :  -3925159.109
       Z coordinate (m)       :   4433647.355
       Latitude (N is +)      :  44 18 46.52054
       Longitude (E is +)     : -120 50 47.46916
       Elevation (m,ellips.)  :  873.272
     Additional Information   : (multiple lines)

3.   GNSS Receiver Information

3.1  Receiver Type            : Leica GRX1200GG Pro
     Satellite System         : GPS+GLONASS
     Serial Number            : 356721
     Firmware Version         : 6.02
     Elevation Cutoff Setting : 0°
     Date Installed           : 2009-9-22
     Date Removed             : 
     Temperature Stabiliz.    : 

     Additional Information   : (County) Maintenance facility Prineville, Oregon
3.2  Receiver Type            : Leica GRX1200GG Pro
     Satellite System         : GPS+GLONASS
     Serial Number            : 356721
     Firmware Version         : 8.10
     Elevation Cutoff Setting : 0°
     Date Installed           : 2011-03-03
     Date Removed             : 
     Temperature Stabiliz.    : 

     Additional Information   : (County) Maintenance facility Prineville, Oregon
3.3  Receiver Type            : Leica GRX1200GG Pro
     Satellite System         : GPS+GLONASS
     Serial Number            : 356721
     Firmware Version         : 8.51
     Elevation Cutoff Setting : 0°
     Date Installed           : 2012-09-04
     Date Removed             : 
     Temperature Stabiliz.    : 

     Additional Information   : (County) Maintenance facility Prineville, Oregon

3.4  Receiver Type            : Leica GRX1200GG Pro
     Satellite System         : GPS+GLONASS 

     Serial Number            : 356721
     Firmware Version         : 8.51
     Elevation Cutoff Setting : 0 deg
     Date Installed           : 2015-04-03
     Date Removed             : (CCYY-MM-DDThh:mmZ)

     Temperature Stabiliz.    : (none or tolerance in degrees C)

     Additional Information   :  BATTERY REPLACEMENT 
3.5  Receiver Type            : Leica GRX1200GG Pro
     Satellite System         : GPS+GLONASS 

     Serial Number            : 356721
     Firmware Version         : 9.20
     Elevation Cutoff Setting : 0 deg
     Date Installed           : 2015-07-01
     Date Removed             : 2021-06-08
     Temperature Stabiliz.    : (none or tolerance in degrees C)

     Additional Information   :
3.6  Receiver Type            : Trimble Alloy
     Satellite System         : GPS+GLONASS etc
     Serial Number            : 6006R40030
     Firmware Version         : 5.44
     Elevation Cutoff Setting : 0 Deg
     Date Installed           : 2021-06-08
     Date Removed             : 

     Temperature Stabiliz.    : 

     Additional Information   :
3.x  Receiver Type            : 

     Satellite System         : 

     Serial Number            : 

     Firmware Version         : 

     Elevation Cutoff Setting : 

     Date Installed           : 

     Date Removed             : 

     Temperature Stabiliz.    : 

     Additional Information   : 

4.   GNSS Antenna Information

4.1  Antenna Type             : Leica AT504GG  (LEIAT504GG  LEIS)
     Serial Number            : 201005
     Antenna Reference Point  : 
     Marker->ARP Up Ecc. (m)  : 
     Marker->ARP North Ecc(m) : 
     Marker->ARP East Ecc(m)  : 
     Alignment from True N    : Yes
     Antenna Radome Type      : LEICA CHOKE RING
     Radome Serial Number     : 

     Antenna Cable Type       : TIMES MICROWAVE LMR400
     Antenna Cable Length     : 15M
     Date Installed           : 2009-9-22
     Date Removed             : 2021-06-08
     Additional Information   :
4.2  Antenna Type             : Trimble Zephyr 3 Geodetic 
     Serial Number            : 1441049541
     Antenna Reference Point  : 

     Marker->ARP Up Ecc. (m)  : 

     Marker->ARP North Ecc(m) : 

     Marker->ARP East Ecc(m)  : 

     Alignment from True N    : yes
     Antenna Radome Type      : NONE
     Radome Serial Number     : None
     Antenna Cable Type       : TIMES MICROWAVE LMR400
     Antenna Cable Length     : 15(m)

     Date Installed  

: 2021-06-08
     Date Removed             : 

     Additional Information   : TRM115000.00 NONE
4.x  Antenna Type             : 

     Serial Number            : 

     Antenna Reference Point  : 

     Marker->ARP Up Ecc. (m)  : 

     Marker->ARP North Ecc(m) : 

     Marker->ARP East Ecc(m)  : 

     Alignment from True N    : 

     Antenna Radome Type      : 

     Radome Serial Number     : 

     Antenna Cable Type       : 

     Antenna Cable Length     : 

     Date Installed           : 

     Date Removed             : 

     Additional Information   : 

5.   Surveyed Local Ties

5.x  Tied Marker Name         : 

     Tied Marker Usage        : (SLR/VLBI/LOCAL CONTROL/FOOTPRINT/etc)

     Tied Marker CDP Number   : (A4)

     Tied Marker DOMES Number : (A9)

     Differential Components from GNSS Marker to the tied monument (ITRS)

       dx (m)                 : (m)

       dy (m)                 : (m)

       dz (m)                 : (m)

     Accuracy (mm)            : (mm)

     Survey method            : (GPS CAMPAIGN/TRILATERATION/TRIANGULATION/etc)

     Date Measured            : (CCYY-MM-DDThh:mmZ)

     Additional Information   : (multiple lines)

6.   Frequency Standard

6.1  Standard Type            : (INTERNAL or EXTERNAL H-MASER/CESIUM/etc)

       Input Frequency        : (if external)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

6.x  Standard Type            : (INTERNAL or EXTERNAL H-MASER/CESIUM/etc)

       Input Frequency        : (if external)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

7.   Collocation Information

7.1  Instrumentation Type     : (GPS/GLONASS/DORIS/PRARE/SLR/VLBI/TIME/etc)

       Status                 : (PERMANENT/MOBILE)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

7.x  Instrumentation Type     : (GPS/GLONASS/DORIS/PRARE/SLR/VLBI/TIME/etc)

       Status                 : (PERMANENT/MOBILE)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.   Meteorological Instrumentation

8.1.1 Humidity Sensor Model   : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy (% rel h)     : (% rel h)

       Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.1.x Humidity Sensor Model   : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy (% rel h)     : (% rel h)

       Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.2.1 Pressure Sensor Model   : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy               : (hPa)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.2.x Pressure Sensor Model   : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy               : (hPa)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.3.1 Temp. Sensor Model      : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy               : (deg C)

       Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.3.x Temp. Sensor Model      : 

       Manufacturer           : 

       Serial Number          : 

       Data Sampling Interval : (sec)

       Accuracy               : (deg C)

       Aspiration             : (UNASPIRATED/NATURAL/FAN/etc)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.4.1 Water Vapor Radiometer  : 

       Manufacturer           : 

       Serial Number          : 

       Distance to Antenna    : (m)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.4.x Water Vapor Radiometer  : 

       Manufacturer           : 

       Serial Number          : 

       Distance to Antenna    : (m)

       Height Diff to Ant     : (m)

       Calibration date       : (CCYY-MM-DD)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Notes                  : (multiple lines)

8.5.1 Other Instrumentation   : (multiple lines)

8.5.x Other Instrumentation   : (multiple lines)

9.  Local Ongoing Conditions Possibly Affecting Computed Position

9.1.1 Radio Interferences     : (TV/CELL PHONE ANTENNA/RADAR/etc)

       Observed Degradations  : (SN RATIO/DATA GAPS/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

9.1.x Radio Interferences     : (TV/CELL PHONE ANTENNA/RADAR/etc)

       Observed Degradations  : (SN RATIO/DATA GAPS/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

9.2.1 Multipath Sources       : (METAL ROOF/DOME/VLBI ANTENNA/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

9.2.x Multipath Sources       : (METAL ROOF/DOME/VLBI ANTENNA/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

9.3.1 Signal Obstructions     : (TREES/BUILDLINGS/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

9.3.x Signal Obstructions     : (TREES/BUILDLINGS/etc)

       Effective Dates        : (CCYY-MM-DD/CCYY-MM-DD)

       Additional Information : (multiple lines)

10.  Local Episodic Effects Possibly Affecting Data Quality

10.1 Date                     : (CCYY-MM-DD/CCYY-MM-DD)

     Event                    : (TREE CLEARING/CONSTRUCTION/etc)

10.x Date                     : (CCYY-MM-DD/CCYY-MM-DD)

     Event                    : (TREE CLEARING/CONSTRUCTION/etc)

11.   On-Site, Point of Contact Agency Information

     Agency                   : Oregon Department of Transportation
     Preferred Abbreviation   : ODOT

     Mailing Address          : 800 Airport Rd, SE, Salem, OR 97301-4798

           Primary Contact           
       Contact Name

: RANDY OBERG, LEAD GEODETIC SURVEYOR

       Telephone (primary)    : (503)986-3041
       Telephone (primary)  
: (503)881-2889

       Fax                    : (503)986-3548

       E-mail                 : randy.d.oberg@odot.oregon.gov

     Secondary Contact

       Contact Name           : Eric Zimmerman, GEODETIC Associate

       Telephone (primary)    : (503)986-3041
       Telephone (primary)  
: (503)779-5069

       Fax                    : (503)986-3548

       E-mail                 : eric.p.zimmerman@odot.oregon.gov

     Additional Information   : 

12.  Responsible Agency (if different from 11.)

     Agency                   : (multiple lines)

     Preferred Abbreviation   : (A10)

     Mailing Address          : (multiple lines)

     Primary Contact

       Contact Name           : 

       Telephone (primary)    : 

       Telephone (secondary)  : 

       Fax                    : 

       E-mail                 : 

     Secondary Contact

       Contact Name           : 

       Telephone (primary)    : 

       Telephone (secondary)  : 

       Fax                    : 

       E-mail                 : 

     Additional Information   : (multiple lines)

13.  More Information

     Primary Data Center      :

     Secondary Data Center    :

     URL for More Information : 

     Hardcopy on File

       Site Map               : (Y or URL)

       Site Diagram           : (Y or URL)

       Horizon Mask           : (Y or URL)

       Monument Description   : (Y or URL)

       Site Pictures          : (Y or URL)

     Additional Information   : (multiple lines)

     Antenna Graphics with Dimensions

     (insert text graphic from file antenna.gra)

