# Date										     673-04XX

673-0694

[PWS NAME][PWS #]

[PWS CONTACT]

[PWS ADDRESS]

Subject:  Corrective Action Required for [PWS NAME] to Address Source Water Fecal Contamination at [GW Source Name]

The Drinking Water Services (DWS) has verified recent monitoring which confirms fecal (E. coli) contamination at [GW Source Name].

The results from recent monitoring at your water system are illustrated below:

| Sample Date | Sample Type | Sample Location | Positive for Total Coliform | Positive for E. coli |
| --- | --- | --- | --- | --- |

Furthermore, DWS has reviewed the well log and found the well to be [adequately constructed, or inadequately constructed]. [Include pertinent findings/sentence from hydrogeologist well evaluation here. If you feel it is easy enough to follow, you could make page 3 of that form an attachment to this letter].

Under the Groundwater Rule, [PWS SYSTEM] must take corrective action to address the fecal contamination associated with the source.  The water system will be required to have completed corrective action or be in compliance with an approved corrective action plan with a reasonable timeline by [+18 weeks from date of letter].

If the water system fails to take action within the required time frame, notification must be provided to all persons served by the water system.  A repeat public notice will be required every three months until all deficiencies are corrected or the water system is in compliance with an approved corrective action plan.  A copy of the public notice must be forwarded to DWS-DMCE at PO Box 14450, Portland, OR  97293-0450.  You may also fax the report to (971) 673-0694 or email to dwp.dmce@state.or.us.

In order to comply with the Groundwater Rule and address the fecal contamination detected at your groundwater source, you have the following corrective action options for compliance:

Example Language – if results of well construction are adequate:

- Eliminate the source of fecal contamination associated with the well.  In some cases, the source of fecal contamination can be identified and removed. [PWS SYSTEM] would need to remove any obvious or suspected sources of fecal contamination, take measures to prevent the situation from recurring, and/or correct all significant deficiencies.  Monthly raw water samples of the well may be required for up to 12 months afterwards to ensure the problem has been resolved.

- Provide an alternate source of water.  Either drill a new well or connect to a different well or public water system that meets all drinking water standards.  Plan review is required prior to adding a new source; please contact DWS Plan Review at (971) 673-0408 to start that process.  Formally abandoning the E. coli contaminated well may also apply.

- 4.0-log Compliance monitoring. If effectively removing the source of fecal contamination or connecting to an existing well are not plausible solutions, compliance monitoring may be the appropriate corrective action. Under the Groundwater Rule, compliance monitoring means installing [or upgrading] chlorination with enough contact time to achieve 4.0-log viral inactivation, maintaining a minimum chlorine residual at the entry point at all times and reporting to the DWS on a monthly basis.  Plan review is required prior to installing chlorination; please contact DWS Plan Review at (971) 673-0408 to start that process.

Example Language - if well construction is inadequate and requires reconstruction:

- Eliminate the source of fecal contamination associated with the well.  In some cases, the source of fecal contamination can be identified and removed. [PWS SYSTEM] would need to remove any obvious or suspected sources of fecal contamination, take measures to prevent the situation from recurring, and/or correct all significant deficiencies.  Monthly raw water samples of the well may be required for up to 12 months afterwards to ensure the problem has been resolved.

- Provide an alternate source of water.  Either drill a new well or connect to a different well or public water system that meets all drinking water standards.  Plan review is required prior to adding a new source; please contact DWS Plan Review at (971) 673-0408 to start that process.  Formally abandoning the E. coli contaminated well may also apply.

- Reconstructing the well.  The existing well may be reconstructed to meet current construction standards.  However, fecal contamination may not be eliminated by reconstruction alone.  Once reconstruction is complete, we can determine whether additional measures – for example, 4-log disinfection and compliance monitoring – will be necessary.  [Remember, 4-log viral disinfection is not typically a GWR compliance option as long as the source remains improperly constructed.] Plan review is required prior to well reconstruction.  Please contact DWS Plan Review at (971) 673-0408 to start that process.

[Insert paragraph if appropriate]  If the water system is performing interim compliance monitoring until a final corrective action is achieved, the chlorine residual must be measured daily at the entry point to protect public health. Your regulator will determine the minimum chlorine residual to reliably provide 4-log inactivation of viruses for [GW SOURCE]. [If the required minimum chlorine residual above is known, put the value into the previous sentence and attach the documentation.]

The Tier One public notice must remain posted until the [interim or final corrective action] is completed, and re-posted every 90 days if not yet completed.

Under the Groundwater Rule timeline, you must contact me by [35 days from date of letter] and inform me which method of corrective action you have selected. By [126 days of the date of letter], you must have completed this corrective action or be on an approved schedule towards its completion.

If you have any questions or concerns, or would like this in an alternate format, please contact me at [PHONE NUMBER].  I appreciate your immediate attention to this matter.

Sincerely,

County/Ag contact for PWS

CC:	Regional state tech services contact for county

Drinking Water Services, Portland files

Encl:  Disinfection Calculations for 4-log Treatment [if completed]

Monthly Compliance Monitoring Form [if appropriate]