**Pediatric Airway Roll Contents**

* 1 ea Endotracheal Tube 2.5mm uncuffed
* 1 ea Endotracheal Tube 3.0mm uncuffed
* 1 ea Endotracheal Tube 3.0mm cuffed
* 1 ea Endotracheal Tube 3.5mm cuffed
* 1 ea Endotracheal Tube 4.0mm cuffed
* 1 ea Endotracheal Tube 4.5mm cuffed
* 1 ea Endotracheal Tube 5.0mm cuffed
* 1 ea Endotracheal Tube 5.5mm cuffed
* 1 ea Endotracheal Tube 6.0mm cuffed
* 1 ea Endotracheal Tube 6.5mm cuffed
* 1 ea Oral Airway (50mm)
* 1 ea Oral Airway #4 (60mm)
* 1 ea Oral Airway #5 (70mm)
* 1 ea Oral Airway (80mm)
* 1 ea packets K-Y Jelly
* 1 ea pediatric CO2 Detector
* 1 ea adult CO2 Detector
* 1 intubation Stylette Pediatric and adult (disposable) size 6F
* 1 intubation Stylette Pediatric and adult (disposable) size 10Fr
* 1 intubation Stylette Pediatric and adult (disposable) size 14Fr
* 1 ea McGill Forceps
* 1 ea Small McGill Forceps
* 1 ea Straight Kelly Forceps with Shods
* 1 ea Yankaure Suction
* 1 ea 10cc Leur Slip Syringe
* Introducer/Bougie Pediatric 10Frx 70cm
* 2 nasal trumpet size 20
* 1 ea LMA #1
* 1 ea LMA #2
* 2 ea Fiber Optic Light
* 1 ea Mill 00 (Light yellow)
* 1 ea Mill 0 (purple)
* 1 ea Mill 1 (orange)
* 1 ea Mac 1 (white)
* 1 ea Mill 2 (gray)
* 1 ea Mac 2 (blue)
* 1 ea Mill 3 (yellow)
* 1 ea Mill 3 (green)