## Programming
State Energy Efficient Design
Energy Programming Considerations
Project Name:
Date of Issue:
Fuels and Utilities
Service |  | Selection | Name of Utility
Electric |  |  | PGE
Natural Gas |  |  | NW Natural
Propane
Fuel Oil
Steam
Other
Electrical Service Voltage: |  |  | Primary:……………………………………………………………..
Secondary:…………………………………………………………
Points of service: |  |  | Centralized / Single Meter:…………………………………………………….
Distributed / Multiple Meter:……………………………………………….
Back-up Systems |  |  | Electric Stand-by Generator……………………………..
Systems to be supported:
Fire Systems………………………………….
Selected HVAC……………………………..
Computers…………………………………..
Elevators…………………………………….
Special Use Equipment……………………….
Secondary or Alternate Fuel to Primary Fuel………………………
Systems to be supported:
Heating……………………………………….
DHW………………………………………..
Special Use Equipment……………………….
Building Envelope
Building Orientation and Shape
East-West Axis………………………………………………………
Long and slander shape………………………………………………
Enhance Wall Thermal Mass
Reduction of peak heating and cooling loads………………………….
Reduction of energy use due to the thermal flywheel effect…………….
Daylighting Architectural Features
Shadings and Overhangs……………………………………………..
Light Shelves, Clerestories, Skylights………………………………….
Heat Absorption Prevention
Color selection of roof and wall surfaces………………………………
Landscape shading……………………………………………………
Domestic Hot Water (DHW)
Showers: Number of people and use pattern (describe below)
Fixtures: Number and assumed diversity factors (describe below)
Special Equipment: Define water demand and use pattern (describe below)
Fixture controls
Manual……………………………………………………………….
Spring return………………………………………………………….
Automatic infra-red sensor……………………………………………
DHW generation and distribution…………………………………………………
Sizing criteria: loads, recovery rates, storage capacity
Equipment Loads
Office Equipment
Owner supplied electronic office equipment…………………………..
Sleep Mode, Energy Star or other standard…….
Features set-up and controlled by Owner…………………
Occupancy based controls……………………………………………
After hours switchable loads…………………………………………..
Large equipment or system loads recommended for gas firing
Space heat……………………………………………………………
DHW heaters………………………………………………………..
Food service equipment
Grills, fryers, steam kettles, etc……………………………
Dishwasher booster heaters……………………………….
Labs equipment
Autoclaves……………………………………………….
Steam generators…………………………………………
Other………………………………………………………………..
Lighting
Task lighting, lower ambient light levels……………………………….
Light-colored interior finishes for walls, partitions and furniture….
Defien interior and exterior light sources
Define fixture types
Define fixture lamp sources
Mechanical Systems
Distributed mechanical equipment integrated into packaged roof-top equipment…..
Central mechanical equipment served by boiler(s) and chiller(s)…………………..
DHW generation and distribution…………………………………………………
Special use HVAC requirements
Computer server room……………………………………………….
Telecom switch and electronics room…………………………………
Art gallery……………………………………………………………
Laboratorium………………………………………………………..
Natatorium…………………………………………………………..
Kitchen………………………………………………………………
Gymnasium………………………………………………………….
Other………………………………………………………………..
Maintenance Issues
Longevity
Ventilation |  | Mechanical…………………………………………………………..
Natural………………………………………………………………
Hybrid System
High Occupancy Areas……………………………………………………..
Controls
Simple control system, i.e. prog. thermostats, describe applicable features below
Automated control system, describe features below
Documenting Control Systems |  |  |  |  | B | NA | A
Complete points list for all equipment…………………………………
Schedule and temperature setpoints…………………………………..
Alarm notification and target setpoints………………………………..
Detailed Sequence of Operations….…………..…………………..
Discription of Graphic Screens …………………………..………..
Commissioning and Verification of Sequence of Operations
Document sequences through use of trend logging…………………….
Point by point verification and calibration check………………….
Established control stability, PID and loop tuning…………………….
Problem resolution, modification and tweaking of original sequences….
SEED Required Control Routines
On/off daily, weekly, holiday scheduling……………………………….
Schedule override by manual override, occupancy sensor or security….
Optimum start……………………………………………………….
Thermostat setback during unoccupied hours………………………….
Boiler optimization sequencing……………………………………….
Chiller optimization sequencing……………………………………….
Time clock and OSA lockout control of heating and cooling pumps……
Close OSA dampers when unoccupied and during start-up……………
OSA compensation when supply airflow varies, i.e. VAV systems
Lock out simultaneous heating and cooling…………………………….
Airflow based on dynamic static pressure reset……………………….
Integrated economizer controls……………………………………….
Reset heating water temperature………………………………………
Reset chilled water temperature……………………………………….
Reset supply air temperature………………………………………….
Terminal unit min. airflow established prior to reheating
Terminal unit core and perimeter sequences for winter warm-up………..
Terminal unit core and perimeter sequences for summer cool-down…
Terminal unit unoccupied mode, reset of airflow and temperatures ..….
Terminal unit coordination when zone served by more than one TU…..
Other terminal unit considerations (describe below)…………………..
Comments:
Comments:
Comments:
Comments:
Comments:
Comments:
Comments:
Comments:

## Design Intent
State Energy Efficient Design
Energy Design Intent Checklist
Project Name:
| Date of Issue: |  | 2016-09-22
Basis of Design
Design Outdoor Temperatures
|  | Summer…………………………………………………. | [5 empty] | F
|  | Winter…………………………………………………… | [5 empty] | F
Design Indoor Temperatures
|  | Occupied Mode |  | Cooling…………………………. |  |  |  | F
|  |  |  | Heating………………………….. |  |  |  | F
|  | Unoccupied Mode |  | Cooling………………………….. |  |  |  | F
|  |  |  | Heating………………………….. |  |  |  | F
Building Envelope
|  | Walls……………………………………….. |  |  |  | R-value
|  | Roof………………………………………… |  |  |  | R-value
|  | Floor………………………………………… |  |  |  | R-value
|  | Window…………………………………….. |  |  |  | U-value
U-value
|  | Curtain Wall - Spandrel ……………………….. |  |  |  | R-value
|  | Skylight ……………………….………….. |  |  |  | U-value
Occupancy and Schedules
Number of people……………………………………….
Days occupied per week………………………………….
Weeks occupied per year………………………………..
|  | Workday start time………………………………………. | [5 empty] | A.M.
|  | Workday stop time………………………………………. | [5 empty] | P.M.
|  | Weekend start time……………………………………… | [5 empty] | A.M.
|  | Weekend stop time……………………………………… | [5 empty] | P.M.
Number of holidays per year……………………………..
Vacation periods
Interior Loads
|  | Occupancy………………………………….. |  |  |  |  | SqFt/pers.
|  | Ventilation…………………………………… |  |  |  |  | CFM/pers.
|  | Lighting………………………………………. |  |  |  |  | W/SqFt
|  | Equipment…………………………………… |  |  |  |  | W/SqFt
|  | Infiltration ………………………………… |  |  |  |  | ACH
Basis of Design - Continued
Lighting
|  | Interior Target Illumination Levels |  |  |  |  | Footcandles
Classrooms………………………………………………
Open Office………………………………………………
Private Office…………………………………………….
Conference Rooms……………………………………….
Kitchen………………………………………………….
Restrooms……………………………………………….
Corridors………………………………………………..
Lobbies………………………………………………….
Storage………………………………………………….
Other……………………………………………………..
|  | Exterior Target Illumination Levels |  |  |  |  | Footcandles
Entrance………………………………………………….
Pathway………………………………………………….
Parking Lot………………………………………………
Roadways……………………………………………….
|  |  | Building Façade……………………………… |  |  |  |  | W/lin.ft
Illumination Quality
Lamp Source |  | Incandesc. | Induction | 4 ft fluor. | CFL | MH | MV | HPS
Lamp Color
CRI Criteria
Lamp Life
Mercury Disposal
Mechanical Equipment Design Criteria
Boiler design operating conditions and sizing criteria
| Boiler design temperatures………………………………. |  |  |  |  | EWT |  | F
|  |  | ………………………………. |  |  | LWT |  | F
| Boiler combustion efficiency…………………………………………. | [6 empty] | %
| Sizing safety factor………………………………………. |  |  |  | % design load |  |  | %
Chiller design operating conditions and sizing criteria
| Chiller evaporator design temperatures…………………… |  |  |  |  | EWT |  | F
|  |  |  | …………………… |  | LWT |  | F
| Chiller condenser design temperatures……………………. |  |  |  |  | EWT |  | F
|  |  |  | ……………………. |  | LWT |  | F
| Cooling tower design temperatures………………………. |  |  |  |  | EWT |  | F
|  |  |  | ……………………… |  | LWT |  | F
| Cooling tower Wet Bulb temperature………………………………… | [6 empty] | F
Chiller efficiency COP, or kW/ton…………………………………….
| Sizing safety factor………………………………………. |  |  |  | % design load |  |  | %
Coil design considerations
Design temperature difference
|  | Heating at air handler……………………………………. | [5 empty] | F
|  | Heating at terminal unit…………………………………… | [5 empty] | F
|  | Cooling at air handler…………………………………….. | [5 empty] | F
Fans and Pumps
|  | Fans…………………………………………………….. | [5 empty] | %
|  | Pumps…………………………………………………… | [5 empty] | %
|  | Motors………………………………………………….. | [5 empty] | %
DHW - Fixture Water Consumption
|  | Showers…………………………………………………. | [5 empty] | gpm
|  | Urinals…………………………………………………… | [5 empty] | gpf
|  | Toilets…………………………………………………… | [5 empty] | gpf
|  | Hand Sinks…………………………………………….. | [5 empty] | gpm
|  | Utility Sinks……………………………………………… | [5 empty] | gpm
Comments:
Comments:
Comments:
Comments:
Comments:
Comments:
Comments:
Comments: