## Sheet1
Facility Type |  |  | Facility Year
Inspection Date
**********Only complete blank cells - do not fill colored cells***********
Table 1 |  |  | Table 2
Maintenance and Administrative Facility Conditional Assessment NTD ID | SCORE | Assessor Intls. | Condition Assessment Rating Scale |  |  |  | General Purpose Maintenance Facility/Depot
Inspection Area |  |  | Rating | Condition | Description |  | Administrative Office/Sales Office
Substructure |  |  | 4.8-5.0 | Excellent | No visible defects, new or near new condition, may still be under warranty if applicable |  | Combined Administrative and Maintenance Facility
Foundations: Walls, columns, pilings other structural components | [6 empty] | Bus Transfer Center
Basement: Materials, insulation, slab, floor underpinnings |  |  | 4.0-4.7 | Good | Good condition, but no longer new, may have some slightly defective or deteriorated component(s), but is overall functional |  | Surface Parking Lot
Shell | [6 empty] | Parking Structure
Superstructure/structural frame: columns, pillars, walls |  |  | 3.0-3.9 | Adequate | Moderately deteriorated or defective components; but has not exceeded useful life |  | Other
Roof: Roof surface, gutters, eaves, skylights, chimney surrounds
Exterior: Windows, doors, and all finishes (paint, masonry) |  |  | 2.0-2.9 | Marginal | Defective or deteriorated component(s) in need or replacement; exceeded useful life
Shell appurtenances: Balconies, fire escapes, gutters, downspouts
Interiors |  |  | 1.0-1.9 | Poor | Critically damaged component(s) or in need of immediate repair; well past useful life
Partitions: Walls, interior doors, fittings such as signage
Stairs: Interior stairs and landings
Finishes: Materials used on walls, floors and ceilings
This component covers all interior spaces, regardless of use |  |  | Instructions
Conveyance (Elevators and Escalators) |  |  | Each Inspection Area requires initials of the staff person conducting the inspection. All staff responsible for the facility inspection must be listed.
Elevators
Escalators
Lifts: any other such fixed apparatuses for the movement of goods or people |  |  | Date | Transit System Assessor |  | Title
Plumbing
Fixtures
Water distribution
Sanitary Waste
Rain water drainage
HVAC (Heating, ventilation, and air conditioning) |  |  | Optional
Energy supply |  |  | Photos - Please add .jpg files of interior and exterior (if building) photos below with labels
Heat Generation and distribution systems
Cooling generation and distribution systems
Testing, balancing, controls and instrumentation
Chimneys and vents
Fire Protection
Sprinklers
Standpipes
Hydrants and other fire protection specialties
Electrical
Electrical service and distribution
Lighting & branch wiring (interior and exterior)
Communications and security
Other electrical system-related pieces such as lighting protection, generators, and emergency lighting
Equipment/Fare Collection
Equipment related to the function of the facility, including maintenance or vehicle service equipment
For clarity, includes items valued above $10,000 and related to facility function
Site
Roadways/driveways and associated signage, markings and equipment
Parking lots and associated signage, markings and equipment
Pedestrian areas and associated signage, markings, and equipment
Site development such as fences, walls, and miscellaneous structures
Site Utilities
Overall Assessment Score | #DIV/0!