## 1. Calculator Instructions
AGENCY SPACE NEEDS CALCULATOR WORKSHEET TO DETERMINE USF
Step 1: Determine Seat Count
DAS recommends a process for agencies to determine their space needs by first calculating their seat count. To determine a four-year projected seat count, an agency should utilize the following steps:
1) Verify existing head count and apply four-year projected growth
2) Allocate the projected head count into the following categories: Note step 1 is required by Policy #107-011-100 Space Design and Utilization.
Employees that come into the office 3+ Days / Week
Employees that come into the office 2 Days / Week
Employees that come into the office 1 Day / Week
Employees that are primarily remote and come into the office for occassional site visits
Employees that perform confidential work at least 50% and that come into the office 3+ Days / Week
Employees that perform confidential work at least 50% and that come into the office 2 Days / Week
Employees that perform confidential work at least 50% and that come into the office 1 Day / Week
Employees that perform confidential work at least 50% and are primarily remote and come into the office for occassional site visits
Step 2: Apply Seat Count to Office and Workstation Space Types
With these seat count projections, agencies can use the Space Planning Calculator (tab 2) to determine USF which incorporates the space standards in the Office Utilization and Design Guidelines to determine their refined agency space need. Enter the specific seat counts identified above into the appropriate cells in Section A of the calculator. This will automatically generate the agency’s Assignable Square Feet (ASF). A Circulation Multiplier of 1.6 is automatically applied in Section B.
Step 3: Enter Unique Space Needs
The classification of Unique Space Needs is an important component of determining overall agency space needs. The following are some of the most common unique space needs for State administrative office planning and have been pre-loaded into the calculator:
· Reception areas
· Enclosed file storage rooms
· Meeting rooms for more than 20 people
· Hearing / public meeting rooms
· Reference library
Agencies should first determine which of these space types have been used in the past and what will still be required in their future space needs. For each of the relevant space types, enter the quantity of anticipated users for each. If any additional space is required, enter it in the blank cells provided. Space planning staff can assist in estimating approximate SF required for these unique spaces.
After entering all unique spaces, the calculator will automatically generate the Dedicated Square Footage (DSF) required by the Agency.
Step 4: Calculation of Shared Common Space
With the seat count provided in Step 1, the calculator will automatically generate the quantities and SF of all shared common spaces the agency will require based on the metrics and space standards outlined in the State Design Guidelines.
Step 5: Add Contingency to Arrive at final USF
Finally, a 5% contingency to cover unforeseen agency space needs is added to the area generated in Step 4 to arrive at the total USF.

## 2. Space Planning Calculator
STATE OF OREGON SPACE PLANNING CALCULATOR
EMPLOYEE : SEAT RATIOS
3+ days/week = 1 : 100%
2 days/week = 1 : 50%
1 day/week = 1 : 25%
Remote = 3 : 1
*Fill in blue cells
| EMPLOYEE IN-OFFICE FREQUENCY | # EMPLOYEES | SEAT COUNT | SQUARE FOOTAGE | NOTES
| 3+ Days / Week | 0 | 0 | 0
| 2 Days / Week | 0 | 0 | 0
| 1 Day / Week | 0 | 0 | 0
| Remote - Occassional Site Visits | 0 | 0 | 0 | Employees work primarily from another location with occasional in-person meetings
| (Confidential) - 3+ Days / Week | 0 | 0 | 0 | Min 50% of work requires confidentiality
| (Confidential) 2 Days / Week | 0 | 0 | 0 | Min 50% of work requires confidentiality
| (Confidential) - 1 Day / Week | 0 | 0 | 0 | Min 50% of work requires confidentiality
"A" | (Confidential) Remote - Occassional Site Visits | 0 | 0 | 0 | Min 50% of work requires confidentiality
| TOTAL | 0 | 0 | 0
| WORKSTATION/OFFICE TYPE | SEAT COUNT | SF / SPACE TYPE | TOTAL SF | NOTES
| Assigned Workstations | 0 | 48 | 0 | Assigned workstation for primarily digital work, with storage; suitable for majority of employees
| Unassigned Workstations/Hoteling | 0 | 48 | 0 | Unassigned hoteling workstation, standard desk, no storage
| Assigned Offices | 0 | 120 | 0 | Assigned; min 50% of work requires confidentiality; secure storage; supports up to three-person meetings
| Unassigned Offices | 0 | 120 | 0 | Unassigned, reservable office, no storage
| TOTAL | 0 |  | 0
"B" | CIRCULATION MULTIPLIER 60% | 1.6
| TOTAL WITH CIRCULATION |  |  | 0
| UNIQUE SPACES | QUANTITY | SF / SPACE TYPE | TOTAL SF | NOTES
| Example: Reception Area |  |  | 0
| Insert extra rows as needed. |  |  | 0
"C" |  |  |  | 0
0
0
0
| TOTAL UNIQUE |  |  | 0
| SHARED/COMMON SPACES | QUANTITY | SF / SPACE TYPE | TOTAL SF | NOTES
| Note: The allowable shared/common space square footage is based on total seat count, determined above in section A. Instead of space planning based on total number of FTE, the new method uses "Seat Counts" to determine agency space needs. The number of seats determined in section A is based on number of employees and frequency of remote work/in-office work. For each space type below, there is a required seat count range for the first room, and a different seat count requirement for each additional room. Your seat count is the number in the yellow shaded box to the right. |  |  |  | 0
Example applied to a 5-person Collaboration Space: If your overall seat count totals 100, you are allowed 5 spaces. If your seat count is 10, then you are allowed 1 space, but no additional ones.
| Collaboration Space - 5 person | 0 | 120 | 0 | 1 room = 5 - 20 seat requirement Each additional room = 20 seat requirement
| Collaboration Space - 10 person | 0 | 240 | 0 | 1 room = 60 - 100 seat requirement Each additional room = 100 seat requirement
| Collaboration Space - 20 person | 0 | 600 | 0 | 1 room = 120 - 200 seat requirement Each additional room = 100 seat requirement
| Collaboration Space - open 4 person workstation | 0 | 96 | 0 | 1 space = 10 - 16 seat requirement Each additional space = 16 seat requirement
| Collaboration Space - open 4 person lounge | 0 | 96 | 0 | 1 space = 10 - 40 seat requirement Each additional space = 40 seat requirement
"D" | Food Prep Area | 0 | 120 | 0 | 1 space = 10 - 60 seat requirement Each additional space = 60 seat requirement
| Work Lounge | 0 | 30 | 0 | 30 SF / seat for seat count in excess of 10 seats: [(seat count - 10) x 33%] x 30 SF
| Copy / Work Room | 0 | 120 | 0 | 1 space = 5 - 40 seat requirement For seat count in excess of 40 = add 3 sf/seat
| Wellness Room | 0 | 80 | 0 | 1 space = 10 - 75 seat requirement Each additional space = 75 seat requirement
| Quiet Room | 0 | 48 | 0 | 1 space = 10 - 12 seat requirement Each additional space = 12 seat requirement
| Shower Room | 0 | 48 | 0 | 1 space = 20 - 100 seat requirement Each additional space = 150 seat requirement
| File Storage Open Area - Unassigned | 0 | 12 | 0 | 12 SF per unassigned seat
| File Storage Open Area - Assigned | 0 | 6 | 0 | 6 SF per assigned seat
| Locker Space | 0 | 2 | 0 | 1 locker for each unassigned seat
| TOTAL SHARED COMMON |  |  | 0
| TOTAL USABLE SQUARE FOOTAGE |  |  | 0
| AVERAGE SQUARE FOOTAGE / SEAT |  |  | #DIV/0!
| 5% CONTINGENCY |  |  | 0
| TOTAL WITH 5% CONTINGENCY |  |  | 0

## 3. Space Standards Reference
Classification |  | Activity Requirements | Assignable Area (SF) | Ratios | Quantity | Quantity Rationale (from State of Colorado's space calculator)
Enclosed Offices
Assigned Ofﬁce |  | Min 50% of work requires confidentiality. Secure storage. Supports up to three person meetings. Suitable for majority of employees with office activitity requirements. | 120 |  | Established through Space Needs process by assigning head counts to seat counts
Unassigned Ofﬁce |  | Unassigned offce of primarily confdential work. No storage. Space can fex between reservable offce space and meeting space for up to three. | 120 |  | Established through Space Needs process by assigning head counts to seat counts
Open Workstations
Unassigned Workstation |  | Touch down workstation for primarily digital work | 48 |  | Established through Space Needs process by assigning head counts to seat counts
Assigned Workstation |  | Workstation for primarily digital work, with storage. Suitable for majority of employees. | 48 |  | Established through Space Needs process by assigning head counts to seat counts
Collaboration
Enclosed, 5 person | Schedulable | Acoustically separate collaboration for up to five in-person participants plus remote participants, supported with monitor and remote meeting technology. | 120 | 20 | (1) room for seat count of 5 - 20. Additional rooms for seat count in excess of 20: (seat count - 20) / 20. 1 room : 20 seats | Allocation is based on assumption that 25% of seat count employees will utilize 5 person Collaboration Space at maximum utilization time. A Utah state study determined that administrative meetings for that state average 5.6 participants
Enclosed, 10 person | Schedulable | Acoustically separate collaboration for up to ten in-person participants plus remote participants, supported with monitor and remote meeting technology. Space for 2' credenza or bench on one end wall. | 240 | 100 | (1) room for seat count of 60-100. Additional rooms for seat count in excess of 100: (seat count - 100) / 100 1 room : 100 seats | Allocation of one room to 100 seats is based on an assumption that 10% of seat count employees (6) will utilize Type 2 Collaboration Space at maximum utilization time.
Enclosed, 20 person | Schedulable | Acoustically separate collaboration for up to ten in-person participants plus remote participants, supported with monitor and remote meeting technology. Space for 2' credenza or bench on one end wall. | 600 | 200 | (1) room for seat count of 120-200 or portion thereof. Additional rooms for seat count in excess of 200: (seat count - 200) / 200 1 room : 200 seats | Allocation of one room to 200 seats is based on an assumption that 10% of seat count employees will utilize Type 3 Collaboration Space at maximum utilization time.
Open, 4 person | Non-schedulable | Team gathering area for four, open to circulation. Supported by mobile monitor and mobile whiteboard. | 96 | 16 | (1) space for seat count of 10-16; additional space for seat count in excess of 16 @ 1:16 | Allocation is based on assumption that 25% of seat count employees will utilize open collaboration at maximum utilization time.
Open, 4 person | Non-schedulable | Lounge area for four, open to circulation. Supported by mobile whiteboard. Flexible for use as unassigned workpoint. | 96 | 40 | (1) space for seat count of 10-40; additional space for seat count in excess of 40 @ 1:40 | Allocation is based on assumption that 10% of seat count employees will utilize open collaboration at maximum utilization time.
Support Spaces
Food Preparation Area |  | Food, coffee / tea storage and preparation. Minimum size supports seating for up to four employees | 120 | 60 | (1) space for seat count of 10-60; additional space for seat count in excess of 60 @ 1:60 | 120 SF minimum for equipment, casework and four employees.
Work Lounge |  | Tables and chairs for lunch. Convertible to informal meeting space. | 30 | 10 | 30 SF / person for seat count in excess of 10 seats: [(seat count - 10) x 33%] x 30 SF | 30 SF per accomodated employee provides flexibility to reconfigure furniture for larger gatherings. Assume 33% of seat count utilizing work lounge at maximum 30 SF / seat utilization. Accomodates 66% of seat count at 15 SF / seat.
Copy / Work Room |  | Copy / printing and collating / assembly. Office supply storage. | 120 | 40 | (1) space for seat count of 5-40; additional space for seat count in excess of 40 @ 3 sf/seat | 120 SF minimum for equipment, casework for 40 employees. Increase by 3 SF per seat for seat count in excess of 40 to provide allocation for additional supplies, mail space and equipment space. For smaller offices (less than 10 seats), this space can also be used as a simple food prep area with microwave (no sink).
Wellness Room |  | Quiet, lockable space for employee wellness needs including lactation and respite. Size supports (1) lounge chair and (1) compact refrigerator. | 80 | 75 | (1) room for seat count of 10 - 75. (1) additional room for each additional seat count increment of 75 seats. 1 room : 75 seats | Allocation ratio based on one room per 75 seats. With option for remote working, agencies may find that need for wellness rooms is somewhat reduced.
Quiet Room |  | Acoustically separate room for one person to make confidential phone calls or two people to meet. Room accommodates bring-your-own-device technology. | 48 | 12 | (1) space for seat count of 10-12; additional space for seat count in excess of 12 @ 1:12 | Allocation ratio based on assumption that each employee needs space to spend approximately 1/12 of in-office time on confidentail phone calls. For a typical 9 hour day including lunch, allocation supports 45 minutes of call time per seat.
Shower Room |  | Lockable space to support one accessible shower and a changing area. | 48 | 150 | (1) room for seat count of 20 - 100. (1) additional room for each seat count increment of 150: (seat count - 100) / 150 1 room : 150 seats | Allocation ratio based on recommmendations of WELL Building Standard V2.
Storage Spaces
File storage, open area |  | Floor area allocation for file storage in open work area. | 6 or 12
Locker space |  | Floor area allocation for lockers accomodating personal items for employees using unassigned stations. | 2 |  | (1) locker for each unassigned seat | 2 SF allocation based on single tier lockers. Access area for lockers is assumed to be from workstation circulation area.
Conceptual Space Needs Planning Criteria
USF / Seat |  |  | 205 USF / seat |  |  | The Design Team has evaluated data from the State's Statregic Office Space Plan to model space needs requirements utilizing reported head and seat counts from agencies with the space standards noted above. For the purposes of this modeling, all open workstations are assumed to be 48 SF and all enclosed offices are assumed to be 120 SF. The recommended USF / seat is the statewide average from this modeling.
Circulation Multiplier |  |  | 1.6 |  |  | The GSA published a report in 2012 evaluating circulation multipliers for a range of office configurations. The study found a multiplier range of 1.39 for 100% enclosed office configurations to 1.61 for a ratio of 20% enclosed offices to 80% open workstations.