## Instructions
Waterdog
DMR Data Workbook - DOMESTIC VERSION July 22, 2021 Contact: Erich Brandstetter, brandstetter.erich@deq.state.or.us
It is the permit holder's responsibility to ensure that all data are complete and correct.
H2 Overview for the Oregon DEQ Monthly Discharge Monitoring Report (DMR) Data Workbook
NPDES permit holders in Oregon must submit electronic discharge monitoring reports via EPA's NetDMR system. In NetDMR, only summary statistic values are entered. DEQ also requires permit holders to submit an attachment containing all the daily values. This workbook serves several purposes: 1) daily value reporting, 2) summary statistic calculations, 3) excess thermal load special report, and 4) bacteria resample report. This workbook is intended for use by most minor municipal permittees. The workbook may not be suitable for permits with more complicated limits and/or monitoring requirements. For more information, see DEQ's NetDMR User's Guide at link below (copy and paste the link into your browser)
https://www.oregon.gov/deq/FilterDocs/WQP-guide-NETDMR-Useguide.pdf
H3 Initial DataSheet Setup The DataSheet is set up in sections: influent, effluent conventional, effluent nutrients, loading calculations, effluent other, recycled water, receiving stream, and one columns for solids. The parameters are on row 6. Some parameters require you to choose one of the dropdown choices. Other columns allow you to type in a parameter that is not on the list. You will likely not need all colums. Leave unused columns blank. DO NOT ADD OR DELETE COLUMNS OR ROWS. Type the permit limits in row 54. You may change the column or row widths and change the decimal places so that the data is visible. HOT TIP: To increase or decrease the decimal places, click on from the "Number" Tab. This workbook also includes an "Operational Data" tab. This tab is optional and operators may modify it. Be sure to report using the correct number of significant figures. For more information, copy and paste the link below into your browser
https://www.oregon.gov/deq/Filtered%20Library/SigFigsIMD.pdf
H4 Data Entry Enter data in the unshaded area on the DataSheet tab. The shaded areas are calculations and are password protected. The monthly summary statistics are below the main table. Percent removal and weekly averages are below the monthy summary statistic table. For permits with simple excess thermal load calcuations (based on 7Q10 stream flow and single criterion during the month), the monthly maximum ETL is shown on the Data Sheet. The summary statistic calculation tables on the Data Sheet are to the right of the main table. The DataSheet accepts the data qualifers "N", "e", "<", and ">" only. Definitions are on row 68. Data qualifers are entered as the first character followed by a number, e.g. "<1.0". The DataSheet uses helper tables to manage qualifed data based on the rules in row 68. THe helper tables are to the left of the data entry area.
H5 Percent Removal Calculations Per 40 CFR 133, percent removal calcuations must be calculated using the following equation: Percent Removal = [(monthly average influent concentration - monthly average effluent concentration) / (monthly average influent concentration)] It is incorrect to calculate monthly average percent by averaging the daily percent removal calcuations. Accordingly, the DataSheet does not contain any percent removal columns.
H6 Maximum Weekly Average DEQ permits define a week as Sunday through Saturday. The DataSheet displays the days of the week in column A. The weekly averages for BOD, TSS, ETL, and temperature are calculated in a table on row 58. The maximum weekly average is shown on row 65.
H7 Excess Thermal Load The DataSheet calculates ETL in million kilocalories per day, but includes a conversion from million Kcals/d to million BTU/d on row 60. If your permit does not include a flow based option, enter the appropriate maximum ETL in NetDMR. If your permit includes a flow based option, but ETL is less than the non-flow based limit, enter the ETL from the spreadsheet in NetDMR. The flow based limit calcuations are not necessary becuase you have met the critical low flow based limit. If your permit include flow based ETL limits AND the ETL exceeds the low flow limit, you must do the flow based ETL limit calcuations on a separate worksheet. THis workbook includes a tab titled "ETL Flow Based" as an example. Other spreadsheets may be included in this workbook or may be submitted as a separate workbook.
H8 Bacteria Resample Report Tab Operators may use this tab to report the results of E. coli resampling. Only complete this report if your permit includes an allowance for resampling and if the daily E. coli limit is exceeded.
H9 Report Submittal o Review the report for accuracy o Save completed report to your computer (or other secure location) using the following naming convention: Facility Name_ Facility EPA ID Number_ Month_Year_"DMR". For example,: Salem_OR0026409_July_2019_DMR o Attach the electronic files when you submit your monthly summary data in NetDMR. o If the DMR contains effluent limit violations or missed monitoring, complete a noncompliance report. Copy and paste the link below into your browser.
https://www.oregon.gov/deq/FilterDocs/NoncomplianceReportForm.pdf

## DataSheet
|  | DMR Data Workbook-Data Sheet | [28 empty] | TIP: Click on |  |  | above to hide ribbon | [17 empty] | Waterdog
|  |  | Submit completed workbook as an attachment to your monthly NetDMR submittal | [34 empty] | Helper Table 1 | [38 empty] | Helper Table 2 - Loading Calculations | [38 empty] | Helper Table 3: Total, Min, Max. Average, and Geomean calcuations
| Facility: |  |  |  | Permit #: |  |  |  | File #: |  |  | EPA #: |  |  | Month: |  | January |  | Year: | 2021 |  | Monitoring Period End Date: |  |  |  | 4422700% |  | Submittal Date: |  | 4455100% | [7 empty] | Uses INDIRECT function to protect cell references from changing if data is moved or pasted. | [38 empty] | Removes ">" and "e". Replaces "<" with zero. | [38 empty] | Removes all qualifiers except "e". Determines the row for minimum and maximum
|  | INFLUENT |  |  |  |  | EFFLUENT - Conventional - Outfall 001 | [8 empty] | 001 - Nutrients |  |  |  | LOAD CALCS |  |  |  | EFFLUENT - OTHER |  |  | RECYCLED WATER |  |  |  |  | RECEIVING STREAM |  |  |  |  | ◄Monitoring Location | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE | AF | AG | AH | AI | AJ | AK | AL | AM | AN
|  | Temperature, deg C | pH | Flow, MGD | CBOD5 Conc. | TSS Conc. | Temperature, deg C | pH | Flow, MGD | CBOD5 Conc. | TSS Conc. | Chlorine Used, lbs/d | Chlorine, Total Residual | E. coli |  | Ammonia (NH3 as N) | Nitrate + Nitrite total | Nitrogen, Total Kjeldahl | Phosphorus, dissolved | CBOD5 Loading | TSS Loading | Excess Thermal Load, mKcal/d (temperature must be in deg C) | Phosphorus Loading |  |  |  | Volume Irrigated | Total Coliform | Rainfall |  |  | Temperature Criterion, deg C | Stream Gage Height | Flow, CFS | Dilution Ratio | Solids Hauled | ◄Monitored Parameter Name | Temperature, deg C | pH | Flow, MGD | CBOD5 Conc. | TSS Conc. | Temperature, deg C | pH | Flow, MGD | CBOD5 Conc. | TSS Conc. | Chlorine Used, lbs/d | Chlorine, Total Residual | E. coli | 0 | Ammonia (NH3 as N) | Nitrate + Nitrite total | Nitrogen, Total Kjeldahl | Phosphorus, dissolved | CBOD5 Loading | TSS Loading | Excess Thermal Load, mKcal/d (temperature must be in deg C) | Phosphorus Loading | 0 | 0 | 0 | 0 | Volume Irrigated | Total Coliform | 0 | Rainfall | 0 | 0 | Temperature Criterion, deg C | Stream Gage Height | Flow, CFS | Dilution Ratio | 0 | Solids Hauled |  | Temperature, deg C | pH | Flow, MGD | CBOD5 Conc. | TSS Conc. | Temperature, deg C | pH | Flow, MGD | CBOD5 Conc. | TSS Conc. | Chlorine Used, lbs/d | Chlorine, Total Residual | E. coli | 0 | Ammonia (NH3 as N) | Nitrate + Nitrite total | Nitrogen, Total Kjeldahl | Phosphorus, dissolved | CBOD5 Loading | TSS Loading | Excess Thermal Load, mKcal/d (temperature must be in deg C) | Phosphorus Loading | 0 | 0 | 0 | 0 | Volume Irrigated | Total Coliform | 0 | Rainfall | 0 | 0 | Temperature Criterion, deg C | Stream Gage Height | Flow, CFS | Dilution Ratio | 0 | Solids Hauled |  | Temperature, deg C | pH | Flow, MGD | CBOD5 Conc. | TSS Conc. | Temperature, deg C | pH | Flow, MGD | CBOD5 Conc. | TSS Conc. | Chlorine Used, lbs/d | Chlorine, Total Residual | E. coli | 0 | Ammonia (NH3 as N) | Nitrate + Nitrite total | Nitrogen, Total Kjeldahl | Phosphorus, dissolved | CBOD5 Loading | TSS Loading | Excess Thermal Load, mKcal/d (temperature must be in deg C) | Phosphorus Loading | 0 | 0 | 0 | 0 | Volume Irrigated | Total Coliform | 0 | Rainfall | 0 | 0 | Temperature Criterion, deg C | Stream Gage Height | Flow, CFS | Dilution Ratio | 0 | Solids Hauled | 7 day ave Temp | 7d ave ETL
|  | 00010 | 00400 | 00530 | 80082 | 50050 | 00010 | 00400 | 50050 | 80082 | 00530 | 50060 | 50061 | 51040 |  | 00610 | 00630 | 00625 | 00666 | 80082 | 80082 |  | 00625 |  |  |  | 52320 | 74056 | 46529 |  |  |  | 00065 | 50050 | 78480 |  | ◄NetDMR Parameter Code | 00010 | 00400 | 00530 | 80082 | 50050 | 00010 | 00400 | 50050 | 80082 | 00530 | 50060 | 50061 | 51040 |  | 00610 | 00630 | 00625 | 00666 | 80082 | 80082 | 0 | 00625 |  |  |  |  | 52320 | 74056 |  | 46529 |  |  |  | 00065 | 50050 | 78480 |  |  |  | 00010 | 00400 | 00530 | 80082 | 50050 | 00010 | 00400 | 50050 | 80082 | 00530 | 50060 | 50061 | 51040 |  | 00610 | 00630 | 00625 | 00666 | 80082 | 80082 | 0 | 00625 |  |  |  |  | 52320 | 74056 |  | 46529 |  |  |  | 00065 | 50050 | 78480 |  |  |  | 00010 | 00400 | 00530 | 80082 | 50050 | 00010 | 00400 | 50050 | 80082 | 00530 | 50060 | 50061 | 51040 |  | 00610 | 00630 | 00625 | 00666 | 80082 | 80082 | 0 | 00625 |  |  |  |  | 52320 | 74056 |  | 46529 |  |  |  | 00065 | 50050 | 78480
| Date | deg C° | S.U. | MGD | mg/L | mg/L | deg C° | S.U. | MGD | mg/L | mg/L | lbs/d | mg/L | #/100 ml |  | mg/L | mg/L | mg/L | mg/L | lbs/d | lbs/d | mKcal/d | lbs/d |  |  |  | in./day | #/100 ml | in./day |  |  |  | feet | CFS | % |  | ◄Units | deg C° | S.U. | MGD | mg/L | mg/L | deg C° | S.U. | MGD | mg/L | mg/L | lbs/d | mg/L | #/100 ml |  | mg/L | mg/L | mg/L | mg/L | lbs/d | lbs/d | mKcal/d | lbs/d |  |  |  |  | in./day | #/100 ml |  | in./day |  |  |  | feet | CFS | % |  |  |  | deg C° | S.U. | MGD | mg/L | mg/L | deg C° | S.U. | MGD | mg/L | mg/L | lbs/d | mg/L | #/100 ml |  | mg/L | mg/L | mg/L | mg/L | lbs/d | lbs/d | mKcal/d | lbs/d |  |  |  |  | in./day | #/100 ml |  | in./day |  |  |  | feet | CFS | % |  |  |  | deg C° | S.U. | MGD | mg/L | mg/L | deg C° | S.U. | MGD | mg/L | mg/L | lbs/d | mg/L | #/100 ml |  | mg/L | mg/L | mg/L | mg/L | lbs/d | lbs/d | mKcal/d | lbs/d |  |  |  |  | in./day | #/100 ml |  | in./day |  |  |  | feet | CFS | %
|  |  | 2/wk | 2/wk | 1/mo | 1/mo | 2/wk | 2/wk | Daily | 1/mo | 1/mo | Daily | Daily | 1/mo |  | Daily | Daily | Daily | Daily | [7 empty] | Daily | 1/mo | [8 empty] | ◄Required Sampling Frequency | 0 | 2/wk | 2/wk | 1/mo | 1/mo | 2/wk | 2/wk | Daily | 1/mo | 1/mo | Daily | Daily | 1/mo | 0 | Daily | Daily | Daily | Daily | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Daily | 1/mo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 2/wk | 2/wk | 1/mo | 1/mo | 2/wk | 2/wk | Daily | 1/mo | 1/mo | Daily | Daily | 1/mo | 0 | Daily | Daily | Daily | Daily | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Daily | 1/mo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 2/wk | 2/wk | 1/mo | 1/mo | 2/wk | 2/wk | Daily | 1/mo | 1/mo | Daily | Daily | 1/mo | 0 | Daily | Daily | Daily | Daily | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Daily | 1/mo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[20 empty] | calc | calc | calc | calc | [13 empty] | ◄Sample Type | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | calc | calc | calc | calc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | calc | calc | calc | calc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | calc | calc | calc | calc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sat | 2020-12-26
Sun | 2020-12-27
Mon | 2020-12-28
Tue | 2020-12-29
Wed | 2020-12-30
Thu | 2020-12-31 | [35 empty] | Comments, Flow Meter Calibration, etc.
Fri | 2021-01-01 | [152 empty] | #DIV/0! | #DIV/0!
Sat | 2021-01-02 | [152 empty] | #DIV/0! | #DIV/0!
Sun | 2021-01-03 | [152 empty] | #DIV/0! | #DIV/0!
Mon | 2021-01-04 | [152 empty] | #DIV/0! | #DIV/0!
Tue | 2021-01-05 | [152 empty] | #DIV/0! | #DIV/0!
Wed | 2021-01-06 | [152 empty] | #DIV/0! | #DIV/0!
Thu | 2021-01-07 | [152 empty] | #DIV/0! | #DIV/0!
Fri | 2021-01-08 | [152 empty] | #DIV/0! | #DIV/0!
Sat | 2021-01-09 | [152 empty] | #DIV/0! | #DIV/0!
Sun | 2021-01-10 | [152 empty] | #DIV/0! | #DIV/0!
Mon | 2021-01-11 | [152 empty] | #DIV/0! | #DIV/0!
Tue | 2021-01-12 | [152 empty] | #DIV/0! | #DIV/0!
Wed | 2021-01-13 | [152 empty] | #DIV/0! | #DIV/0!
Thu | 2021-01-14 | [152 empty] | #DIV/0! | #DIV/0!
Fri | 2021-01-15 | [152 empty] | #DIV/0! | #DIV/0!
Sat | 2021-01-16 | [152 empty] | #DIV/0! | #DIV/0!
Sun | 2021-01-17 | [152 empty] | #DIV/0! | #DIV/0!
Mon | 2021-01-18 | [152 empty] | #DIV/0! | #DIV/0!
Tue | 2021-01-19 | [152 empty] | #DIV/0! | #DIV/0!
Wed | 2021-01-20 | [152 empty] | #DIV/0! | #DIV/0!
Thu | 2021-01-21 | [152 empty] | #DIV/0! | #DIV/0!
Fri | 2021-01-22 | [152 empty] | #DIV/0! | #DIV/0!
Sat | 2021-01-23 | [152 empty] | #DIV/0! | #DIV/0!
Sun | 2021-01-24 | [152 empty] | #DIV/0! | #DIV/0!
Mon | 2021-01-25 | [152 empty] | #DIV/0! | #DIV/0!
Tue | 2021-01-26 | [152 empty] | #DIV/0! | #DIV/0!
Wed | 2021-01-27 | [152 empty] | #DIV/0! | #DIV/0!
Thu | 2021-01-28 | [152 empty] | #DIV/0! | #DIV/0!
Fri | 2021-01-29 | [152 empty] | #DIV/0! | #DIV/0!
Sat | 2021-01-30 | [152 empty] | #DIV/0! | #DIV/0!
Sun | 2021-01-31 | [152 empty] | #DIV/0! | #DIV/0!
Total | [37 empty] | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Total
Minimum | [75 empty] | Minimum | [38 empty] | Min Row | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maximum | [75 empty] | Maximum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Max Row | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Average | [75 empty] | Average | [38 empty] | Average
Median | [75 empty] | Median | [38 empty] | Median
Geometric Mean | [75 empty] | Geomean | [38 empty] | Geomean
Permit Limits
|  | Monthly Percent Removal Efficiency | [7 empty] | Weekly Averages (Sun - Sat) - Calendar Week | [10 empty] | Maximum 7 day Rolling Average |  |  | ETL, Million BTU/day
|  | Influent CBOD5 Conc. | Effluent CBOD5 Conc. | Monthly Percent Removal |  | Influent TSS Conc. | Effluent TSS Conc. | Monthly Percent Removal |  | Week Number | First Day of the Week | Days Left in Month | CBOD5 Conc. Weekly Ave | TSS Conc. Weekly Ave | CBOD5 Loading Weekly Ave | TSS Loading Weekly Ave | Maximum Phosphorus Loading | Maximum Temperature, deg C | Maximum Excess Thermal Load, mKcal/d (temperature must be in deg C) |  | Maximum Temperature, deg C | Maximum Excess Thermal Load, mKcal/d (temperature must be in deg C) |  | Calendar Week Maximum | Rolling 7 day average maximum
Parameter Code |  | 00400 | 80082 |  |  | 00530 | 00530 | 81011
[10 empty] | 1 | 2020-12-27 | 36 | [11 empty] | 0 | #VALUE!
[10 empty] | 2 | 2021-01-03 | 29
[10 empty] | 3 | 2021-01-10 | 22 | [11 empty] | ETL (million BTU/day) = 3.96 x ETL (million Kcal/day)
[10 empty] | 4 | 2021-01-17 | 15
[10 empty] | 5 | 2021-01-24 | 8 | [8 empty] | ETL (million Kcal per day) = 1.547 x Flow (MGD) x (Temp (C°) - 17.8 C°) x 2.45
[12 empty] | MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | NOTES ON DATA QUALIFIERS: "e" - If QA failure, the result is an estimate. Report result preceeded by "e" with no spaces. (e.g. e450). Enter information about the failure in the comments. (e.g. "QAQC outside of acceptable limits"). If result is between the detection level and the quantitation limit, it is also an estimate. (e.g. "e0.33") "<" - If sample result < DL, enter "<DL". (e.g. <1) ">" - If value is greater than test method limit(e.g. bacteria and BOD), enter ">METHODLIMIT", (e.g. >240) | [9 empty] | SAMPLE TYPE CODES 24 - 24 hour composite CN - Continuous CP - Compositeother GR - Grab MS - Measured (e.g. pH) MT - Metered (e.g. flow) SG - Stream Gage
NOTES ON CALCULATIONS: All "e" qualified values are used in calculations. Loading - Ignores all qualifers except "N" and "<". N qualified value replaced with blank. "<" qualified data replaced with zero. Min and Max - finds cell with min or max value. Max Weekly Ave - Weekly average values are calcuated on rows 65 to 70. Treats qualifed values the same as averages. Average and Geometric mean - Calculates by converting "<" and ">" to value. Need to manually add qualifer in NetDMR.
IF(Cover!s11=0,"",Cover!s11)
Note on X6: Phosphorus load calculation from flow (column H) and concentration ( column T).

## Bacteria Resample Report
H1 DMR Data Workbook - Bacteria Special Report (to be used to report bacteria resampling results)
E | H2 Submit completed workbook as an attachment to your monthly NetDMR submittal | [12 empty] | D
Facility: |  |  |  |  | Permit #: |  | File #: | EPA #: | Month: | January | Year: | 2021 | Date: | 4455100%
Instructions (this section may be deleted for submittal):
If it is allowed under the permit, re-sampling may be implemented if a singe bacteria sample exceeds the 406 organisms per 100 mL. If this exceedance and resampling occur, follow the instructions below to record the necessary information on this sheet. o Include information relating to the original sample and the required Oregon Emergency Response System (OERS) report in the first section below. o Fill in the data related to the original sample and the resamples in the next two tables (the shaded "Geo Mean" cell will calculate automatically).
The result of the effluent E. coli sample taken at TIME on DATE was XXX organisms per 100 mL. The underlined text indicate what information is required. Reported potential violation to OERS at TIME on DATE (report #XXXXXXX). Five resamples were taken at four hour intervals within 28 hours of the original sample at the dates and times below. The log mean of the results of the five resamples is less than 126 organisms per 100 mL. Accordingly, no violation of the bateria limit is triggered. (See permit) Reported to OERS that no violation occured at TIME on DATE.
|  |  | Date | Time | Result | Resample
Original Sample --> | [5 empty] | Geometric mean
Resamples ----->
#NUM!
Daily |  | 1 | 4419700%
Values |  | 2 | 4419800%
From |  | 3 | 4419900%
DMR |  | 4 | 4420000%
(include |  | 5 | 4420100%
High |  | 6 | 4420200%
Value) |  | 7 | 4420300%
|  | 8 | 4420400%
|  | 9 | 4420500%
|  | 10 | 4420600%
|  | 11 | 4420700%
|  | 12 | 4420800%
|  | 13 | 4420900%
|  | 14 | 4421000%
|  | 15 | 4421100%
|  | 16 | 4421200%
|  | 17 | 4421300%
|  | 18 | 4421400%
|  | 19 | 4421500%
|  | 20 | 4421600%
|  | 21 | 4421700%
|  | 22 | 4421800%
|  | 23 | 4421900%
|  | 24 | 4422000%
|  | 25 | 4422100%
|  | 26 | 4422200%
|  | 27 | 4422300%
|  | 28 | 4422400%
|  | 29 | 4422500%
|  | 30 | 4422600%
|  | 31 | 4422700%
|  | Monthly Geometic Mean --> |  |  | #NUM!

## Summary Data Sorting (hidden)
[16 empty] | This worksheet assigns rank to the rows based on: |  |  | 1) Parameter Code
2) Monitoring Location - Numbers first, then letters (A=10, B=11, etc)
3) Load vs Concentration (Load = 0, Concentration = 0.001)
Rank | Parameter |  |  |  |  | Quantity or Loading |  |  | Quality or Concentration | [9 empty] | 4) Blank Parameter Factor - If no parameter selected, adds 0.001*value AF to increase rank & sort to bottom
| Code | Name | Monitoring Location | L/C | Units | Maximum Load | Average Load | Median Load | Minimum Conc. | Maximum Conc. | Average Conc. | Geomean (Log Mean) | Median Conc. | Percent | # of Ex. | Freq. of Analysis | Smpl. Type | Data Sheet Column | Code Value | Code Rank | Monitor Loc Factor | L/C | Blank Factor | Factor Sum | Final Rank | Alph-Num Factors |  | Blank Factors
| 00400 | CBOD5 Conc. | #REF! | #REF! | S.U. | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | #REF! |  |  | 2/wk |  | C | 400 | 2 | #REF! | #REF! | 0 | #REF! |  | A | 10 | 1
| 00530 | TSS Conc. | #REF! | #REF! | MGD | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | 2/wk |  | D | 530 | 3 | #REF! | #REF! | 0 | #REF! |  | B | 11 | 2
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | E | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | C | 12 | 3
| #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | #REF! | #REF! | [5 empty] | #REF! | #REF! | F | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | D | 13 | 4
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | G | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | E | 14 | 5
| 00010 | Temperature, deg C | #REF! | #REF! | deg C° | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | 2/wk |  | H | 10 | 1 | #REF! | #REF! | 0 | #REF! |  | F | 15 | 6
| 50050 | Flow, MGD | #REF! | #REF! | MGD | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | Daily |  | I | 50050 | 11 | #REF! | #REF! | 0 | #REF! |  | G | 16 | 7
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | J | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | H | 17 | 8
| 80082 | CBOD5 Conc. | #REF! | #REF! | mg/L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 1/mo |  | K | 80082 | 16 | #REF! | #REF! | 0 | #REF! |  | I | 18 | 9
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | L | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | J | 19 | 10
| 00530 | TSS Conc. | #REF! | #REF! | mg/L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | 1/mo |  | M | 530 | 3 | #REF! | #REF! | 0 | #REF! |  | K | 20 | 11
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | N | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | L | 21 | 12
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | O | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | M | 22 | 13
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | P | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | N | 23 | 14
| 50060 | Chlorine Used, lbs/d | #REF! | #REF! | lbs/d | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | Daily |  | Q | 50060 | 12 | #REF! | #REF! | 0 | #REF! |  | O | 24 | 15
| 50061 | Chlorine, Total Residual | #REF! | #REF! | mg/L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | Daily |  | R | 50061 | 13 | #REF! | #REF! | 0 | #REF! |  | P | 25 | 16
| 51040 | E. coli | #REF! | #REF! | #/100 ml | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | 1/mo |  | S | 51040 | 14 | #REF! | #REF! | 0 | #REF! |  | Q | 26 | 17
| 00610 | Ammonia (NH3 as N) | #REF! | #REF! | mg/L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | Daily |  | T | 610 | 6 | #REF! | #REF! | 0 | #REF! |  | R | 27 | 18
| 00630 | Nitrate + Nitrite total | #REF! | #REF! | mg/L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | Daily |  | U | 630 | 8 | #REF! | #REF! | 0 | #REF! |  | S | 28 | 19
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | V | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | T | 29 | 20
| 00625 | Nitrogen, Total Kjeldahl | #REF! | #REF! | mg/L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | Daily |  | W | 625 | 7 | #REF! | #REF! | 0 | #REF! |  | U | 30 | 21
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | X | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | V | 31 | 22
| 00666 | Phosphorus, dissolved | #REF! | #REF! | mg/L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | Daily |  | Y | 666 | 9 | #REF! | #REF! | 0 | #REF! |  | W | 32 | 23
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | Z | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | X | 33 | 24
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | AA | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  | Y | 34 | 25
| 46529 | Rainfall | #REF! | #REF! | in./day | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  |  |  | AB | 46529 | 10 | #REF! | #REF! | 0 | #REF! |  | Z | 35 | 26
|  |  | 0 | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  |  |  | AC | 99999 | 18 | 0 | #REF! | 0.0027 | #REF! |  |  |  | 27
|  |  | 0 | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  |  |  | AD | 99999 | 18 | 0 | #REF! | 0.0028 | #REF! |  |  |  | 28
|  |  | 0 | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  |  |  | AE | 99999 | 18 | 0 | #REF! | 0.0029 | #REF! |  |  |  | 29
| 78480 | Dilution Ratio | #REF! | #REF! | % | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  |  |  | AF | 78480 | 15 | #REF! | #REF! | 0 | #REF! |  |  |  | 30
|  |  | 0 | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  |  |  | AG | 99999 | 18 | 0 | #REF! | 0.0031 | #REF! |  |  |  | 31
|  |  | 0 | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  |  |  | AH | 99999 | 18 | 0 | #REF! | 0.0032 | #REF! |  |  |  | 32
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | AI | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  |  |  | 33
| #REF! | #REF! | #REF! | #REF! | #REF! | [8 empty] | #REF! |  | #REF! | #REF! | Fecal % over 43 | 99999 | 18 | #REF! | #REF! | #REF! | #REF! |  |  |  | 34
| #REF! | #REF! | K - Percent Removal | C | % | [8 empty] | #REF! |  | 1/mo |  | % removal | 99999 | 18 | 0.2 | 0.001 | #REF! | #REF! |  |  |  | 35
| #REF! | #REF! | K - Percent Removal | C | % | [8 empty] | #REF! |  | 1/mo |  | % removal | 99999 | 18 | 0.2 | 0.001 | #REF! | #REF! |  |  |  | 36
| 80082 | #REF! | W - Weekly | C | mg/L |  |  |  |  | #REF! | [5 empty] | 1/wk |  |  | 80082 | 16 | 0.32 | 0.001 | 0 | 16.321 |  |  |  | 37
| #REF! | #REF! | W - Weekly | L | lbs/d | #REF! | [9 empty] | 1/wk |  |  | 99999 | 18 | 0.32 | 0 | #REF! | #REF! |  |  |  | 38
| 00530 | #REF! | W - Weekly | C | mg/L |  |  |  |  | #REF! | [5 empty] | 1/wk |  |  | 530 | 3 | 0.32 | 0.001 | 0 | 3.321 |  |  |  | 39
| #REF! | #REF! | W - Weekly | L | lbs/d | #REF! | [9 empty] | 1/wk |  |  | 99999 | 18 | 0.32 | 0 | #REF! | #REF! |  |  |  | 40

## Workbook Notes (hidden)
Data Sheet Dates and Days: The data sheet dates are self-populated based upon the user-entered first day of the month (in xx/xx/xx format). Once this date is entered into the appropriate cell (B20 in the initial workbook), the dates and days of the week self-populate for the other cells in columns A and B. Rows: The number of rows extends beyond the current month due to rolling 7-day averages and weekly averages. The rolling 7-day averages (temperature and thermal loads) require that the final 6 days of the preceding month are included. The weekly averages are more complicated: Based on DEQ policy, the weekly averages are Sun-Sat, with the data for weeks splitting months reported in the month with the majority of the week days (>=4). Shaded Cells: Shaded cells are included in the workbook to indicate cells where data should not be entered. The most straight-forward of these are the cells including either formulas or references to other cells. For columns of data not associated with weekly values, the shading is included for all days of the preceding month and conditional formatting is used to shade days of the following month. For columns associated with weekly values (effluent flow, BOD conc, TSS conc), conditional formatting is also used, but is much more complicated (in order to address the policy noted above). An example of this conditional formatting is: =AND(DAY($B49)<=6,NOT(AND(DAY($B49)=3,$A49="Sat")), NOT(AND(DAY($B49)=2,$A49="Fri")), NOT(AND(DAY($B49)=2,$A49="Sat")),NOT(AND(DAY($B49)=1,$A49="Thu")), NOT(AND(DAY($B$52)=1,$A49="Fri")), NOT(AND(DAY($B49)=1,$A49="Sat"))) This will shade the cell if the date is the 6th of the month or less, but not the 3rd day that's a Saturday, the 2nd day that's a Friday or Saturday, etc. The intent is to have unshaded cells (where data entry is required) for days of the next month that should be included in the weekly TSS and BOD calculations for this month. Thermal Loads Report The thermal loads report is set up for the complicated scenario associated with the Rogue Basin. Other thermal loads reports may be less complicated. When setting up any report, the permit-specified ETL calculations need to be considered (including the averaging periods of specific parameters). Formulas and conditional formatting for the rows at the bottom of the sheet are designed to take into account potential for these rows to extend into the following month (this will occur in any month with less than 31 days).

## ETL Method 1
H1 DMR Data Workbook - Excess Thermal Load (ETL) Special Report (Option B Rogue Example)
This tab calculates the ETL based on the seven day average of the temperatures and flows. Make sure to use the tab that corresponds with your permit
H2 Instructions (this section may be deleted for submittal):
Note: The methodology for calculating thermal loads may vary between permits. The Thermal Loads Report template included in this workbook is for one specific situation. The permittee will need to ensure that the thermal loads and limits from the permit are appropriately addressed in the Thermal Loads Report. Contact your permit compliance person at DEQ if you have any questions. Initial Setup o Check your permit (Schedules A and B) to ensure that the requirements on calculating the Excess Thermal Loads and Excess Thermal Loads Limits are the same as presented below In the ETL and ETL Limits section (in yellow). If the criteria or ETL Limit are different than presented, these should be changed to correspond to the values in the permit. If the "ΔT" value in the"ETL Limit -Option B" section below (in yellow) is different in your permit, change it to correspond to the value in the permit. o In the main table below, make any necessary changes to the monitoring location and required sampling frequency column headings to ensure they correspond with the permit. (Note: The parameter and units should not be changed since this would affect the calculations.) Monthly Data Entry o The shaded columns are either calculations, or references to the primary data sheet and do not need to be filled in. o If Thermal Credits are allowed under your permit and credits were generated, enter the values in the "Thermal Credits" column. Otherwise, leave blank. o Enter the applicable temperature criterion for each day in that column. o If you elect to use "Option A" to determine your ETL limit, enter the applicable values from the permit in the "Excess Thermal Load Limit - Option A" column.. o If you elect to use "Option B" to determine your ETL limit, leave the "Excess Thermal Load Limit - Option A" column blank and enter the "ΔT" value from your permit in the unshaded cell near the top of the "Excess Thermal Load Limit - Option B" column. o The last column ("Exceedance?") will self-populate. A "Yes" value in this column indicates an exceedance of the permit limit.
H3 From Applicable Permit (the following is an example from a permit in the Rogue River Basin)
ETL = Qe (Te - Tr)Cf - Thermal Credits | [9 empty] | Time Period |  |  | Criteria °C | ETL Limit - Option A (million Kcals/d) |  |  | ETL Limit - Option B
Qe = rolling 7-day average effluent flow, cfs | [9 empty] | April 1 - May 15 |  |  | 13 | 223 |  |  | ETL Limit = (∆T)(Qe + Qr) Cf
Te = rolling 7-day average of the daily maximum effluent temperature, deg. C | [9 empty] | May 16 - May 31 |  |  | 18 | 270 |  |  | ∆T is the allowable temperature increase
Tr = applicable criterion, deg. C | [9 empty] | June 1 - June 15 |  |  | 18 | 274 |  |  | ∆T = | 0.0709 | °C
Cf = converstion factor, 2.446 million kcals/day | [9 empty] | June 16 - June 30 |  |  | 18 | 229
[10 empty] | July 1 - August 31 |  |  | 19.8 | 208
[10 empty] | Sept 1 Sept 15 |  |  | 18.6 | 229
[10 empty] | Sept 16 - Sept 31 |  |  | 18 | 178
[10 empty] | Oct 1 - Oct 15 |  |  | 18 | 180
[10 empty] | Oct 16 - Oct 31 |  |  | 13 | 194
|  | EFFLUENT - Outfall 001 | [7 empty] | River |  | Criteria/Limits/Compliance |  |  |  | ◄Monitoring Location/Other
|  | 1 | [7 empty] | RW | [5 empty] | ◄Additional Descriptor
|  | Flow | Temperature | Flow, 7-day Avg | Flow, 7-day Avg | Temperature, 7-day Avg | Excess Thermal Load (w/o credits) | Thermal Credits | Excess Thermal Load | Flow | Flow, 7-day Avg | Applicable Temperature Criterion | Excess Thermal Load Limit - Option A | Excess Thermal Load Limit - Option B | Exceedance? | ◄Parameter
|  | 50050 | 00010 | 50050 | 50050 | 00010 | 51540 |  | 51540 | 50050 | 50050 |  |  |  |  | ◄Parameter Code
| Date | MGD | deg. C. | MGD | cfs | deg. C. | million Kcal/day | million Kcal/day | million Kcal/day | cfs | cfs | deg. C. | million Kcal/day | million Kcal/day |  | ◄Units
|  | Daily | Daily | Daily | Daily | Daily | Daily | Daily | Daily | Daily | Daily | Daily | Daily | Daily | Daily | ◄Required Sampling Frequency
|  | Copied From Data Sheet | Copied From Data Sheet | Calculated | Calculated | Calculated | Calculated | Enter Values | Calculated | Enter Values | Calculated | Enter Values | Enter values from permit if using Option A | Calculated from ∆T in cell S12 | Calculated | ◄Notes
Sat | 2020-12-26 | [8 empty] | 900
Sun | 2020-12-27 | [8 empty] | 900
Mon | 2020-12-28 | [8 empty] | 900
Tue | 2020-12-29 | [8 empty] | 900
Wed | 2020-12-30 | [8 empty] | 900
Thu | 2020-12-31 | [8 empty] | 900
Fri | 2021-01-01 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Sat | 2021-01-02 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Sun | 2021-01-03 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Mon | 2021-01-04 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Tue | 2021-01-05 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Wed | 2021-01-06 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Thu | 2021-01-07 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Fri | 2021-01-08 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Sat | 2021-01-09 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Sun | 2021-01-10 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Mon | 2021-01-11 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Tue | 2021-01-12 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Wed | 2021-01-13 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Thu | 2021-01-14 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Fri | 2021-01-15 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 13 | 19 | #DIV/0! | #DIV/0!
Sat | 2021-01-16 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Sun | 2021-01-17 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Mon | 2021-01-18 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Tue | 2021-01-19 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Wed | 2021-01-20 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Thu | 2021-01-21 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Fri | 2021-01-22 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Sat | 2021-01-23 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Sun | 2021-01-24 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Mon | 2021-01-25 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Tue | 2021-01-26 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Wed | 2021-01-27 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Thu | 2021-01-28 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 | 54.5 | #DIV/0! | #DIV/0!
Fri | 2021-01-29 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 |  | #DIV/0! | #DIV/0!
Sat | 2021-01-30 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 |  | #DIV/0! | #DIV/0!
Sun | 2021-01-31 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 900 | 900 | 18 |  | #DIV/0! | #DIV/0!
Total | [7 empty] | 0 | #DIV/0! |  |  |  |  | Number of days exceeding limit during the month
Minimum | [7 empty] | 0 | #DIV/0!
Maximum | [7 empty] | 0 | #DIV/0!
Monthly Average | [7 empty] | #DIV/0! | #DIV/0! | [5 empty] | 0

## ETL Method 2
DMR Data Workbook - Excess Thermal Load (ETL) Special Report
This tab calculates the ETL by averaging the daily ETLs. Make sure to use the tab that corresponds with your permit
[6 empty] | ETL Limit - Option A (million Kcals/d) |  |  |  |  | ETL Limit - Option B:
ETL = Qe (Te - Tr)Cf - Thermal Credits | [5 empty] | Time Period |  | Criteria °C | Limit °C |  | ETL Limit = 1.14*Qe+0.26*Qsy+2.3
Qe = rolling 7-day average effluent flow, cfs
Te = rolling 7-day average of daily max effluent temps, deg. C | [10 empty] | NetDMR Instructions:
Tr = applicable criterion, deg. C | [10 empty] | If ETL meets Option A, enter max 7 day average
Cf = converstion factor, 2.446 million kcals/day | [10 empty] | If ETL exceeds both Option A and Option B, enter max 7 day average
If ETL exceeds Option A and meets Option B, report NODI code 3
|  | EFFLUENT - Outfall 001 | [8 empty] | Option B - River Flow Based Limits |  |  |  | ◄Monitoring Location/Other
|  | Flow | Temperature | Criterion °C | Excess Thermal Load, daily | ETL, 7-day Avg | Thermal Credits | Excess Thermal Load | Excess Thermal Load Limit - Option A | Exceeds Option A? | Stream Flow | Excess Thermal Load, daily | ETL, 7-day Avg (Option B) | Exceedance? | ◄Parameter
| Date | MGD | deg. C. | deg. C. | million Kcal/day | million Kcal/day | million Kcal/day | million Kcal/day | million Kcal/day | million Kcal/day | cfs | million Kcal/day | million Kcal/day |  | ◄Units
|  | Copied From Data Sheet | Copied From Data Sheet | See table above | Calculated | Calculated | Enter Values | Calculated | From Permit | Calculated | Copied From Data Sheet | Calculated | Calculated | Calculated | ◄Notes
Fri | 2020-12-26 | 0 | 0 |  | 0 | [5 empty] | 0 | 2.3
Sat | 2020-12-27 | 0 | 0 |  | 0 | [5 empty] | 0 | 2.3
Sun | 2020-12-28 | 0 | 0 |  | 0 | [5 empty] | 0 | 2.3
Mon | 2020-12-29 | 0 | 0 |  | 0 | [5 empty] | 0 | 2.3
Tue | 2020-12-30 | 0 | 0 |  | 0 | [5 empty] | 0 | 2.3
Wed | 2020-12-31 | 0 | 0 |  | 0 | [5 empty] | 0 | 2.3
Thu | 2021-01-01 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Fri | 2021-01-02 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sat | 2021-01-03 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sun | 2021-01-04 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Mon | 2021-01-05 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Tue | 2021-01-06 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Wed | 2021-01-07 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Thu | 2021-01-08 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Fri | 2021-01-09 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sat | 2021-01-10 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sun | 2021-01-11 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Mon | 2021-01-12 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Tue | 2021-01-13 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Wed | 2021-01-14 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Thu | 2021-01-15 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Fri | 2021-01-16 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sat | 2021-01-17 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sun | 2021-01-18 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Mon | 2021-01-19 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Tue | 2021-01-20 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Wed | 2021-01-21 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Thu | 2021-01-22 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Fri | 2021-01-23 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sat | 2021-01-24 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sun | 2021-01-25 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Mon | 2021-01-26 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Tue | 2021-01-27 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Wed | 2021-01-28 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Thu | 2021-01-29 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Fri | 2021-01-30 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Sat | 2021-01-31 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 0 | 2.3 | 2.3
Maximum | [7 empty] | 0 | [5 empty] | 0

## Operational Data
H1 Operational Data
| AERATION | [5 empty] | LAGOON OR | [5 empty] | SOLIDS | [5 empty] | AEROBIC |  |  | ANAEROBIC
| BASIN | [5 empty] | POLISHING POND | [11 empty] | DIGESTER |  |  | DIGESTER
[7 empty] | PRIMARY CELL |  |  | SECONDARY CELL
Date | MCRT | SVI | MLSS | pH | DO | Blanket Depth | DO | pH | Depth | DO | pH | Depth | TS to Digester | Transported to other WWTF | Qunaityt Land Applied | Volatile Solids Reduced | Alkaline Product (Type ______) | Septage Received | Total Solids | Temperature | pH | VA/Alkalinity | Temperature | pH | Rainfall |  | Operators(s) Time on Site
| Days |  |  | SU | mg/L | Ft. | mg/L | SU | Ft. | mg/L | SU | Ft. | [6 empty] | % | deg C | SU | Ratio |  |  | In. |  | Hrs./day
1 | [27 empty] | 1 | Energy Tracking (optional)
2 | [27 empty] | 2 | ENERGY | USED | COST | COMMENTS
3 | [27 empty] | 3 | POWER KWH
4 | [27 empty] | 4 | FUEL GAS
5 | [27 empty] | 5 | OIL
6 | [27 empty] | 6
7 | [27 empty] | 7
8 | [27 empty] | 8
9 | [27 empty] | 9
10 | [27 empty] | 10
11 | [27 empty] | 11 | Additional Notes (reference attachments here):
12 | [27 empty] | 12
13 | [27 empty] | 13
14 | [27 empty] | 14
15 | [27 empty] | 15
16 | [27 empty] | 16
17 | [27 empty] | 17
18 | [27 empty] | 18
19 | [27 empty] | 19
20 | [27 empty] | 20
21 | [27 empty] | 21
22 | [27 empty] | 22
23 | [27 empty] | 23
24 | [27 empty] | 24
25 | [27 empty] | 25
26 | [27 empty] | 26
27 | [27 empty] | 27
28 | [27 empty] | 28
29 | [27 empty] | 29
30 | [27 empty] | 30
31 | [27 empty] | 31
TOTAL | [25 empty] | TOTAL
DAILY MINIMUM | [25 empty] | DAILY MINIMUM
DAILY MAXIMUM | [25 empty] | DAILY MAXIMUM
MONTHLY AVG. | [25 empty] | MONTHLY AVG.

## Version log (hidden)
Date | Comments | Done By
4376200% | Fixed items included: | AU
· Some of the drop-down lists for parameters weren’t working.
· Shading of “next month” cells for short months had some issues.
· Fixed a few items that gave Excel-compatible programmes like LibreOffice problems (these were things that Excel let the user bend the rules, while LibreOffice did not).
4380300% | Fixed "end of month is Saturday" bug (Updated 12/4/2019 by JG with edits by EB 1/3/2020) | AU
4407700% | Fixed parameter headings so that drop-downs work
4416600% | Added hardness to "effluent other" choices
4420000% | Changed protection so that users can format cells, rows and columns
4435700% | Made significant figures correspond to significant figure IMD

## 7. Inputs (hidden)
Parameter Name - Disinfection | Code | Load or Conc | Units | Sample Type | Required Frequency | Y/N | Months | BOD/CBOD Toggle |  |  |  |  | DAY OFFSETS
Chlorine Used, lbs/d | 50060 | L | lbs/d |  |  |  |  | BOD5 Conc. | BOD5 Loading | BOD5 Conc. (Weekly Avg.) | BOD5 Loading (Weekly Avg.) | BOD5 % Removal | Sun | 0
Chlorine Used, gal/d | 50060 | L | gal/d | 24 | 1/year | Yes | January | CBOD5 Conc. | CBOD5 Loading | CBOD5 Conc. (Weekly Avg.) | CBOD5 Loading (Weekly Avg.) | CBOD5 % Removal | Mon | -1
Chlorine, Total Residual | 50061 | C | mg/L | CN | 2/year | No | February | [5 empty] | Tue | -2
UV Dose | 61938 | C | mJ/cm2 | CP | 3/year |  | March | BOD5 % Removal | 81010 | C | % |  | Wed | -3
UV Intensity | 49607 | C | uW/cm2 | GR | 1/qtr |  | April | BOD5 Conc. | 00310 | C | mg/L |  | Thu | -4
UV Transmittance | 51043 | C | % | MS | 1/mo |  | May | BOD5 Conc. (Weekly Avg.) | 00310 | C | mg/L |  | Fri | -5
|  |  |  | MT | 2/mo |  | June | BOD5 Loading | 00310 | L | lbs/d |  | Sat | -6
Parameter Name - Nutrients | Code | Load or Conc | Units | SG | 3/mo |  | July | BOD5 Loading (Weekly Avg.) | 00310 | L | lbs/d
[5 empty] | 4/mo |  | August | CBOD5 % Removal | 80091 | C | %
Ammonia (NH3 as N) | 00610 | C | mg/L |  | 1/ 2-wks |  | September | CBOD5 Conc. | 80082 | C | mg/L
Nitrate + Nitrite total | 00630 | C | mg/L |  | 1/wk |  | October | CBOD5 Conc. (Weekly Avg.) | 80082 | C | mg/L
Nitrogen, Total Kjeldahl | 00625 | C | mg/L |  | 2/wk |  | November | CBOD5 Loading | 80082 | L | lbs/d
Phosphorus, dissolved | 00666 | C | mg/L |  | 3/wk |  | December | CBOD5 Loading (Weekly Avg.) | 80082 | L | lbs/d
Phosphorus, ortho | 70507 | C | mg/L |  | 4/wk
Phosphorus, total (as P) | 00665 | C | mg/L |  | 5/wk |  |  | TSS
[5 empty] | Daily |  |  | TSS % Removal | 81011 | C | %
Flow, 7-day Avg | 50050 | L | MGD |  |  |  |  | TSS Conc. | 00530 | C | mg/L
Flow, CFS | 50050 | L | CFS |  |  |  |  | TSS Conc. (Weekly Avg.) | 00530 | C | mg/L
Flow, MGD | 50050 | L | MGD | Bacteria Toggles |  |  |  | TSS Loading | 00530 | L | lbs/d
Mercury, total recoverable | 71901 | C | mg/L |  |  |  |  | TSS Loading (Weekly Avg.) | 00530 | L | lbs/d
|  |  |  | E. coli | 51040 | C | #/100 ml
Parameter Name - Other | Code | Load or Conc | Units | Fecal Coliform | 74055 | C | #/100 ml
|  |  |  | Enterococcus | 61211 | C | #/100 ml
Aluminum, total | 01104 | C | mg/L | Total Coliform | 74056 | C | #/100 ml
Alkalinity, total | 00410 | C | mg/L
Bis(2-ethylhexyl) phthalate | 39100 | C | mg/L
Copper, dissolved (as Cu) | 01040 | C | mg/L
Copper, total recoverable | 01119 | C | mg/L
Dilution Ratio | 78480 |  | %
Dissolved Oxygen | 00300 | C | mg/L
Flow, 7-day Avg | 50050 | L | MGD
Flow, CFS | 50050 | L | CFS
Flow, total gallons | 51500 | L | gallons
Flow, MGD | 50050 | L | MGD
Hardness (Total as CaCO3) | 0900 | C | mg/L
Lagoon Depth |  |  | feet
Lagoon observation visual | 82289 |  | pass/fail
Lagoon freeboard | 82564 |  | feet
Mercury, total recoverable | 71901 | C | mg/L
Oil & Grease, total recoverable | 70030 | C | mg/L
Rainfall | 46529 |  | in./day
Stream Gage Height | 00065 | L | feet
Total Dissolved Solids | 70295 | C | mg/L
Temperature, deg C | 00010 | C | deg C°
Temperature, deg F | 00011 |  | deg F°
Thermal Credits |  | L | mKcal/day
Total Coliform | 74056 | C | #/100 ml
Turbidity | 82079 | C | NTU
Volume Irrigated | 52320 | L | in./day