## Cover Page
State of Oregon Department of Environmental Quality
Reasonable Potential Analysis
Copper BLM Workbook
Revision 2.2 (7/23/2024)
Technical analysis spreadsheet to determine the reasonable potential of discharged copper to exceed water quality criteria calculated using the EPA Copper BLM tool. Contact Aliana Britson (aliana.britson@deq.oregon.gov, (503) 229-6044) with questions and comments

## Ambient Data
Ambient Paired Data
Cut and paste ambient paired data into the blank spaces. Data can be accessed using AWQMS. Defaults for HA and S have already been entered
Default statistics are listed in the "Notes" section if needed. If conductivity data is available, metals can be calcualted used the "Cond. Conversion" sheet
Refer to the Procedure for Determining Reasonable Potential for Copper Using the Biotic Ligand Model if paired data is unavailable or parameters are missing (https://www.oregon.gov/deq/wq/Documents/wqpDetRPAcopper.pdf)
sitelabel | date | temperature | pH | DOC | HA | Ca | Mg | Na | K | SO4 | Cl | alkalinity | S
|  | C |  | mg C/L | % | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/l CaCO3 | mg/L
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Summary Statistics
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | Temp | pH | DOC | HA | Ca | Mg
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Min | * | * | * | 10 | * | *
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Max | * | * | * | 10 | * | *
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | 10% | * | * | * | 10 | * | *
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | 90% | * | * | * | 10 | * | *
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | Na | K | SO4 | Cl | alkalinity | S
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Min | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Max | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | 10% | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | 90% | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Notes
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | Enter notes on data sources, statistical evaluation, issues, etc.
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | If no paired ambient temperature or pH: Temperature = monthly mean temperature, pH = 10th percentile pH. If any data is non-detect, enter the detection level. The BLM model does not accept 0s.
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Regional Default Input Values | [6 empty] | Rev Date: 2017
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | DOC | Ca | Mg | Na | K | SO4 | Cl | alkalinity
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Cascades | 0.51 | 2.6 | 0.88 | 1.9 | 0.39 | 0.25 | 0.59 | 13
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Coastal | 0.83 | 4.2 | 1.48 | 4.3 | 0.46 | 1.9 | 3.14 | 29
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Columbia R. | 1.41 | 15.9 | 4.06 | 3.7 | 0.93 | 9.88 | 1.64 | 55
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Eastern | 1.35 | 5.5 | 2.36 | 4.4 | 1.43 | 1.31 | 0.82 | 48
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Willamette Valley | 1.25 | 6.3 | 2.2 | 4.2 | 0.7 | 2.02 | 3.6 | 30
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Humic Acid (HA) | 10
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Sulfide (S) | 1e-06 | mg/l
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06

## Effluent Data
Effluent Paired Data
Cut and paste effluent paired data into the white boxes below. Defaults for HA and S have already been entered
Default statistics are listed in the "Notes" section if needed. If conductivity data is available, metals can be calcualted used the "Cond. Conversion" sheet
Refer to the Procedure for Determining Reasonable Potential for Copper Using the Biotic Ligand Model if paired data is unavailable or parameters are missing (https://www.oregon.gov/deq/wq/Documents/wqpDetRPAcopper.pdf)
Outfall | date | Temp | pH | DOC | HA | Ca | Mg | sodium | K | SO4 | Cl | alkalinity | S
|  | C |  | mg C/L | % | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/l CaCO3
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Summary Statistics
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | Temp | pH | DOC | HA | Ca | Mg
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Min | * | * | * | 10 | * | *
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Max | * | * | * | 10 | * | *
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | 10% | * | * | * | 10 | * | *
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | 90% | * | * | * | 10 | * | *
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | Na | K | SO4 | Cl | alkalinity | S
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Min | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Max | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | 10% | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | 90% | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 | Notes
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | Enter notes on data sources, statistical evaluation, issues, etc.
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06 |  | Standard data percentiles if missing Temp, pH, DOC, or Alkalinity: Temp=monthly mean of DMR data, pH=10% of DMR data, DOC=default of 6.46 mg/L, All other ions = Regional Default. If any data is non-detect, enter the detection level. The BLM model does not accept 0s.
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06
* | * | * | * | * | 10 | * | * | * | * | * | * | * | 1e-06

## Mixed Values
Calculation of Mixed Values | [10 empty] | Run Notes
White boxes require data inputs. Yellow boxes are calculated for you
Enter dilution and flow values from Mixing Zone Memo into the white boxes below
If seasonal dilutions are provided in MZ Memo, ensure the correct dilution corresponds to the correct sampling month
If no MZ Memo, use a default of 1 for ZID, RMZ, and 100% Mix Dilution
For Faciltiy Design Flow, Use Average Dry Weather Design Flow for dry season and Average Wet Weather Design Flow for wet season (If no AWWDF available, use ADWDF)
| Dilution Values |  |  |  |  | Ambient Values | [9 empty] | Effluent Values | [9 empty] | Edge of ZID Values | [9 empty] | Edge of RMZ Values | [9 empty] | Complete Mix Values | [9 empty] | Ambient |  |  | Effluent |  |  | ZID |  |  | MZ |  |  | Complete Mix
Date | ZID | RMZ | Facility Design Flow (MGD) | 7Q10 Stream Flow (CFS) | Complete (100%) mix @ 7Q10 | Temp | pH | Alkalinity | DOC | Ca | Mg | sodium | K | SO4 | Cl | Temp | pH | Alkalinity | DOC | Ca | Mg | sodium | K | SO4 | Cl | Temp | pH | Alkalinity | DOC | Ca | Mg | sodium | K | SO4 | Cl | Temp | pH | Alkalinity | DOC | Ca | Mg | sodium | K | SO4 | Cl | Temp | pH | Alkalinity | DOC | Ca | Mg | sodium | K | SO4 | Cl | pKa | Ion Frac | TIC | pKa | Ion Frac | TIC | Alkalinity | TIC | pKa | Alkalinity | TIC | pKa | Alkalinity | TIC | pKa
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
* | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *

## ZID Criteria
Input Data for ZID mixing
Step 1: Copy and Paste Data Below into CuBLM model (https://www.epa.gov/sites/production/files/2016-07/copper-draft-blm-2016.zip) | [14 empty] | Step 2: Copy BLM Results into Table Below | [6 empty] | Step 3: The workbook copies over the relevant Criteria into the RPA Sheet
Cells that show up in red are outside of the range of parameter values to which the BLM was developed and calibrated | [14 empty] | Site Label | Sample Label | Final Acute Value | CMC | CCC | Cu | Acute Toxic Units | CMC
sitelabel | date | temperature | pH | Cu | DOC | HA | Ca | Mg | sodium | K | SO4 | Cl | alkalinity | S | [7 empty] | CU ug/l | Run Notes: |  |  | Version of model used: | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Enter notes on model selection, run notes, criteria used, etc.
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Cu values are placeholders
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * | Summary Statistics |  | CMC
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | 10%ile | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Max | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Min | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Count | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *

## RMZ Criteria
Input Data for RMZ mixing
Step 1: Copy and Paste Data Below into CuBLM model (https://www.epa.gov/sites/production/files/2016-07/copper-draft-blm-2016.zip) | [14 empty] | Step 2: Copy BLM Results into Table Below | [6 empty] | Step 3: The workbook copies over the relevant Criteria into the RPA Sheet
Cells that show up in red are outside of the range of parameter values to which the BLM was developed and calibrated | [14 empty] | Site Label | Sample Label | Final Acute Value | CMC | CCC | Cu | Acute Toxic Units | CCC
sitelabel | date | temperature | pH | Cu | DOC | HA | Ca | Mg | sodium | K | SO4 | Cl | alkalinity | S | [7 empty] | CU ug/l | Run Notes: |  |  | Version of model used: | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Enter notes on model selection, run notes, criteria used, etc.
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Cu values are placeholders
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * | Summary Statistics |  | CCC
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | 10%ile | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Max | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Min | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Count | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *

## 100% Mix Criteria
Input Data for 100% Mix
Step 1: Copy and Paste Data Below into CuBLM model (https://www.epa.gov/sites/production/files/2016-07/copper-draft-blm-2016.zip) | [14 empty] | Step 2: Copy BLM Results into Table Below | [6 empty] | Step 3: The workbook copies over the relevant Criteria into the RPA Sheet
Cells that show up in red are outside of the range of parameter values to which the BLM was developed and calibrated | [14 empty] | Site Label | Sample Label | Final Acute Value | CMC | CCC | Cu | Acute Toxic Units | CCC
sitelabel | date | temperature | pH | Cu | DOC | HA | Ca | Mg | sodium | K | SO4 | Cl | alkalinity | S | [7 empty] | CU ug/l
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * | Run Notes: |  |  | Version of model used: | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Enter notes on model selection, run notes, criteria used, etc.
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Cu values are placeholders
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * | Summary Statistics |  | CCC
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | 10%ile | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Max | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Min | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | * |  | Count | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *
* | * | * | * | 999 | * | 10 | * | * | * | * | * | * | * | 1e-06 | * | * | * | * | * | * | * | *

## Copper Data
Copper Data
Step 1: Enter dissolved copper data for effluent and ambient into the white boxes below. If no dissolved data, use total recoverable copper as a conservative surrogate. For non-detect data enter "<" and the MDL. For "Analyte" please put either "Dissolved" or "Total Recoverable" | [18 empty] | Step 2: The Copper Results are automatically transferred to the RPA sheet and Effluent Limit Sheet (as needed)
Effluent Copper Data (Total/Dissolved) | [8 empty] | Ambient Copper Data (Dissolved) | [12 empty] | Dissolved Summary Results
| Outfall | Date | Analyte | Result | CLPFlags | MDL | MRL | Units |  | Station_ID | Date | Analyte | Result | CLPFlags | MDL | MRL | Units | Effluent Fraction | Effluent Result | Ambient Fraction | Ambient result |  | Effluent value for RPA
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | * | ug/l
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Ambient (Background) Value for RPA
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | * | ug/l
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * | Dissolved Summary Statistics
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Effluent |  | Ambient
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Min | 0 | Min | 0
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Max | 0 | Max | 0
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Average | * | 10% | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | 10% | * | 90% | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | 90% | * | Count | 0
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Count | 0
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Std Dev | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * | Notes
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Effluent: Describe statistical process used to determine conc. used
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Typical procedure: Max Effluent
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Ambient: Describe statistical process used to determine conc. used
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | * |  | Typical procedure: <4 data points = Max. Effluent, >4 data points = 90%ile
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *
| * | * | * | * | * | * | * | * |  | * | * | * | * | * | * | * | * | * | * | * | *

## RPA Sheet
Reasonable Potential Analysis - Toxic Units Paired Analysis
Facility Information
| Name: | * |  |  | Run date: | *
| Analyst: | *
Columns A through L will autopopulate based on previous worksheets. TUs will not calculate if the original effluent Copper values are non detect or below the copper criteria
The "Flag" column is used to note any issues that may affect a particular sample date
Date | Effluent | Ambient | ZID | BLM CMC | Toxic Units | RMZ | BLM CCC | Toxic Units | 100% mix | BLM CCC | Toxic Units | Flag
| Cu ug/L | Cu ug/L | Cu ug/L | ug/L |  | Cu ug/L | ug/L |  | Cu ug/L | Cu ug/L
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!
* | * | * | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE! | #VALUE! | * | #VALUE!

## Effluent Limit Sheet
Effluent Limit Calculation - Only Use if Reasonable Potential is found based on the "RPA Sheet" Results
If the permittee is determined to have reasonable potential according to DEQ's "Reasonable Potential Process for Copper Using the Biotic Ligand Model" effluent limits will be derived
The 10th percentile IWQC is used to derive effluene limits
Effluent limits are required to be expressed as total recoverable according to 40 CFR 122.45(c). Unless a site specific translator has been developed, use a conservative translator of 1 in cell B14
Compliance limits (Cells I11 and J11) are based on a recommended QL of 2 ug/L
Compliance monitoring of 4 per month (Cell F11) is based on the monitoring matrix frequency for toxic parameters with effluent limits. Consult with Direct Support for monitoring frequency changes.
For Dilutions, use most conservative values from most recent MZ Memo to determine limits
Dilutions
Acute Aquatic Life (ZID) | *
Chronic Aquatic Life (RMZ) | *
WQ Criteria | [5 empty] | Calculated Effluent Limits |  | Compliance Limits |  | WLAs |  | LTAs |  |  | Calculations
| WQ Crit: 1 Hour (CMC) | WQ Crit: 4 Day (CCC) | Ambient Conc. | CV | Compliance Monitoring Req. | Monthly (AML ug/l) | Max Daily (MDL ug/l) | Monthly (AML ug/l) | Max Daily (MDL ug/l) | WLA: Acute | WLA: Chronic | Acute LTA | Chronic LTA | Min. LTA | Sigma | Sigma 4 | Sigma N | Acute | Chronic | AML | MDL
| (µg/l) | (µg/l) | (µg/l) | (µg/l) | #/Month | 95% | 99% |  |  | (µg/l) | (µg/l) | (µg/l) | (µg/l) | (µg/l) |  |  | σn | WLA | WLA | LTA | LTA
Dissolved Copper | * | * | * | * | 4 | -- | -- | -- | -- | -- | -- | -- | -- | * | -- | -- | -- | -- | -- | -- | --
Dissolved to Total Translator | 1
FINAL LIMITS
| Average Monthly Limit (ug/L) | Maxmimum Daily Limit (ug/L)
Total Recoverable Copper | -- | --
Note on G15: Confidence Level Used: Percentile may be changed if rational is provided
Note on H15: Confidence Level Used: Percentile may be changed if rational is provided

## Cond. Conversion
Ca | Mg | Na | K | SO4 | Cl | Alk | Conductivity
* | * | * | * | * | * | * | * | Instructions
* | * | * | * | * | * | * | * | * | Enter condcutivity data into blank column and metals values will be estimated
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | * | * | Once Calculated, Cut and paste values into the appropriate cells
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *
* | * | * | * | * | * | * | *

## Revision
Date | Revision | Author | Notes
2017-03-02 | 1.0 | Spencer bohaboy | Initial version of the RPA for Copper BLM
2017-03-15 | 1.1 | Spencer Bohaboy | Correction to RPA Sheet
2017-03-28 | 1.2 | Spencer bohaboy | Added Convesion funtions for conductivity, additional data rows
2017-04-07 | 1.3 | Spencer Bohaboy | Addition of a Complete Mix funtion. Misc corrections | CuBLM Calibration Parameters (CuBLM V 2.2.3)
2017-04-26 | 1.4 | SpencerBohaboy | Misc. repairs and additional guidance | PARAMETER | LOWER BOUND | UPPER BOUND
2019-02-20 | 1.5 | Rob Burkhart | Expanded copper columns in input data sheets to correspond with model input file format
2023-09-05 | 2.0 | Aliana Britson | Update Instructions. Remove 10% RPA examination. Tidy up Workbook. Addition of calibration range warnings. | Temperature (¡C) | 10 | 25
2023-10-26 | 2.1 | Aliana Britson | Added Effluent Limit Calculation Sheet (borrowed from Toxics RPA Workbook) | pH | 4.9 | 9.2
2024-07-23 | 2.2 | Aliana Britson | Updated Workbook to be able to accommodate seasonal dilutions from MZ Memo | DOC (mg/L) | 0.05 | 29.65
|  |  |  | Humic Acid Content (%) | 10 | 60
|  |  |  | Calcium (mg/L) | 0.204 | 120.24
|  |  |  | Magnesium (mg/L) | 0.024 | 51.9
|  |  |  | Sodium (mg/L) | 0.16 | 236.9
|  |  |  | Potassium (mg/L) | 0.039 | 156
|  |  |  | Sulfate (mg/L) | 0.096 | 278.4
|  |  |  | Chloride (mg/L) | 0.32 | 279.72
|  |  |  | Alkalinity (mg/L) | 1.99 | 360
|  |  |  | DIC (mmol/L) | 0.056 | 44.92
|  |  |  | Sulfide (mg/L) | 0 | 0