## Introduction - rev'd
Audit Report Template Tables
Reference for Energy Audits for School Buildings |  | https://www.oregon.gov/energy/energy-oregon/Pages/Schools-Audit-Firms.aspx
Updated (published) | March 2020
Tables in tabs colored pale yellow have been revised. Note that while some table revisions involved adding a new column, e.g., EEM Summary, others were more subtle, e.g., clarified table title and column titles, e.g., EEM Savings by End Use formerly "EEM Savings Validation".
Instructions
The document is intended for use by Energy Audit Firms for creation of the Energy Audit Report. The tables are meant to provide the format and layout for the tables. The Audit Firm will need to enter all values and necessary calculation formulas. The Audit Firm may add tables, calculations, and tabs as necessary to complete the Audit Report. Instructions for the tables are in the Audit Report Template and Requirements.
If the Audit Report will be submitted with an electronic excel file, auditor must ensure all values and calculations are clearly shown with no hidden or locked cells.

## Building Energy Summary - rev'd
Building Energy Summary
Gross Square Footage (SF):
| Annual Energy Use (MBtu) | EUI (kBtu/SF/ Yr) | Annual Energy Cost ($) | Cost ($/SF/ Yr)
TOTAL Baseline Energy Usage
TOTAL EEM Energy Savings
TOTAL Proposed Energy Usage
| EUI Target: |  | kBtu/SF/Yr
See Audit Report Template and Requirements for table instructions.

## EEM Summary - rev'd
Energy Efficiency Measure (EEM) Summary
Utility Rate Summary
[10 empty] | Electricity Demand | Electricity | Nat. Gas | Other Fuel | Other Fuel
[10 empty] | $/KW/Mo | $/kWh | $/therm | $/Unit | $/MBtu
|  | Energy Savings Summary | [8 empty] | Cost Savings Summary
|  | Monthly Peak Demand Savings Electricity | Months of applicable peak demand savings | Energy Savings Electricity | Energy Savings Natural Gas | Energy Savings All Other Fuel | Energy Savings Total | Energy Savings % of Total Baseline Energy | EUI Change Per EEM (negative indicates savings) | Cost Savings Peak Demand Electricity | Cost Savings Electricity | Cost Savings Natural Gas | Cost Savings All Other Fuels | Cost Savings Total | Measure Cost | Simple Payback | Measure Life | Cx Required
EEM # | EEM Description | KW | # | kWh/Yr | therms/ Yr | MBtu/ Yr | MBtu/Yr | % | kBtu/SF/Yr | $/Yr | $/Yr | $/Yr | $/Yr | $/Yr | $ | Yrs | Yrs | Yes/No
TOTAL EEM Energy Savings
|  | Peak Demand Electric | Months of applicable peak demand savings | Electric | Natural Gas | All Other Fuel | Energy Total | % of Baseline | EUI | Cost Demand | Cost Electricity | Cost Natural Gas | Cost All Other Fuels | Cost Total
|  | KW | # | kWh/Yr | therms/ Yr | MBtu/ Yr | MBtu/Yr | % | kBtu/SF/Yr | $/Yr | $/Yr | $/Yr | $/Yr | $/Yr
| TOTAL Baseline Energy Usage | [6 empty] | 100
TOTAL Proposed Energy Usage
See Audit Report Template and Requirements for table instructions.

## EEM Savings by End Use - rev'd
Total EEM Savings by End Use
| Electric |  |  | Natural Gas |  |  | All Other Fuels |  |  | Total Site Energy
END USE CATEGORY | Baseline Use (kWh) | EEM Savings (kWh) | EEM Savings/ Baseline End Use (%) | Baseline Use (therms) | EEM Savings (therms) | EEM Savings/ Baseline End Use (%) | Baseline Use (MBtu) | EEM Savings (MBtu) | % Savings of Baseline End Use | Baseline Use (MBtu) | End Use % of Baseline Total | EEM Savings (MBtu) | EEM Savings/ Baseline End Use (%)
Space Cooling
HVAC Pumps/Auxil.
HVAC Fans
Interior Lighting
Exterior Lighting
Misc. Equip./plug loads
Other Electric (incl. refrig.)
Space Heating
Domestic Hot Water
Other Fossil Fuel Use
TOTAL
See Audit Report Template and Requirements for table instructions.

## Energy Providers and Rates
Energy Provider(s) and Rate(s)
Electric Utility Provider: | Electric Utility Rate Schedule(s)
$/kWh
$/kW/Mo
Natural Gas Provider: | Natural Gas Rate Schedule
$/Therm
Other Energy Provider (List all): | Other Energy Rate Schedule (if any)
$/Unit
See Audit Report Template and Requirements for table instructions.

## Energy Consumption Profile-revd
Energy Consumption Profile
Beginning Year: | End Year:
| Electricity |  |  |  | Fossil - Nat Gas |  |  | All Other Fuels |  |  | Total
Month/Year* | Electricity Demand (KW) | Electricity Use (kWh) | Electricity Use (MBtu) | Electricity Cost ($) | Nat. Gas Use (therms) | Nat. Gas Use (MBtu) | Nat. Gas Cost ($) | All Other Fuel Use (Unit) | All Other Fuel Use (MBtu) | All Other Fuel Cost ($) | Total Energy Use (MBtu) | Total Energy Cost ($)
`
1st Year Totals
`
2nd Year Totals
2-Year Average (Baseline Energy Usage)
See Audit Report Template and Requirements for table instructions.
*May add additional monthly data at auditor's discretion. Two years of consecutive monthly data is required.

## Energy End Use Split Estimates
Energy End Use Split Estimates
| Electric Use |  | Natural Gas Use |  | All Other Fuels Use |  | Total Site Energy Use
END USE CATEGORY | kWh | MBtu | Therms | MBtu | Unit | MBtu | MBtu | End Use % of Total
Space Cooling
HVAC Pumps/Auxil.
HVAC Fans
Interior Lighting
Exterior Lighting
Misc. Equip./plug loads
Other Electric (incl. refrig.)
Space Heating
Domestic Hot Water
Other Fossil Fuel Use
TOTAL
See Audit Report Template and Requirements for table instructions.

## Building Occupancy - rev'd
Building Occupancy
Typical Daily Use: Buildings/Areas | Hours/Day | Days/Week | Weeks/Year | Annual Hrs | % of Bldg Used
Number of persons in building during normal occupancy | Actual: |  |  | Design:
Is building ever partially occupied? Y/N
Partial Use: Buildings/Areas | Additional Hours/Day | Days/Week | Weeks/Year | Annual Hrs | % of Bldg Used
See Audit Report Template and Requirements for table instructions.
`

## Cost Benefit Analysis - rev'd
Cost Benefit Analysis
Utility Rate Summary
[10 empty] | Electricity Demand | Electricity | Natural Gas | Other Fuel | Other Fuel
[10 empty] | $/KW/Mo | $/kWh | $/therm | $/Unit | $/MBtu
|  | Energy Savings Summary | [7 empty] | Cost Savings Summary
|  | Peak Demand Savings Electricity | Months of applicable peak demand savings | Energy Savings Electricity | Energy Savings Natural Gas | Energy Savings All Other Fuel | Energy Savings Total | Energy Savings % of Total Baseline Energy | EUI Change Per EEM (negative indicates savings) | Cost Savings Peak Demand Electricity | Cost Savings Electricity | Cost Savings Natural Gas | Cost Savings All Other Fuels | Cost Savings Total | Measure Cost | Simple Payback | Measure Life
EEM # | EEM Description | KW | # | kWh/Yr | therms/ Yr | MBtu/ Yr | MBtu/Yr | % | kBtu/SF/Yr | $/Yr | $/Yr | $/Yr | $/Yr | $/Yr | $ | Yrs | Yrs
EEM Summary "in isolation" (savings if individual measure interactions with other EEMS NOT included)
See Audit Report Template and Requirements for table instructions.

## Boilers
Equipment Survey: Boilers
General | [13 empty] | Accessories |  |  | Controls
Unit Name / Tag | Area Served | Year Installed | Manufacturer, Model # (if available) | Heat Input / Output | Fuel Source | Type | Steam or Hot Water | Hot Water Supply Temp. | Reset Schedule | Steam Pressure (psig) | Turndown Ratio | Condensate Return and % | Feedwater Pump, Quantity and HP | Stack Economizer (Y/N) | Blowdown Economizer (Y/N) | Combustion Air Preheat (Y/N) | Type of Controls | Sequencing (e.g., primary vs. secondary) | Programmed Occupancy Schedule (times of day)
Combustion Efficiency Test Results
Boiler ID/Number: | Boiler 1 | Boiler 2 | Boiler 3
Conditions / Firing Rate
Stack Temperature
Room Temperature
% O2
% CO2
CO (ppm)
Combustion Efficiency %
Date of Combustion Test:
Test Completed By:

## Chillers
Equipment Survey: Chillers
General | [7 empty] | Efficiency |  |  | Controls
Unit Name / Tag | Area Served | Year Installed | Manufacturer, Model # (if available) | Capacity | Refrigerant | Type | Air or Water Cooled | kW/ton at 100% load | kW/ton at 50% load | Efficiency at ARI Conditions | Chilled Water (CHW) Supply Setpoint | Cond. Water Supply Setpoint | Type of Controls | Programmed Occupancy Schedule (times of day)

## Cooling Towers
Equipment Survey: Cooling Towers
General | [7 empty] | Condenser Water |  |  | Controls
Unit Name / Tag | Equipment Served | Year Installed | Manufacturer, Model # (if available) | Type | Number of Cells | Fan Quantity, HP | Fan Type and Drive | gpm | EWT / LWT | Ambient DB/WB | Fan Control (on/off, 2 speed, VFD) | Fan/Cell Sequencing (Y/N) | Programmed Occupancy Schedule (times of day)

## Airside & Other
Equipment Survey: Airside and Other HVAC System Equipment; Packaged Units
Capacities and Controls
General |  |  |  | Cooling |  |  | Heating |  |  | Controls
Unit Name / Tag | Area Served | Year Installed | Manufacturer, Model # (if available) | Cooling Capacity | Cooling Source (CHW, DX, etc) | Cooling Efficiency | Heating Capacity | Heating Source (gas, steam, electric, etc) | Heating Efficiency | Type of Controls | Setpoints | Programmed Occupancy Schedule (times of day)
Airflows
General |  |  |  | Airflow |  |  |  |  | Outside Air
Unit Name / Tag | Area Served | Year Installed | Manufacturer, Model # (if available) | Fan Type | Supply Fan HP | Return Fan HP | Supply CFM | VFD (Y/N) | Outside Air Minimum CFM Provided | Outside Air Minimum CFM Required | Outside Air Damper Modulation | Outside Air Continuous Delivery During Occ. Periods | Outside Air Continuous Delivery During Unocc. Periods | Demand Controlled Ventilation (Y/N) | Economizer Presence (Y/N) and Control Method (enthalpy, dry bulb, etc) | If Economizer, Is it Working Properly (Y/N)?

## Domestic Hot Water
Equipment Survey: Domestic Hot Water
General | [8 empty] | Efficiency |  |  | Controls
Unit Name / Tag | Location | Area Served | Year Installed | Manufacturer, Model # (if available) | Type | Fuel Source | Capacity | Condition | Efficiency | Recovery Rate | Recirculation Type | Type of Controls | Temperature Setpoint

## Lighting -rev'd
Equipment Survey: Lighting
BASELINE
Space Type | Fixture Qty | Fixture Type | Lamp Type | Total Watts per Fixture (includes ballast) | Total Power (kW) | Watts per SqFt | Operating Hours (Annual) | Baseline Energy Use (kWh)
See Audit Report Template and Requirements for table instructions.
Baseline and Proposed Lighting Schedule
| BASELINE | [7 empty] | PROPOSED | [7 empty] | SAVINGS
Space Type | Fixture Qty | Fixture Type | Lamp Type | Total Watts per Fixture (includes ballast) | Total Power (kW) | Watts per SqFt | Operating Hours (Annual) | Baseline Energy Use (kWh) | Fixture Qty | Fixture Type | Lamp Type | Total Watts per Fixture (includes ballast) | Total Power (kW) | Watts per SqFt | Operating Hours (Annual) | Proposed Energy Use (kWh) | Demand Savings (kW) | Energy Use Savings (kWh)
See Audit Report Template and Requirements for table instructions.

## Multi-compon meas'r life calc'r
SB1149 Multi-Component Measure Life Calculator
For multi-component Measure Life, refer to the calculation method below.
First, list the components, their costs and Measure Life, as shown in Columns A, B and C.
Second, multiply the Measure Life by the cost for each component, as shown in Column D.
Finally, divide the Total of Column D by the Total of Column B to get the weighted Measure Life.
Multi-Component Measure Life Calculator
Energy Efficiency Measure Component | Component Cost1 | Measure Life2 | Cost * Life
A | B | C | D
Component 1 (Describe)
Component 2
Component 3
Component 4
Component 5
Component 6
Total
Weighted Measure Life:
1. Costs per component category should include the equipment, appropriate labor, overhead and proportional contingency costs
2. From the APPENDIX C Measure Life table

## EEM Cost Estimation - rev'n 2
EEM Cost Estimation
EEM # | EEM Description
| Materials |  |  |  | Labor / Gen'l |  |  | Total
Item Description | Qty | Unit | $/unit | $ | Hours | $/Hour | $ | $ | Data Source/Notes
Subtotal Mtl & Labor Costs
Contractor OH&P
Contingency
Design & Engineering
Disposal (if any)
TOTAL (*excludes commissioning)
Commissioning (if any) *
See Audit Report Template and Requirements for table instructions.

## EEM Cost Estimation - rev'd
EEM Cost Estimation
EEM # | EEM Description
| Materials |  |  |  | Labor / Gen'l |  |  | Total
Item Description | Qty | Unit | $/unit | $ | Hours | $/Hour | $ | $ | Data Source/Notes
Subtotal Mtl & Labor Costs
Contractor OH&P
Contingency
Design & Engineering
Commissioning (if any) *
Disposal (if any)
TOTAL (*excludes commissioning)
See Audit Report Template and Requirements for table instructions.

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only