ODF IRA FUEL TENDER INSPECTION FORM

| COMPANY NAME |  | RO # |
| --- | --- | --- |

|  |  | Y N COPY OF AGREEMENT | Y N COPY OF RESOURCE ORDER |
| --- | --- | --- | --- |
| AGREEMENT NUMBER |  |  |  |

| INCIDENT NAME |  | INCIDENT # |
| --- | --- | --- |

| TYPE 1 (3500 Gallons) | TYPE 2 (2501-3500 Gallons) | TYPE 3 (500-2500 Gallons) | TYPE 4 (600-900 Gallons) |
| --- | --- | --- | --- |

| OPERATOR INFORMATION |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  | Current Training Cert/Card |
| Name | License # | State |  |  |
|  |  |  |  | Current Training Cert/Card |
| Name | License # | State |  |  |

| RESOURCE VEHICLE INFORMATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Equip. Make: |  |  | Equip. Model: |  |  |
| VIN: |  |  | Serial #: |  |  |

| Vehicle Identification (external, on both driver and passenger side of vehicle) | Y N |
| --- | --- |
| Department of Transportation (DOT) Certification | Y N |
| Current OSFM, ODA and DEQ Inspections | Y N |
| Commercially Registered | Y N |
| Back up Alarm, Spare Tire, Fire Extinguisher, Reflective Triangles, Wheel Chocks (2) (all on GSUL inspection form) | Y N |

| FUEL TENDER |  |  |  |
| --- | --- | --- | --- |
|  | Hazardous Materials Compliance Pocketbook |  | Emergency Response Guidebook (current addition) |
|  | Spill Response Plan Book |  | Spill Containment Kits |
|  | First Aid (5 person kit) |  | Separate Dispensing System for Diesel and Unleaded Fuel (labeled) |
|  | Certified Meter |  | Current Yearly Visual Leakage (VK) Test on Tank |
|  | Current Internal and Pressure (I&P) on Tank |  | Emergency Shut-Off Valve(s) (labeled) |
|  | Tank Control Valves with Fusible Nuts |  | Covered, Unexposed Electrical Wiring with Tank Compartments |
|  | Lights and Switches within Explosion Proof Housing |  | Openings into Fixtures Protected with Rubber Grommets (seal out fumes) |
|  | Large Nozzle for Diesel, Small Nozzle for Unleaded |  | Bonded Hose Reel and/or Ground Rod and Cable |
|  | Emergency Equipment Fuel and Oil Issue Tickets |  | Adequate Lighting |
|  | Ability to Accept all Major Credit and WEX Cards |  |  |

ICPI COMMENTS/REMARKS:

| PASS | FAIL | Inspection Date |  | Inspection Time |
| --- | --- | --- | --- | --- |

| Inspector Name (Print) |  | Inspector Signature |
| --- | --- | --- |

| Operator Name |  | Operator Signature |  | Cell Number |
| --- | --- | --- | --- | --- |