[Note:  The following is only a guide for General Notes.  Omit those sections, items and terms in parentheses that are not applicable, except retain the parenthetical references to ASTM equivalents to AASHTO Specifications.] [Revisions for October 2025 are marked in yellow highlight.]

( ) indicates (Options), [ ] indicates [Instructions]

## GENERAL NOTES:

DESIGN NOTES:

[Select one of the following notes depending on the Bridge Design Category. For projects with multiple bridges, design requirements may need to be listed by bridge number when bridges have varying design requirements.]:

[Bridge Modernization]:

Bridge(s) is (are) designed in accordance with the 20XX, Xth edition of the “AASHTO LRFD Bridge Design Specifications” and ____ edition of the “Oregon Bridge Design Manual”, as modified by the following:

[Only list design exceptions that affect the structural or geometric elements of the structure (e.g. Bridge Rail). Design exceptions that only affect roadway elements do not need to be listed here.]:

Design Deviation RX-XXX for XXXXX

Design Exception XXXX for XXXXX.

Design includes an allowance of (____psf for present wearing surface) (and) (____psf) for future wearing surface and all of the following Live Loads:

Service and Strength I Limit States:

HL-93:  Design truck (or trucks per LRFD 3.6.1.3) or the design tandems and the design lane load.

Strength II Limit State:

ODOT Type STP-5BW Permit truck

ODOT Type STP-4E Permit truck

EV3 truck

[Bridge Retrofit or Preservation]:

Bridge(s) is(are) designed in accordance with the 20XX edition of the “AASHTO LRFD Bridge Design Specifications” and ____ edition of the “Oregon Bridge Design Manual”, in the Bridge Design Category ‘Bridge ________’, as modified by the following:

[Only list design exceptions that affect the structural or geometric elements of the structure (e.g. Bridge Rail, column collision). Design exceptions that only affect roadway elements do not need to be listed here.]:

Design Deviation RX-XXX for XXXXXXXX

Design Exception XXXX for XXXXXX

[Bridge Retrofit – With Strengthening – Modify to match strengthening design loads]:

Design of strengthening includes an allowance of (____psf for present wearing surface) (and) (____psf) for future wearing surface and all the following Live Loads:

Strength II Limit State:

ODOT Type STP-5BW Permit truck

ODOT Type STP-4E Permit truck

EV3 truck

[Select one of the following notes depending on the methodology used in the seismic design of the bridge]:

[New Seismic Designs ----- Multi-Span Bridges]:

Seismic design is performed by the multi-mode (single-mode) analysis in accordance with the “AASHTO Guide Specifications for LRFD Seismic Bridge Design” (“AASHTO LRFD Bridge Design Specifications") as modified by the ____ edition “ODOT Bridge Design Manual”. Seismic Hazard Values for both Upper-Level and Lower-Level Ground Motions for the bridge site with Latitude 00.0000N and Longitude 000.0000W are:

| Seismic Performance Criteria | Ground Motion | Shear Wave Velocity | Site Class | Design Hazard Values – As | Design Hazard Values – SDS | Design Hazard Values – SD1 | Seismic Design Category |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Life Safety | AASHTO 2023 Risk-Targeted Ground Motions | 0.000 | X | 0.000 | 0.000 | 0.000 | X |
| Operational | Cascadia Subduction Zone | 0.000 | X | 0.000 | 0.000 | 0.000 | X |  |

[Insert Design Response Spectrum plot here]

(The Response Modification factors used are: R=___ for column moments, R= 0.8 for abutment connections, and R= 1.0 for other components).

[New Seismic Designs -----Single-Span Bridges]:

Seismic design is performed in accordance with the “AASHTO Guide Specifications for LRFD Seismic Bridge Design” (“AASHTO LRFD Bridge Design Specifications") as modified by the ____ edition “ODOT Bridge Design Manual”.  For the bridge site with Latitude 00.0000N and Longitude 000.0000W and time-averaged shear wave velocity of ____ ft/s, the design response spectral acceleration coefficient at a period of zero seconds for Upper-Level and Lower-Level Ground Motions are ___g and ___g respectively.

[Widenings which do not carry the existing structure]:

Seismic design for widening is performed by the single-mode (multi-mode) analysis, in accordance with the “AASHTO Guide Specifications for LRFD Seismic Bridge Design” (“AASHTO LRFD Bridge Design Specifications") as modified by the ____ edition “ODOT Bridge Design Manual”.  Seismic design is based on __ feet of superstructure width and is not designed to carry the seismic load of the existing structure. Seismic Hazard Values for both Upper-Level and Lower-Level Ground Motions for the bridge site with Latitude 00.0000N and Longitude 000.0000W are:

[Insert the Seismic Data Table here]

[Widenings which do carry the existing structure]:

Seismic design for widening is performed by the single-mode (multi-mode) analysis, in accordance with the “AASHTO Guide Specifications for LRFD Seismic Bridge Design” (“AASHTO LRFD Bridge Design Specifications") as modified by the ____ edition “ODOT Bridge Design Manual”.  The widened structure is designed to resist the full seismic load including the existing structure. Seismic Hazard Values for both Upper-Level and Lower-Level Ground Motions for the bridge site with Latitude 00.0000N and Longitude 000.0000W are:

[Insert the Seismic Data Table here]

[Phase 1 Seismic Retrofit Designs - select appropriate sections:]

Seismic retrofit design to prevent superstructure pull-off is based on a Horizontal Peak Ground Acceleration Coefficient (PGA) of ____g and a Site Factor (Fpga) of ____ for the Site Class __.

[Simple Span Support Connections:]

Longitudinal design forces:

Force to prevent pull-off by single-mode analysis, without substructure stiffness considered, with a maximum response not greater than 2.5 x PGA.

Transverse design forces:

Force equal to 2.5 x PGA x supported dead load.

[Continuous Span Series Support Connections:]

Longitudinal design forces:

"Plastic hinging" of columns and forces to prevent pull-off by single-mode analysis, considering substructure stiffness with column capacity limitation (strength), maximum response not greater than 2.5 x PGA.

Transverse design forces:

"Plastic hinging" of column(s) (and crossbeam frame).

[In-Span Hinges:]

Longitudinal design forces:

"Plastic hinging" of columns and forces to prevent pull-off by single-mode analysis, considering substructure stiffness with column capacity limitation (strength), maximum response not greater than 2.5 x PGA.

Transverse design forces:

Force equal to 2.5 x PGA x supported dead load.

Cable for seismic restraint devices will be furnished by the Department.  See Section 00160.30 of the Special Provisions.

CONSTRUCTION NOTES:

Provide all materials and perform all work according to the “Oregon Standard Specifications for Construction 20XX”.

[Use the following notes for FRP strengthening}

FRP Strengthening Notes:

Provide Fiber-Reinforced Polymer (FRP) products from the QPL, Section___.

FRP material properties used for the design:

[Specify section properties]

Ultimate tensile strength = __ ksi

Tensile modulus of elasticity = __ ksi

Ultimate strain = __in./in.

Environmental reduction factor, CE = __

Existing material properties of the strengthened elements used for the design:

Concrete, f’c = __ksi

Reinforcing steel, fy = __ksi

Design and construct FRP strengthening according to Special Provision Section ____.

[Use the following notes for reinforcement]

Provide spiral column reinforcement according to ASTM Specification A706, AASHTO Specifications M31 (ASTM A615) Grade 60, AASHTO M225 (ASTM A496), or AASHTO M32 (ASTM A82).

[Specify ASTM A706 reinforcement for vertical column bars when columns are supported on drilled shafts or when plastic hinging is anticipated in either the top or bottom of the column]

Provide reinforcing steel according to ASTM Specification A706 for the following bars:

- Welded

- Column spirals and vertical reinforcement

- Drilled shaft spirals and vertical reinforcement

Provide Type 2 mechanical splices for vertical reinforcement in column and drilled shaft as shown on the detail plans.

Provide all (other) reinforcing steel according to ASTM Specification A706, or AASHTO M31 (ASTM A615) Grade 60.  (Provide Field bent stirrups according to ASTM Specification A706.)  Use the following splice lengths (unless shown otherwise):

[Use the following chart when the minimum concrete strength required is 3.3 ksi]

[Table not used for column and drilled shaft reinforcing splice length]

| Reinforcing Splice Lengths (Class B) Grade 60 f’c = 3.3 ksi, rc = 0.4, 2in min. concrete clear cover |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bar Size | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #14 & #18 |
| Uncoated | 1’-4” | 1’-9” | 2’-2” | 2’-7” | 3’-0” | 3’-5” | 3’-10” | 4’-4” | 4’-10” | Not permitted |
| Coated (1) | 1’-7” | 2’-1” | 2’-7” | 3’-2” | 3’-8” | 4’-2” | 4’-8” | 5’-3” | 5’-10” | Not permitted |
| Coated (2) | 2’-0” | 2’-7” | 3’-3” | 3’-11” | 4’-7” | 5’-2” | 5’-10” | 6’-7” | 7’-4” | Not permitted |

Use Coated (1) for epoxy coated bars with cover at least 3*db and clear spacing between bars at least 6*db.

Use Coated (2) for epoxy coated bars with cover less than 3*db or clear spacing between bars less than 6*db.

Increase all splice lengths 30% for horizontal or nearly horizontal bars so placed that more than 12” of fresh concrete is cast below the bar.

[Use the following chart when the minimum concrete strength required is 4.0 ksi]

[Table not used for column and drilled shaft reinforcing splice length]

| Reinforcing Splice Lengths (Class B) Grade 60 f’c = 4.0 ksi, rc = 0.4, 2in min. concrete clear cover |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bar Size | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #14 & #18 |
| Uncoated | 1’-4” | 1’-7” | 2’-0” | 2’-5” | 2’-9” | 3’-2” | 3’-7” | 4’-0” | 4’-5” | Not permitted |
| Coated (1) | 1’-5” | 1’-11” | 2’-5” | 2’-10” | 3’-4” | 3’-9” | 4’-3” | 4’-10” | 5’-4” | Not permitted |
| Coated (2) | 1’-10” | 2’-5” | 3’-0” | 3’-7” | 4’-2” | 4’-9” | 5’-4” | 6’-0” | 6’-8” | Not permitted |

Use Coated (1) for epoxy coated bars with cover at least 3*db and clear spacing between bars at least 6*db.

Use Coated (2) for epoxy coated bars with cover less than 3*db or clear spacing between bars less than 6*db.

Increase all splice lengths 30% for horizontal or nearly horizontal bars so placed that more than 12” of fresh concrete is cast below the bar.

Splice reinforcing steel at alternate bars, staggered at least one splice length or as far as possible, unless shown otherwise.

[Use the following chart when the minimum concrete strength required is 4.5 ksi and reinforcing steel is Grade 60]

[Table not used for column and drilled shaft reinforcing splice length]

| Reinforcing Splice Lengths (Class B) Grade 60 f’c = 4.5 ksi, rc = 0.4, 2in min. concrete clear cover |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bar Size | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #14 & #18 |
| Uncoated | 1’-4” | 1’-6” | 1’-11” | 2’-3” | 2’-7” | 3’-0” | 3’-4” | 3’-9” | 4’-2” | Not permitted |
| Coated (1) | 1’-4” | 1’-10” | 2’-3” | 2’-8” | 3’-2” | 3’-7” | 4’-0” | 4’-6” | 5’-0” | Not permitted |
| Coated (2) | 1’-8” | 2’-3” | 2’-10” | 3’-4” | 3’-11” | 4’-5” | 5’-0” | 5’-8” | 6’-3” | Not permitted |

Use Coated (1) for epoxy coated bars with cover at least 3*db and clear spacing between bars at least 6*db.

Use Coated (2) for epoxy coated bars with cover less than 3*db or clear spacing between bars less than 6*db.

Increase all splice lengths 30% for horizontal or nearly horizontal bars so placed that more than 12” of fresh concrete is cast below the bar.

Splice reinforcing steel at alternate bars, staggered at least one splice length or as far as possible, unless shown otherwise.

[Use the following chart when the minimum concrete strength required is 4.5 ksi and reinforcing steel is Grade 80]

[Table not used for column and drilled shaft reinforcing splice length]

| Reinforcing Splice Lengths (Class B) Grade 80 f’c = 4.5 ksi, rc = 0.4, 2in min. concrete clear cover |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bar Size | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #11 | #14 & #18 |
| Uncoated | 1’-6” | 2’-0” | 2’-6” | 3’-0” | 3’-6” | 4’-0” | 4’-6” | 5’-0” | 5’-7” | Not permitted |
| Coated (1) | 1’-10” | 2’-5” | 3’-0” | 3’-7” | 4’-2” | 4’-9” | 5’-4” | 6’-0” | 6’-8” | Not permitted |
| Coated (2) | 2’-3” | 3’-0” | 3’-9” | 4’-5” | 5’-2” | 5’-11” | 6’-8” | 7’-6” | 8’-4” | Not permitted |

Use Coated (1) for epoxy coated bars with cover at least 3*db and clear spacing between bars at least 6*db.

Use Coated (2) for epoxy coated bars with cover less than 3*db or clear spacing between bars less than 6*db.

Increase all splice lengths 30% for horizontal or nearly horizontal bars so placed that more than 12” of fresh concrete is cast below the bar.

Splice reinforcing steel at alternate bars, staggered at least one splice length or as far as possible, unless shown otherwise.

Support the bottom mat reinforcing steel from the forms with precast mortar blocks at 24” maximum centers each way.  Support the top mat of reinforcing steel from the bottom mat of reinforcing steel with wire bar supports as shown in Chapter 3 of the “CRSI Manual of Standard Practice” (SBU, BBU, or CHCU).  Place wire bar supports at 24” maximum centers.

Provide (Stainless steel) (Epoxy coated) (uncoated) reinforcing steel in the deck (and bridge approach slab).  This includes top and bottom longitudinal bars, (and) top and bottom transverse bars, (and all bars extending into the (sidewalk) (curb) (parapet)).

Provide epoxy coated reinforcing steel, except prestressing steel, in precast (slabs), (boxes).  This includes bars extending from the precast (slab) (box) into the (bridge rail) (curb) (sidewalk) (deck).

Place bars 2” clear of the nearest face of concrete (unless shown otherwise).  The top bends of stirrups extending from beam stems into the top slab may be shop or field bent (A706 only) (unless shown otherwise).  The top bends of stirrups extending from prestressed precast units may be shop or field bent (A706 only) (unless shown otherwise).

Do not fabricate reinforcing steel for columns (and walls) until final substructure elevations have been determined in the field.

Provide Class ____ - ___ concrete in post-tensioned box girder superstructure (prestressed-precast units) and as shown on detail plans.  See dwg. ______.

Provide Class HPC4500 – 1 1/2 concrete in deck (except in prestressed or post-tensioned sections).

Provide Class 4000 - 3/4 concrete in (columns, footings, footing caps, crossbeams).

Provide Class 3300 (Seal Concrete) - 1 or 3/4 concrete in seals.

Provide Class 4000 – 3/8 concrete for all drilled shafts.

Provide Class 3300 - 1 or 3/4 concrete for All (other) concrete.

Provide Class 3300 - 1, 3/4 or 3/8 concrete in walls with form liners.

Provide Class _____ - _____ concrete in precast prestressed (beams, boxes, slabs) according to detail plans.  See dwg. _____.  The minimum strength of concrete at transfer of prestress is ____ psi.

[Use the following note only when BR165 is not used and project specific design is performed.]

Provide Class HPC4500 – 1 1/2 concrete in reinforced concrete approach slabs.

Provide prestressing steel according to detail plans.

Provide structural steel according to (AASHTO) [or] (ASTM) Specifications in accordance with detail plans.

(Provide steel with controlled silicon content where "Galvanize - Control Silicon" is designated.)

Structural Steel Notes:

Provide all structural steel in girder webs, flanges, and cross-frames, including splice plates, stiffeners, and all connection and gusset plate according to [Specify material type and grade] (weathering structural steel) conforming to (ASTM Specification A709, Grade [Specify grade ex. 50W]), except as noted. Provide all steel members subject to tensile stresses according to ASTM A709 Impact Testing Temperature Zone 2 requirements. This includes all girder flanges, webs and cross-frame members designated with a .  Paint structural steel portion as shown on Dwg. XXXXX [Insert dwg. number] and finish all exposed faces of weathering steel according to the Special Provisions. Provide steel erection plan for approval prior to construction.

[Specify primary members]

For the purpose of Charpy toughness testing and welding inspection/repair, etc., primary members are girders, all splice plates, bearing stiffeners, and cross-frame members at bents.

Web thickness shown may be increased up to 1/16” at no cost to the Agency.

[Specify fit condition]

Detail girders and cross-frames such that the girder webs are plumb at the Steel Dead Load Fit (SDLF) condition and prior to deck placement.

Do not punch or drill holes through girder flanges or webs for temporary work.

Erect all bearing stiffeners and beam ends to be vertical in their final erected position under full dead load.

Provide shear connectors according to ASTM A108 headed concrete anchor studs.

[Specify minimum fillet weld size if not shown]

Use the following fillet weld sizes (unless otherwise shown):

| Base Metal Thickness (T) of Thicker Part Joined | T ≤34" | 34" < T |
| --- | --- | --- |
| Weld Size | 14” | 516” |

Provide 7/8" diameter Type 3 weathering high-strength bolts at structural connections according to ASTM Specification F3125 GR A325 unless shown otherwise. All structural steel connections are slip critical connections with Class B faying surfaces unless shown otherwise.  Exclude bolt threads from shear planes.

Tighten all high-strength bolts using the "Turn-of-Nut Tightening" method.

Framing Plan Notes:

All plan dimensions shown are measured horizontally or vertically unless otherwise noted and reflect the ultimate geometric shape and location of all elements at a temperature of 52°F.Adjust for superelevation and grade.

Erect all cross-frames and shear stud rows to be perpendicular to CL girder.

Stagger web splices a minimum of 6” from top or bottom flange splices and 6” minimum from intermediate stiffener or connection plate.

[Note: Consult with the Steel Design Standards and Practice Engineer to review structural steel and painting General Notes.]

Coat all girders as shown, in accordance with the Specifications.

Produce the finish coat on all girders according to Federal Color Standards most closely matching steel rusted shade.

Submit rusted shade color to engineer for approval.

- All longitudinal dimensions are on a horizontal line - adjust for superelevation and grade.

- All stiffeners and beam ends are to be vertical in final erected position unless noted otherwise.

- Web thickness shown may be increased up to 1/16".

- Additional compression flange weld splices will be permitted at locations approved by the Engineer.

- Provide steel in top and bottom flanges according to ASTM A709, Grade 50W.

- Provide steel in web according to ASTM A709, Grade XXXXX

- Provide all other steel according to AASHTO M270, Grade XXXXX (ASTM A709, Grade XXXXX).

- Indicates check sample required from flange plates so marked, see Special Provisions.

- For the purpose of Charpy toughness testing and welding inspection/repair, etc., main load carrying members are Girders and Stiffeners.

- Assumed design temperature is XXX F.

Timber Notes:

Provide Douglas Fir (non-laminated) timber conforming to ________ Grade [insert lumber grade] according to WCLIB rules.

Incise and treat sawn members with ______________ [insert appropriate treatment from Section 02190] to a minimum retention level of ________ pcf [insert appropriate treatment level] in accordance with AWPA Specification C-2.

Provide all glued laminated timber members according to the requirements of the current “American Institute of Timber Construction (AITC) Timber Construction Standards”.

Allowable stresses in glued laminated members are per the latest version of AITC Specification 117.

Provide [insert wood species] glued laminated stringers according to combination symbol _______.  [insert combination symbol]

Provide [insert wood species] glued laminated deck panels and rail posts according to combination symbol 2.  [insert combination symbol]

Mark glued laminated stringers "Top" on the top at both ends.

Incise and treat glued laminated timber members with ___________ [insert appropriate material from Section 02190] to a minimum retention level of _______ pcf. [insert appropriate level of retention]   Treat laminated members after laminating in accordance with AWPA Specification C-28.

Perform cutting and drilling of timber members before preservative treatment.  Do not field cut treated material unless absolutely necessary.  In the event of injury, drilling or cutting of treated material, field treat according to AWPA Specification M-4.

Provide structural steel, dowels (etc.) according to ASTM Specification ______. [insert Specification number]  Provide all bolts, lag nuts and drift pins according to AASHTO Specification M314, Grade 35 (ASTM A307) and/or AASHTO M314 Grade 105 (ASTM A449) as shown on the detail plans.  Hot-dip galvanize structural steel, dowels, miscellaneous metal, bolts, lag bolts and drift pins after fabrication.

Resin Bonded Anchor Notes:

Provide and install (___" diameter (ASTM F1554) Grade (36) (55) (105)) (#__ AASHTO M 31, Grade 60 rebar) resin bonded anchors with epoxy resin from the QPL. The characteristic bond stress used in the design is ______ psi. The minimum pullout strength is ______ lbs with a minimum effective embedment (hef) of ____in. Install anchors according to the manufacturer's recommendations.

Mechanical Anchor Notes:

Provide and install ___" nominal diameter Type (A Undercut) (B Expansion) (C Screw) mechanical anchors using a product from the QPL. The minimum pullout strength is ______ lbs with a minimum effective embedment (hef) of ____in. (The maximum depth of the drilled hole is ____in.) For the design, the steel anchor yield strength is _______ psi and the tensile strength is _______ psi. Provide anchor materials with (Type 316 stainless steel) (hot-dip galvanized coating). Install anchors according to the manufacturer's recommendations.

Temporary Works Notes:

Provide work containment at XXXXXX.

FOUNDATION NOTES:

[NOTE: If project plans have a separate footing plan sheet, place all foundation design notes on the footing plan sheet and reference them in the "General Notes"; "See Footing Plan for Foundation Design Notes."]

[For pile foundations:]

[Insert bent #(s) and duplicate as needed]

At Bent(s) (X), provide _______ [insert pile type & grade of steel*] piling (with reinforced tips) driven (open-ended or closed-ended) to a nominal resistance of _______ kips per pile.

* Example ==>	Pipe Pile	==> 12-3/4 x 0.375, ASTM A252 (Grade 2) or (Grade 3)

H-Pile		==> HP 10 x 42, ASTM A572, Grade 50

Pile tip elevation for minimum pile penetration at (All) Bent(s) (___) (is elevation _____ feet) (according to the Pile Penetration Table).

[Use one of the following as directed by the Geotechnical Designer]

Drive (Bent ___), (All) piling to the specified nominal resistance using driving criteria developed from a Wave Equation Analysis.

Drive (Bent ___), (All) piling to the specified nominal resistance using driving criteria developed from the FHWA Gates Equation.

Determine pile resistances from the results of CAPWAP Analysis and/or Dynamic Pile Load Tests as specified in the Special Provisions.

(If applicable)

Support all falsework on driven piles.