SP00414  (Special Provisions for the 2021 Book) 	(Bidding on or after: 05-01-21

Last updated: 01-25-21

This Section requires SP00410

when 00414 is listed in Table 00410-1)

# SECTION 00414 – PIPE RENEWAL – SPRAY APPLIED PIPE STRUCTURAL LINER

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [orange text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all orange text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 00414 of the Standard Specifications modified as follows:

(Use the following subsection .02 to list the spray applied pipe structural liner design parameters. Obtain the parameter information from the Designer.)

00414.02  Design Parameters - Add the following to the end of this subsection:

Height of fill from invert	___________ ft

Groundwater Elevation above Invert	___________ ft

(Use the following subsection .80 when SP00410 is used and Section 00414 is listed as an option in Table 00410-1.)

00414.80  Measurement - Replace this subsection, except for the subsection number and title, with the following:

SAPL Liner will be measured according to 00410.80.

(Use the following subsection .90 when SP00410 is used and Section 00414 is listed as an option in Table 00410-1.)

00414.90  Payment - Replace this subsection, except for the subsection number and title, with the following:

SAPL Liner will be paid for according to 00410.90.