SP00963  (Special Provisions for the 2021 Book) 	(Bidding on or after: 02-01-22

Last updated: 10-20-21

This Section requires SP00440

Requires SP02510 if epoxy coated

reinforcement is required)

# SECTION 00963 - SIGNAL SUPPORT DRILLED SHAFTS

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [orange text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all orange text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 00963 of the Standard Specifications modified as follows:

00963.10  Materials - Replace the paragraph that begins "Furnish Commercial Grade Concrete…" with the following paragraph:

Furnish Commercial Grade Concrete meeting the requirements of Section 00440 except provide the mixture with a slump of 8 1/2 inches ± 1 1/2 inches.