SP01150  (Special Provisions for the 2021 Book) 	(Bidding on or after: 01-01-22

Last updated: 09-28-21

This Section requires SP00440)

# SECTION 01150 - POTABLE WATER VALVES

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [orange text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all orange text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 01150 of the Standard Specifications modified as follows:

01150.10  Materials - Delete “Ball Valves” from the list of materials.

01150.90  Payment - Replace the paragraph that begins “No separate or additional…” with the following paragraph:

No separate or additional payment will be made for:

earthwork not covered under other Pay Items

jointing

blocking of valves

protective coatings

valve boxes

valve box extensions

valve operator extensions

valve reconnections

hydrostatic testing