SP02520  (Special Provisions for the 2021 Book) 	(Bidding on or after: 06-01-23

Last updated: 02-22-23)

SECTION 02520 - STEEL AND CONCRETE PILES

This Section title is replaced with the following:

# SECTION 02520 - STEEL PILES

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [orange text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all orange text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 02520 of the Standard Specifications modified as follows:

02520.10(c)  Steel H-Piles - Replace this subsection, except for the subsection number and title, with the following:

Steel H-piles shall be rolled steel pile sections of the size and weight shown. Steel shall conform to the requirements of ASTM A36 or ASTM A572. The manufacturer's name, brand or trademark may be shown by die stamping in the web at intervals not exceeding 20 feet along the length of the pile.

02520.20  Prestressed Concrete Piles - Delete this subsection.