SP00950  (Special Provisions for the 2024 Book) 	(Bidding on or after: 01-01-25

Last updated: 01-23-25)

# SECTION 00950 - REMOVAL OF ELECTRICAL SYSTEMS

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [purple text] above a subsection, paragraph, sentence, or bullet, then include it in the Project. Delete all purple text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

(Use only one of the following lead-in paragraphs as instructed below.)

[ Use the following lead-in paragraph when NONE of the following subsections are included in the Project Special Provisions. ]

Comply with Section 00950 of the Standard Specifications.

[ Use the following lead-in paragraph when ANY of the following subsections are included in the Project Special Provisions. ]

Comply with Section 00950 of the Standard Specifications modified as follows:

(Use the following subsection .41 when removal work is not shown on the contract plan sheets.)

00950.41  Removal and Abandonment - Add the following to the end of this subsection:

[Option 1 - Use the following when NOT all removal Work is shown on contract plan sheets. Only list Work not shown]

This Work consists of removing existing electrical system(s) as shown. This Work also consists of removing the following existing electrical system(s):

Equipment Description	Location

[Option 2 - Use the following when NO removal Work is shown on contract plan sheets.]

This Work consists of removing the following existing electrical system(s):

Equipment Description	Location

(Use the following subsection .42 when salvaging and stockpiling removed Materials. Be sure that a "public interest finding letter" is on file before including this subsection. Contact Region electrician for Region number, phone number, and all information regarding Equipment to be salvaged. List Materials and stockpile locations.)

00950.42  Salvaging and Stockpiling Materials - Add the following to the end of this subsection:

The following Materials will remain the property of the Agency. Salvage the Materials and stockpile them at the locations indicated. Contact Region _____ Electrical Crew at _____________ to confirm delivery 48 hours prior to delivery.

Materials	Stockpile Locations