SP02513  (Special Provisions for the 2024 Book) 	(Bidding on or after: 05-01-25

Last updated: 01-24-25)

# SECTION 02513 – STAINLESS STEEL REINFORCEMENT

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [purple text] above a subsection, paragraph, sentence, or bullet, then include it in the Project. Delete all purple text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 02513 of the Standard Specifications modified as follows:

02513.30  Chairs and Supports – Delete this subsection.

02513.60  Tie Wire - Replace this subsection with the following subsection:

02513.60  Ties and Supports - Provide 16 gauge tie wire and supports from Type 304 or Type 316 stainless steel according to CRSI Manual of Standard Practice.