SP00405  (Special Provisions for the 2024 Book) 	(Bidding on or after: 06-01-25

Last updated: 03-03-25)

# SECTION 00405 - TRENCH EXCAVATION, BEDDING, AND BACKFILL

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [purple text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all purple text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 00405 of the Standard Specifications modified as follows:

(Use the following subsection .41(a) when the open excavation method for installing pipes transversely is not permitted.)

00405.41(a)  Within Paved Areas to be Preserved - Add the following to the end of this subsection:

Do not use the open excavation method for installing pipes transversely.

00405.90  Payment - In the paragraph that begins “No separate or additional…” delete the following bullet:

sawcutting

Add the following sentence to the end of the subsection:

Sawcutting will be paid for according to Section 00310.