SP00412  (Special Provisions for the 2024 Book) 	(Bidding on or after: 06-01-25

Last updated: 02-28-25

This Section requires SP00410

when 00412 is listed in Table 00410-1)

# SECTION 00412 - CURED-IN-PLACE PIPE LINING THERMO CURE

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [purple text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all purple text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 00412 of the Standard Specifications modified as follows:

(Use the following subsection .02 to list the CIPP design parameters. Obtain the parameter information from the Designer.)

00412.02  Design Parameters - Add the following to the end of this subsection:

Height of fill from invert	_________

Groundwater Elevation above invert	 _____

(Use the following line when chemical resistance parameters are required)

Chemical Resistance	 ASTM F1743

(Use the following subsection .80 when SP00410 is used and Section 00412 is listed as an option in Table 00410-1.)

00412.80  Measurement - Replace this subsection, except for the subsection number and title, with the following:

CIPP Liner and Service Line Reconnections will be measured according to 00410.80.

(Use the following subsection .90 when SP00410 is used and Section 00412 is listed as an option in Table 00410-1.)

00412.90  Payment - Replace this subsection, except for the subsection number and title, with the following:

CIPP Liner and Service Line Reconnections will be paid for according to 00410.90.