SP00559  (Special Provisions for the 2024 Book) 	(Bidding on or after: 06-01-25

Last updated: 02-26-25

This Section requires SP00540

and SP02050. Requires SP00505

When using hydrodemolition.)

# SECTION 00559 - STRUCTURAL CONCRETE OVERLAYS

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [purple text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all purple text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 00559 of the Standard Specifications modified as follows:

00559.11  Class of Concrete - Replace this subsection, except for the subsection number and title, with the following:

Furnish class HPC(IC)4500 - 3/4 inch according to Section 02001 unless otherwise shown.

(Use the following .41 when hydrodemolition is required.)

00559.41  Surface Preparation - Replace this subsection, except for the subsection number and title, with the following:

Perform surface preparation according to Section 00505.

00559.43(c)(3)  Placing - Add the following sentence to the end of the paragraph that begins “After the deck surface…”

A grout coat is not required on decks prepared with hydrodemolition.

00559.80(c)  Sawcut Texturing - Replace this subsection with the following subsection:

00559.80(c)  Surface Texturing - Surface texturing will be measured according to 00540.80.

00559.90  Payment – Delete the Pay Item Sawcut Texturing.

Add the following sentence to the end of this subsection:

Surface texturing will be paid for according to 00540.90.