SP00446  (Special Provisions for the 2024 Book) 	(Bidding on or after: 04-01-26

Last updated: 12-30-25

Requires SP00440)

# SECTION 00446 - TRENCH DRAINS

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [purple text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all purple text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

(Use the following lead-in paragraph when none of the following subsections are

included in the Project.)

Comply with Section 00446 of the Standard Specifications.

(Use the following lead-in paragraph when any of the following subsections are

included in the Project.)

Comply with Section 00446 of the Standard Specifications modified as follows:

(Use the following subsection .01 when Type 2 or 3 Trench Drains are required. Type 3 Trench Drains are used when any part of the drain is constructed in a walkway, shared use path, pedestrian circulation zone or pedestrian access route.)

00446.01  Definitions – Replace the sentence that begins “Type 2 Trench Drain…” with the following sentence:

Type 2 Trench Drain - A trench drain installation that is constructed in a paved Shoulder and not within a Pedestrian Accessible Route.

Add the following paragraph to the end of the subsection:

Type 3 Trench Drain - A trench drain installation in which any part is constructed in a walkway, shared use path, pedestrian circulation zone or pedestrian access route as defined in 00759.02.

(Use the following subsection .11 when Type 3 Trench Drains are required.)

00446.11  Trench Drains - Add the following paragraph to the end of the subsection:

Provide the following Type 3 Trench Drains:

PolyDrain – PD04, manufactured by ABT, Inc.

P.O. Box 837, 259 Murdock Road

Troutman, NC 28166

(704) 528-9806

(Use the following subsection .12 when Type 3 Trench Drains are required.)

00446.12  Frames and Grates - Replace the sentence that begins “Provide Americans with Disabilities Act...”

Provide Type 3 Trench Drains that comply with American with Disabilities Act requirements. Where grates are placed within the designated Pedestrian Accessible Route, provide grates without any opening that permits a1/2-inch diameter sphere to pass through in any direction.

Add the following paragraph to the end of this subsection:

Provide the following Type 3 Trench Drain grates:

Ductile Iron ADA Heel Proof Slotted Grate, 2506, manufactured by ABT, Inc.

- P.O. Box 837, 259 Murdock Road

- Troutman, NC 28166

- (704) 528-9806