## BLANK TEMPLATE
| CREW |  |  | DATE: |  |  | +/- mm = | [5 empty] | BASELINE DESIGNATION: |  |  |  | STATION = | 280 | 1X | 3X | 430 | 1X | 3X | 1080 | 1X | 3X
NOTES |  |  |  | BATTERY: |  |  | ppm = | [9 empty] | 1 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
INST. | [14 empty] | THEODOLITE: |  | 2 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
ROD |  |  |  |  | SKY |  | PRECIP |  | WIND |  |  |  |  | MAKE: |  |  | 3 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
ROD |  |  |  | WEATHER | [9 empty] | MODEL: |  |  | 4 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
[14 empty] | SERIAL # : |  |  | 5 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
STATION | STA. ELEV. | H.I. | H.R. | INST. ELEV | TGT. ELEV. | TEMP (oC) | PRES. (mbar) | x | a | h | CALC. PPM | [5 empty] | 6 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
|  |  |  | 0 | [10 empty] | EDM: |  | 7 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
[5 empty] | 0 |  |  | 0.7857 | 0.0036609 | 0.6 | 281.8015 |  |  | MAKE: |  |  | 8 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
[5 empty] | 0 |  |  | 0.7857 | 0.0036609 | 0.6 | 281.8015 |  |  | MODEL: |  |  | 9 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
[5 empty] | 0 |  |  | 0.7857 | 0.0036609 | 0.6 | 281.8015 |  |  | SERIAL # : |  |  | 10 = | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1
[17 empty] | MEAN = | 0 | 10 | 10 | 0 | 10 | 10 | 0 | 10 | 10
|  |  |  | CALC. | SIGMA |  | STATION = | 0 | 1X | 3X | 0 | 1X | 3X | 0 | 1X | 3X
|  | STA. = | 0 | AIR DIST. | 0 | TO | 1 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
|  | REC. DIST #1= |  | 0 | 0 | FROM | 2 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
|  | ELEV. DIFF. #1= | 0 |  | 3X |  | 3 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
|  | SLOPE DIST = | 0 |  | 0 | TO | 4 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
SIGMA = | 0 |  |  |  | 0 | FROM | 5 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
|  |  |  | CALC. | SIGMA |  | 6 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
|  | STA. = | 0 | AIR DIST. | 0 | TO | 7 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
|  | REC. DIST #2= |  | 0 | 0 | FROM | 8 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
|  | ELEV. DIFF. #2= | 0 |  | 3X |  | 9 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
|  | SLOPE DIST = | 0 |  | 0 | TO | 10 = |  | PASS | PASS |  | PASS | PASS |  | PASS | PASS
SIGMA = | 0 |  |  |  | 0 | FROM | MEAN = | 0 | PASS | PASS | 0 | PASS | PASS | 0 | PASS | PASS
|  |  |  | CALC. | SIGMA
|  | STA. = | 0 | AIR DIST. | 0 | TO |  | DISCREPANCY | LINEAR ERROR |  | DISCREPANCY | LINEAR ERROR |  | DISCREPANCY | LINEAR ERROR
|  | REC DIST. #3 = |  | 0 | 0 | FROM |  |  | 0 | mm |  | 0 | mm |  | 0 | mm
|  | ELEV. DIFF. #3= | 0 |  | 3X |  |  | LONG | PROPORTION |  | LONG | PROPORTION |  | LONG | PROPORTION
|  | SLOPE DIST = | 0 |  | 0 | TO |  |  | #DIV/0! | ppm |  | #DIV/0! | ppm |  | #DIV/0! | ppm
SIGMA = | 0 |  |  |  | 0 | FROM
REMARKS:

## EXAMPLE
| CREW |  |  | DATE: | 7/22/2002 |  | +/- mm = | 2 |  |  |  |  | BASELINE DESIGNATION: | Bandon |  |  | STATION = | 280 | 1X | 3X | 430 | 1X | 3X | 1080 | 1X | 3X
NOTES | John Q. Writer |  |  | BATTERY: | #1A |  | ppm = | 2 | [8 empty] | 1 = | 149.998 | 1 | 1 | 940.043 | 1 | 1 | 1370.027 | 1 | 1
INST. | James Sighter | [13 empty] | THEODOLITE: |  | 2 = | 149.998 | 1 | 1 | 940.045 | 1 | 1 | 1370.027 | 1 | 1
ROD | Jane Walker |  |  |  | SKY |  | PRECIP |  | WIND |  |  |  |  | MAKE: | Wild |  | 3 = | 149.998 | 1 | 1 | 940.044 | 1 | 1 | 1370.027 | 1 | 1
ROD |  |  |  | WEATHER | CLEAR |  | NONE |  | LIGHT |  |  |  |  | MODEL: | TCA1800 |  | 4 = | 149.998 | 1 | 1 | 940.043 | 1 | 1 | 1370.027 | 1 | 1
[14 empty] | SERIAL # : | 9999999 |  | 5 = | 149.998 | 1 | 1 | 940.044 | 1 | 1 | 1370.027 | 1 | 1
STATION | STA. ELEV. | H.I. | H.R. | INST. ELEV | TGT. ELEV. | TEMP (oC) | PRES. (mbar) | x | a | h | CALC. PPM | [5 empty] | 6 = | 149.998 | 1 | 1 | 940.045 | 1 | 1 | 1370.027 | 1 | 1
0 | 60.96 | 1.584 |  | 62.544 | [10 empty] | EDM: |  | 7 = | 149.998 | 1 | 1 | 940.044 | 1 | 1 | 1370.027 | 1 | 1
150 | 60.231 |  | 1.578 |  | 61.809 | 8 | 1023 | 1.0303 | 0.0036609 | 0.6 | -7.0721 |  |  | MAKE: | Wild |  | 8 = | 149.998 | 1 | 1 | 940.044 | 1 | 1 | 1370.027 | 1 | 1
940 | 51.911 |  | 1.588 |  | 53.499 | 8 | 1023 | 1.0303 | 0.0036609 | 0.6 | -7.0721 |  |  | MODEL: | TCA1800 |  | 9 = | 149.998 | 1 | 1 | 940.045 | 1 | 1 | 1370.027 | 1 | 1
1370 | 52.391 |  | 1.595 |  | 53.986 | 8 | 1023 | 1.0303 | 0.0036609 | 0.6 | -7.0721 |  |  | SERIAL # : | N/A |  | 10 = | 149.998 | 1 | 1 | 940.046 | 1 | 1 | 1370.027 | 1 | 1
[17 empty] | MEAN = | 149.998 | 10 | 10 | 940.0443 | 10 | 10 | 1370.027 | 10 | 10
|  |  |  | CALC. | SIGMA |  | STATION = | 150 | 1X | 3X | 940 | 1X | 3X | 1370 | 1X | 3X
|  | STA. = | 150 | AIR DIST. | 150.0023 | TO | 1 = | 149.998 | PASS | PASS | 940.043 | PASS | PASS | 1370.027 | PASS | PASS
|  | REC. DIST #1= | 149.9971 | 150 | 149.9977 | FROM | 2 = | 149.998 | PASS | PASS | 940.045 | PASS | PASS | 1370.027 | PASS | PASS
|  | ELEV. DIFF. #1= | 0.735 |  | 3X |  | 3 = | 149.998 | PASS | PASS | 940.044 | PASS | PASS | 1370.027 | PASS | PASS
|  | SLOPE DIST = | 149.9989 |  | 150.0069 | TO | 4 = | 149.998 | PASS | PASS | 940.043 | PASS | PASS | 1370.027 | PASS | PASS
SIGMA = | 2.3 |  |  |  | 149.9931 | FROM | 5 = | 149.998 | PASS | PASS | 940.044 | PASS | PASS | 1370.027 | PASS | PASS
|  |  |  | CALC. | SIGMA |  | 6 = | 149.998 | PASS | PASS | 940.045 | PASS | PASS | 1370.027 | PASS | PASS
|  | STA. = | 940 | AIR DIST. | 940.0499 | TO | 7 = | 149.998 | PASS | PASS | 940.044 | PASS | PASS | 1370.027 | PASS | PASS
|  | REC. DIST #2= | 939.9959 | 940.0461 | 940.0422 | FROM | 8 = | 149.998 | PASS | PASS | 940.044 | PASS | PASS | 1370.027 | PASS | PASS
|  | ELEV. DIFF. #2= | 9.045 |  | 3X |  | 9 = | 149.998 | PASS | PASS | 940.045 | PASS | PASS | 1370.027 | PASS | PASS
|  | SLOPE DIST = | 940.0394 |  | 940.0577 | TO | 10 = | 149.998 | PASS | PASS | 940.046 | PASS | PASS | 1370.027 | PASS | PASS
SIGMA = | 3.8801 |  |  |  | 940.0344 | FROM | MEAN = | 149.998 | PASS | PASS | 940.0443 | PASS | PASS | 1370.027 | PASS | PASS
|  |  |  | CALC. | SIGMA
|  | STA. = | 1370 | AIR DIST. | 1370.0354 | TO |  | DISCREPANCY | LINEAR ERROR |  | DISCREPANCY | LINEAR ERROR |  | DISCREPANCY | LINEAR ERROR
|  | REC DIST. #3 = | 1369.9942 | 1370.0306 | 1370.0259 | FROM |  |  | -1.9616 | mm |  | -1.7643 | mm |  | -3.6185 | mm
|  | ELEV. DIFF. #3= | 8.558 |  | 3X |  |  | SHORT | PROPORTION |  | SHORT | PROPORTION |  | SHORT | PROPORTION
|  | SLOPE DIST = | 1370.0209 |  | 1370.0448 | TO |  |  | -13.0772 | ppm |  | -1.8768 | ppm |  | -2.6412 | ppm
SIGMA = | 4.7401 |  |  |  | 1370.0164 | FROM
REMARKS:

## INSTRUCTIONS
HOW TO USE BASELINE SPREADSHEET:
- YELLOW CELLS ARE FOR DATA INPUT
- GREEN CELLS ARE DATA OUTPUT OR CONSTANTS
NOTE: The green cells are "locked", which means they are write protected. If you really feel you need to modify a green cell, go to TOOLS - PROTECTION - UNPROTECT SHEET. Don't forget to protect the sheet again after you make any changes to avoid accidental over-writing of formulas!
Step By Step Instructions for Use of Baseline Spreadsheet:
1) Make a copy of the sheet entitled "BLANK TEMPLATE". To do this, go to EDIT - MOVE OR COPY SHEET and be sure to click the box at the bottom that says "CREATE A COPY". Your copied sheet will be named "BLANK TEMPLATE (2)". You will want to change the name of this sheet to something logical, such as the date.
2) Once you have your sheet copied and logically named, you are ready to input your data. The yellow cells are for data input. You will need to know the Station Names, Elevations, and Record Distances for the 3 stations on your baseline for input in the left column. 'Record Distance' is the value from the 'Oregon Calibration Baseline Results' data sheet under the column heading "ADJ. DIST. (M) HORIZONTAL". Record your weather conditions. Enter the PPM and +/-mm (these are specific for your instrument and are provided by the manufacturer) . Also record your HI and your HR for your three baseline stations. Measure and record the temperature and pressure in degrees Celsius and mbars. This sheet in set up for Metric Units ONLY!
3) You are now ready to measure and record your ten slope distance measurements to each of the three baseline stations. Once you have input all of your slope distances, the green cells will indicate whether your EDM "passes" or "fails". The discrepancy is shown in mm at the bottom and also indicates whether it is measuring "long" or "short".
Refer to the sheet entitled "EXAMPLE" to see what a finished baseline sheet looks like.