|  | MRDL Report Maximum Residual Disinfectant Level Monitoring for Samples Collected in the Distribution System |  |
| --- | --- | --- |
| PWS ID# 41__________ | PWS Name: ___________________________________ |
| Month/Year:_________________________ |
| Number of samples collected in the distribution system during the current month(must = # coliform samples collected) | _____________ | (A) |
| Arithmetic average of the disinfectant residual for each of the past 12 months, ending with the month being reported (current month) (Section B) current month>> |  |  |
|  | _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ _____________ | Section B |
| Running Annual arithmetic average of all 12 averages listed in Section B: | _____________ | (C) |
| Is the Running Annual Average (from C) greater than the Maximum Residual Disinfectant level (MRDL)*? | ____ yes ____ no | (D) |
| *MRDL = | 4.0 mg/l for Chorine 4.0 mg/l for Chloramines 0.8 mg/l for Chlorine dioxide |
| Print Name: | __________________________________________ |  |
| Signature: | __________________________________________ |  |
| Date: | _______________ Phone: ____________________ |  |
| Send form: DHS/DWP PO Box 14350 Portland OR 97293-0350 Phone (971)673-0416 Fax (971)673-4057 | Form can be submitted each month with coliform test results OR Submit all 3 monthly reports with the quarterly Disinfection Byproduct data. |  |