## RTC Criteria
Oregon Public Water System Violations Return to Compliance Criteria | [5 empty] | #VALUE!
Rule | Violation Text | RTC Criteria | SS Points | PN Tier | Auto RTC | Violation Type Code
Nitrate | Chemical MCL Based on 1 Sample | Remediate contamination by installing approved treatment or removing source contamination, then reporting one quarter with chemical below MCL. | 10 | 1 | N | 01
Nitrate | Chemical MCL Based on Average of Samples |  | 10 | 1 | N | 02
Nitrate | Chemical Late/Non-Reporting | For yearly monitoring, OHA receives a properly collected sample [including seasonal period if applicable]. For monthly or quarterly monitoring, OHA receives properly collected sample(s) on time for next monitoring period. | 5 | - | Y | 03
Chemical | Chemical MCL Based on 1 Sample | Remediate contamination by installing approved treatment or removing the source of contamination, then reporting quarterly samples until the RAA is below the MCL. | 5 | 2 | N | 01
Chemical | Chemical MCL Based on Average of Samples |  | 5 | 2 | N | 02
Chemical | Chemical Late/Non-Reporting | For yearly or longer monitoring periods, OHA receives properly collected sample(s) [including location and seasonal period if applicable]. For monthly or quarterly monitoring, OHA receives properly collected sample(s) on time for next monitoring period. | 1 | - | Y | 03
Chemical | DBP Late/Non-Reporting |  | 1 | - | Y | 01
Chemical/Coliform | Chlorine Residual Late/Non-Reporting | OHA receives properly collected sample(s) on time for next monitoring period. | 1 | - | Y | 01
Chemical/Coliform | Chlorine Residual MCL | The subsequent monitoring period chlorine RAA is below MCL. | 5 | 2 | N | 11
Coliform | Acute MCL for E. coli | Remediate contamination by removing the source of contamination or installing approved disinfection, then reporting two monthly samples without any presence of total coliform. | 10 | 1 | N | 1A
Coliform | Repeat Coliform Late/Non-Reporting | OVS systems, next quarters routine sample is submitted. | 5 | - | N | 25
Coliform | Coliform Investigation Non-Reporting | Complete investigation OR 2 consecutive months / 1 quarter without TCR problem. | 5 | 2 | N | 2A
Coliform | Coliform Investigation Defects Not Corrected | Correct coliform investigation defects or be on a corrective action plan. | 5 | 2 | N | 2C
Coliform | Prevented Level 2 Investigation | Water supplier allows Level 2 investigation to be completed. | 5 | 2 | N | 2B
Coliform | Failure to Install Disinfection | Complete installation of residual disinfection as required. | 5 | 2 | N | ID
Coliform | Routine Coliform - Non-Reporting | OHA receives properly collected sample(s) on time for next monitoring period. | 1 | - | Y | 3A
Coliform | Routine Coliform - Did Not Report Enough |  | 1 | - | Y | 3A
Coliform | Temporary Routine Coliform: Non-Reporting |  | 1 | - | Y | 3B
Coliform | Temporary Routine Coliform: Did Not Report Enough |  | 1 | - | Y | 3B
GWR | Failure to Correct Source Contamination | Install 4-log GW treatment or correct sanitary defects causing source contamination. | 5 | 2 | N | 48
GWR | Failure to Maintain 4-log Treatment | Correct problem causing treatment failure and demonstrate effective treatment for an entire monitoring period. | 10 | 2 | N | 41
GWR | Source Assessment Sample - Late/Non-Reporting | OHA receives properly collected source sample on time for next monitoring period. | 1 | - | N | 34
GWR | Monthly GW Compliance Report Late/Non-Reporting | OHA receives next monthly report on time. | 1 | - | N | 36
GWR | Source Sample - Late/Non-Reporting | If disinfection is applied, report a source coliform sample from each source in use. If no disinfection is applied, report 2 absent coliform distribution samples. | 1 | - | N | 34
SWTR | Failure to Maintain EP Disinfection | Correct problem causing treatment failure and demonstrate effective treatment for an entire monitoring period. | 10 | 2 | N | 41
SWTR | Failure to Provide Adequate CT, SWTR |  | 10 | 2 | N | 41
SWTR | Turbidity Standards Not Met (95% NTU) |  | 10 | 2 | N | 41
SWTR | Turbidity Standards Not Met (MAX NTU) |  | 10 | 1 | N | 41
SWTR | Monthly SW Report Late/Non-Reporting | OHA receives next monthly report on time. | 1 | - | Y | 31
LCR | Failure to Submit CCT Recommendation | Recommendation for the corrosion control treatment received and approved. | 5 | 2 | N | 57
LCR | Public Education Late/Non-Reporting | OHA receives public education. | 5 | 2 | N | 65
LCR | Corrosion Control Non-Compliance | Correct problem causing treatment failure and demonstrate WQP(s) were met for an entire monitoring period. | 5 | 2 | N | 59
LCR | Corrosion Control Late/Non-Reporting | OHA receives next monthly report on time. | 1 | - | Y | 56
LCR | LCR Late/Non-Reporting | For yearly or three-year monitoring periods, OHA receives properly collected sample(s) [including location and seasonal period]. For six-month monitoring, OHA receives properly collected sample(s) on time for next monitoring period. | 1 | - | Y | 51
LCR | Lead PN Late/Non-Reporting | OHA receives PN. | 1 | - | N | 77
LCR | Initial SL Consumer Notification Late/Non-Reporting | OHA receives initial SLI consumer notification. | 1 | - | N | 4G
LCR | Repeat SL Consumer Notification Late/Non-Reporting | OHA receives repeat SLI consumer notifcation. | 1 | - | N | 4G
SLI | Initial SLI Late/Non-Reporting | OHA receives initial SLI. | 5 | 2 | N | 2E
SLI | Repeat SLI Late/Non-Reporting | OHA receives repeat SLI. | 5 | 2 | N | 2E
LCR | LCR Consumer Notice | OHA receives lead consumer notifice certification. | 1 | - | N | 66
PN | Public Notice Late/Non-Reporting | OHA receives PN. | 1 | - | N | 76
CCR | CCR Late/Non-Reporting | OHA receives CCR. | 1 | - | Y | 71
CCR | CCR Certification Late/Non-Reporting | OHA receives CCR certification. | 1 | - | Y | 72
Other | Seasonal Startup Late/Non-Reporting | OHA receives seasonal startup form. | 5 | 2 | N | 2D
Other | No Qualified Treatment Plant Operator | OHA receives verification a certified operator is assigned to the water system. | 1 | - | N | 12
Other | Deficiencies Unresolved and no Corrective Action Plan submitted | Correct all significant deficiencies identified in sanitary survey OR have an approved corrective action plan | 5 | 2 | N | 45
**Chemicals include IOC, SOC, VOC, Arsenic, Nitrate, TOC, RAD and DBPs
*** RTC = Return to Compliance CCR = Consumer Confidence Report; SLI = Service Line Inventory, PN = Public Notice, GWR = Ground Water Rule, SWTR = Surface Water Treatment Rule, LCR = Lead & Copper Rule, MCL = Maximum Contaminant Level, DBP = Disinfection Byproduct, NTU = Nephelometric Turbidity Units, Corrosion Control Treatment = CCT, RAA = Running Annual Average, WQP = Water Quality Parameter, TCR = Total Coliform Rule, CT = Chlorine Contact Time
| OHA - Drinking Water Services | info.drinkingwater@odhsoha.oregon.gov | 971-673-0405 |  | Drinking Water Data Online
Revised: 2/27/2026 |  | I:\DWS\DMCE_Unit\Compliance\RTC Criteria for EPA PWSs\Oregon RTC Criteria.xlsx