EMS & TRAUMA SYSTEMS

## Hospital Resources, Equipment Checklist and Attestation Form

| Hospital |  |
| --- | --- |

| Stages of Care Considerations |  |  |  |
| --- | --- | --- | --- |
| Pre-hospital Is EMS available? | Yes | No |  |
| Entrance & Helipad |  |  |  |
| Is there access from the ambulance or helicopter landing area to the trauma treatment area? |  |  |  |
| Is there priority access to the operating room, laboratory, blood bank, radiology, and other support services for trauma patients? |  |  |  |
| Is there a Decontamination Room? |  |  |  |

| Stages of Care Considerations |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Emergency Department E = Expected, D = Desired |  |  |  |  |  |  |  |  |
| Equipment | Description | L1 | L2 | L3 | L4 | Yes | No | Notes |
| Airway control & Ventilation Equipment | Infant BVM Child BVM Adult BVM ETT sizes 3.5,4.0,4.5,5.0,5.5,6.0,6.5,7.0,7.5 & 8.0 mm Supraglottic airways Laryngoscope & blade sizes 1-3 OPAs 50,60,70,80 mm o NPAs | E | E | E | E |  |  |  |
| Pulse oximetry | Infant probe Child probe Adult probe | E | E | E | E |  |  |  |
| Suction Devices & Supplies | Catheters 6,8,10,14 Fr | E | E | E | E |  |  |  |
| EKG monitor and defibrillator | Adult & Pediatric crash carts EKG & defibrillator defibrillation pads (adult/pediatrics) | E | E | E | E |  |  |  |
| Crystalloid IV fluids & administration sets |  | E | E | E | E |  |  |  |
| IV catheters | Sizes: 14,16,18,20,22 gauge | E | E | E | E |  |  |  |
| Mechanism for IV flow rate control | Infusion pump | E | E | E | E |  |  |  |
| IO needles & administration sets | Pediatric, adult & bariatric sizes | E | E | E | E |  |  |  |
| Arterial tourniquet |  | E | E | E | E |  |  |  |
| Supplies for surgical airway | Pediatric & adult | E | E | E | E |  |  |  |
| Supplies for thoracostomy | Chest tubes: range sizes from 10 to 36 Fr. | E | E | E | E |  |  |  |
| Drugs necessary for emergency trauma care | RSI drugs (including dosage scale), analgesics, sedatives | E | E | E | E |  |  |  |
| Nasal & oral gastric tubes | NG: range of sizes from 8-18 Fr. | E | E | E | E |  |  |  |
| Cervical collars | Infant, child, adult | E | E | E | E |  |  |  |
| Mechanism for pelvic stabilization | Commercial binder or sheets and clips | E | E | E | E |  |  |  |
| Pediatric length-based resuscitation tape or reference manual | Broselow tape (updated) | E | E | E | E |  |  |  |
| Mechanism to warm fluids | Warming cabinet or inline fluid warmer | E | E | E | E |  |  |  |
| Rapid IV fluid infuser | Pressure bags or mechanical infusion device | E | E | E | D |  |  |  |
| Quantitative End-tidal CO2 |  | E | E | E | E |  |  |  |
| Ultrasound (not required but desired) | Portable device for FAST exam and IV placement | D | D | D | D |  |  |  |
| Video laryngoscopy (not required but desired) | Pediatric wand, adult wand | D | D | D | D |  |  |  |
| PPE | Gloves, masks, face shield, gowns | E | E | E | E |  |  |  |
| Communication with EMS | Two-way communication with pre-hospital care providers | E | E | E | E |  |  |  |
| Decontamination supplies & equipment |  | E | E | E | E |  |  |  |
| Trauma Team Activation Criteria | Activation indicators must be readily available in locations where a trauma patient is likely to be initially encountered ( e.g. trauma bay, triage and EMS radio) | E | E | E | E |  |  |  |

| Stages of Care Considerations |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Radiology Department E = Expected, D = Desired |  |  |  |  |  |  |  |  |
| Resources or Equipment | Description | L1 | L2 | L3 | L4 | Yes | No | Notes |
| Airway control & Ventilation Equipment | Infant BVM Child BVM Adult BVM Oral airways (variety of sizes infant to adult) or nasal airways (infant to adult sizes) | E | E | E | E |  |  |  |
| Suction devices & supplies | Pediatric suction catheter Adult suction catheter Suction tubing long enough to reach patient | E | E | E | E |  |  |  |
| Diagnostic angiography of all types |  | E | E | D |  |  |  |  |
| Magnetic Resonance Imaging |  | E | E | D |  |  |  |  |
| Interventional Radiology |  | E | E | D |  |  |  |  |
| Sonography |  | E | E | E | D |  |  |  |
| Computed Tomography |  | E | E | E | E |  |  |  |
| Technician in-house |  | E | D | D | D |  |  |  |
| Technician on-call & promptly available |  |  | E | E | E |  |  |  |
| Teleradiology |  | E | E | E | E |  |  |  |
| Facilities utilizing teleradiology must have a policy that outlines use, turn-around times, and quality improvement activities related to over-reads and turn-around time. Submit these information along w/ this attestation form |  | E | E | E | E |  |  |  |

| Stages of Care Considerations |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Clinical Laboratory Services & Blood Bank E = Expected, D = Desired |  |  |  |  |  |  |  |
| Resources or Equipment | L1 | L2 | L3 | L4 | Yes | No | Notes |
| Clinical laboratory services available 24 hours/day | E | E | E | E |  |  |  |
| Standard analyses of blood, urine and other body fluids, including microsampling | E | E | E | E |  |  |  |
| Blood typing and cross-matching | E | E | E | E |  |  |  |
| Coagulation studies, PT, PTT, Fibrinogen | E | E | E | E |  |  |  |
| Comprehensive blood bank or a written process for rapid access to additional blood supplies from a community central blood bank and Red Cross approved hospital storage facilities. | E | E | E | E |  |  |  |
| Adequate in-house supply of RBC, FFP, platelets, cryoprecipitate & appropriate coagulation factors | E | E |  |  |  |  |  |
| Adequate supply of PRBC and FFP available within 15 minutes |  |  | E | E |  |  |  |
| Blood gases and pH determination | E | E | E | E |  |  |  |
| Microbiology | E | E | E | E |  |  |  |
| Presence of massive Transfusion Policy | E | E | E | E |  |  |  |

| Stages of Care Considerations |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Operating Room |  |  |  |  |  |  |  |  |
| Resources or Equipment | Description | L1 | L2 | L3 | L4 | Yes | No | Notes |
| Mechanism to warm patient | Blanket warmer Radiant heat Bair Hugger |  |  |  |  |  |  |  |
| Mechanism to warm IV fluids | IV fluid warming cabinet Inline fluid warmer |  |  |  |  |  |  |  |
| Rapid infuser system | Pressure bag Mechanical infusion device |  |  |  |  |  |  |  |
| Cardiopulmonary by-pass capability |  | E | E |  |  |  |  |  |
| Operating microscope |  | E | D | D |  |  |  |  |
| Thermal control equipment for ambient air |  | E | E | E |  |  |  |  |
| Thermal control equipment for blood and fluids |  | E | E | E |  |  |  |  |
| X-ray capabilities including C-arm image intensifier |  | E | E | E | E |  |  |  |
| Endoscopes, bronchoscope |  | E | E | E | D |  |  |  |
| Craniotomy instruments if neurosurgical capabilities are services are available and neurosurgical trauma patients are being managed. |  | E | E | E | E |  |  |  |
| Monitoring equipment |  | E | E | E | D |  |  |  |

| Stages of Care Considerations |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Post Anesthesia Recovery or PACU E = Expected, D = Desired |  |  |  |  |  |  |  |  |
| Resources or Equipment | Description | L1 | L2 | L3 | L4 | Yes | No | Notes |
| Equipment for Monitoring and Resuscitation | Adult and pediatric crash carts EKG and defibrillator Defibrillator pads (adult/pediatric) | E | E | E | D |  |  |  |
| Pulse oximetry | Adult and pediatric probes | E | E | E | E |  |  |  |
| Thermal control | Blanket warmer Mechanical mechanism for thermoregulation (e.g. Bair Hugger) | E | E | E | E |  |  |  |
| Mechanism to warm IV fluids | Warming cabinet Inline fluid warmer | E | E | E | E |  |  |  |
| Intracranial pressure monitoring equipment if neurosurgical capabilities or services are available and neurosurgical trauma patients are being managed. |  | E | E | E |  |  |  |  |

| Stages of Care Considerations |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Intensive Care Unit E = Expected, D = Desired |  |  |  |  |  |  |  |  |
| Resources or Equipment | Description | L1 | L2 | L3 | L4 | Yes | No | Notes |
| Equipment for Monitoring and Resuscitation | Adult and pediatric crash carts EKG and defibrillator Defibrillator pads (adult/pediatric) | E | E | E |  |  |  |  |
| Ventilator | Located or accessible to ICU | E | E | E |  |  |  |  |
| Intracranial pressure monitoring equipment. Intracranial pressure monitoring equipment is required at Level III trauma facilities where neurosurgical patients are acutely managed. |  |  |  |  |  |  |  |  |
| Pulmonary artery monitoring equipment |  |  |  |  |  |  |  |  |

I verified that the resources and/or equipment listed in this document is present in the identified areas of the hospital.

Name (Print)		_______________________________________

Title (Print) 		_______________________________________

Signature		_______________________________________

Date			_______________________________________

Form must be verified and approved by the Trauma Medical Director (TMD)

TMD’s name (Print)	________________________________________

TMD’s Signature	________________________________________

Date			________________________________________